| Steps | Questions/Factors | Input/Findings |
| --- | --- | --- |
| State/Define the problem or issue | State the issue or CA here What happened? |  |
| Can this be easily corrected by one person? | Yes – make the correction, update the SP issue to “pending approval” No – Move to next step | Date and Initials upon completion: |
| Form a team to investigate the issue | Decide who you will need on your team and define the team roles Establish a small group with the knowledge, time, authority and skill to solve the problem and implement the corrective action. The team must select a team leader. | Name of those on the team: Who is the team lead (required): Define who roles and responsibilities: |
| Brainstorming | Assemble all data relating to the nonconformity or issue - Data - Instrument records (maintenance, calibrations, error logs, etc.) - SOPs/Procedures - Training records - Bench sheets - Analyst - Prior CA/Issues in SP - Control chart data - Materials used (reagents, supplies, CRM from bench sheets) - Literature/Research |  |
| Identify the root cause diagram/process involved Are you using more than one technique? Discuss with team the approach and vote | Decide with team what process to use - 5 why’s - Fishbone - Cause Mapping - Affinity Diagram - Brain Storming - Pareto Charts | Name the process(es) the team is using: |
| Agree on a problem statement Use a diagram or process from above to narrow down the issue | Sort issues by: - Could not have caused issue - Possible cause - Likely Cause | List the likely and potential causes here: |
| Test each possible cause See the list below | - For each possible cause, record any fact not perfectly explained as well as any assumption that can be made to explain the fact. - If a possible cause does not fit the facts and no reasonable assumption can be made to explain the facts, the possible cause can be eliminated. | List potential causes here and whether the data collected supports or rules out the assumption: |
| Materials | - Did the materials used cause the problem - Were the proper reagents, grade of reagents used? - COA for materials collected and reviewed - Was a new vendor or supply the issue? - Was there an issue with the material used? Defect/poor quality/contamination | Record findings: |
| Methods | - Is the method used fit-for-purpose - Does the SOP give clear instruction of does it need revised? | Record findings: |
| Equipment | - Was equipment properly maintained per SOP? - Was there an equipment failure? - Supporting equipment (hotplates, balances, pipets) failure? Equipment not calibrated | Record findings: |
| People/Training | - Analyst error due to failure to follow the procedure? - Competency records checked - Second analyst watched analysis to verify person performing it is doing it correctly? | Record findings: |
| Environment | - Power outage or issue with power - Temperature fluctuation - Increase in workload (extra work assigned) - Increase in sample load |  |
| Management | - Undue pressure - Lack of direction - Lack of clear communication - Does not support QM system |  |
| Customer | - Undue pressure - Lack of direction - Lack of clear communication - Request a non-routine test |  |
| Identify the Root Cause | - Reduce the number of possible causes after testing. Assumptions listed above have been disproven - Did your team identify multiple causes? Did your team identify a new cause based on testing results and ruling out the assumptions? | List Identified Root Cause(s): |
| Define and verify the Corrective Action | - Confirm that the selected actions taken (corrective actions) will resolve the issue. - Define other actions as necessary based on severity of the problem - Write a plan! What needs to happen? | Define the actions taken here: |
| Implement the permanent corrective actions needed | - Assign action(s) taken - SOP revisions - Method validation/verification - Training - Ensure action are completed | Assign actions and ensure completion |
| Prevent Recurrence | - Modify as needed - Update training - Review process - Improve any practices or procedures as needed from the original actions taken |  |
| Celebrate! | - Congratulate the team for a job well done |  |