QMS Quick Learning Activity

QMS Quick Learning Activity

# Test Methods, Validation, and Verification

# Quiz

Passing score = 80%

Select the correct answer.

| 1. | T | F | New non-standard methods must be validated. |
| --- | --- | --- | --- |
| 2. | T | F | A laboratory cannot use methods that they design. |
| 3. | T | F | Range and accuracy of a validation study should never include cross-sensitivity against interferences. |
| 4. | T | F | Validation confirms the new method meets requirements for a specific use. |
| 5. | T | F | Data integrity procedures do not need to be implemented for computer data. |
| 6. | T | F | Laboratory software and modifications to commercial software need to be validated. |

- Policies and procedures should be

| A. Up to date | B. Readily available to staff | C. Stored under lock and key | D. A & B |
| --- | --- | --- | --- |

- Deviations from instructions need to be

| A. Accepted by the customer | B. Documented | C. Authorized | D. A, B & C |
| --- | --- | --- | --- |

- What data does not need to be checked in a systematic manner?

| A. Manual and electronic calculations and data transfers | B. Any Excel spreadsheet | C. Excel spreadsheets with calculations | D. A & B only |
| --- | --- | --- | --- |

10.  Deviations do not have to be

| A. Documented | B. Technically justified | C. Documented as a nonconformance | D. Authorized and accepted by the customer |
| --- | --- | --- | --- |

11.	Match the correct term and definition:

A.	Policies

B.	Processes

C.	Procedures

D.	Forms & records

____How to do it

____How it happens

____What we do

____What happened