QMS Quick Learning Activity

# Test Methods, Validation, and Verification

# Quiz-Answer Key

Passing score = 80%   [Answers in RED]

Select the correct answer.

| 1. | T | F | New non-standard methods must be validated. (Answer: T) |
| --- | --- | --- | --- |
| 2. | T | F | A laboratory cannot use methods that they design. (Answer: F) |
| 3. | T | F | Range and accuracy of a validation study should never include cross-sensitivity against interferences. (Answer: F) |
| 4. | T | F | Validation confirms the new method meets requirements for a specific use. (Answer: T) |
| 5. | T | F | Data integrity procedures do not need to be implemented for computer data. (Answer: F) |
| 6. | T | F | Laboratory software and modifications to commercial software need to be validated. (Answer: T) |

- Policies and procedures should be (Answer: D)

| A. Up to date | B. Readily available to staff | C. Stored under lock and key | D. A & B |
| --- | --- | --- | --- |

- Deviations from instructions need to be (Answer: D)

| A. Accepted by the customer | B. Documented | C. Authorized | D. A, B & C |
| --- | --- | --- | --- |

- What data does not need to be checked in a systematic manner? (Answer: B)

| A. Manual and electronic calculations and data transfers | B. Any Excel spreadsheet | C. Excel spreadsheets with calculations | D. A & B only |
| --- | --- | --- | --- |

10.  Deviations do not have to be (Answer: C)

| A. Documented | B. Technically justified | C. Documented as a nonconformance | D. Authorized and accepted by the customer |
| --- | --- | --- | --- |

11.	Match the correct term and definition:

A.	Policies

B.	Processes

C.	Procedures

D.	Forms & records

____How to do it		(Answer: C)

____How it happens	(Answer: B)

____What we do		(Answer: A)

____What happened	(Answer: D)