QMS Quick Learning Activity


Test Methods, Validation, and Verification 
Quiz


[image: ]

Passing score = 80%  
Select the correct answer.
	[bookmark: _Hlk485836383]1.
	T
	F
	New non-standard methods must be validated. 

	2.
	T
	F
	A laboratory cannot use methods that they design.	

	3.
	T
	F
	Range and accuracy of a validation study should never include cross-sensitivity against interferences.  

	4.
	T
	F
	Validation confirms the new method meets requirements for a specific use. 

	5.
	T
	F
	Data integrity procedures do not need to be implemented for computer data. 

	6.
	T
	F
	Laboratory software and modifications to commercial software need to be validated.  



7. [bookmark: _Hlk485838190]Policies and procedures should be 
	[bookmark: _Hlk485836926]A. Up to date
	B. Readily available to staff
	C. Stored under lock and key
	D. A & B


8. Deviations from instructions need to be 
	A. Accepted by the customer
	B. Documented
	C. Authorized
	D. A, B & C


9. What data does not need to be checked in a systematic manner? 
	A. Manual and electronic calculations and data transfers
	B. Any Excel spreadsheet
	C. Excel spreadsheets with calculations
	D. A & B only


10.  Deviations do not have to be 
	A. Documented 
	B. Technically justified
	C.  Documented as a nonconformance
	[bookmark: _GoBack]D. Authorized and accepted by the customer


11.	Match the correct term and definition:  
A.	Policies
B.	Processes
C.	Procedures
D.	Forms & records
____How to do it		
____How it happens	
____What we do		
____What happened	
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