QMS Quick Learning Activity

QMS Quick Learning Activity

# Data Review and Reporting

# Quiz

Passing score = 80%

Select the correct answer.

| 1. | T | F | Reports shall contain all of the requirements listed in the standard regardless of the agreement with the customer. |
| --- | --- | --- | --- |
| 2. | T | F | If protected from unauthorized use and identifiable, electronic/mechanized signatures can be used. |
| 3. | T | F | A statement that the results listed on the report relate only to the items tested is never necessary. |
| 4. | T | F | Calibration certificates received from ISO-accredited calibration laboratories do not need to follow the same requirements of reporting that the testing laboratory does. |
| 5. | T | F | Calibration intervals are determined by the calibration laboratory. |
| 6. | T | F | How opinions and interpretations, if given, are made shall be documented by the laboratory. |

7.  Reports shall contain:

| A. Include all the information requested by a customer | B. Be unambiguous and objective | C. Be accurate | D. A,B, and C |
| --- | --- | --- | --- |

8.	A laboratory results report does not need to include:

| A. The accrediting body logo | B. A report title | C. Identification of the method | D. The name and address of the laboratory |
| --- | --- | --- | --- |

9.	The analyst’s John Xavier Smith’s signature must include:

| A. Full first, middle and last name (i.e., John Xavier Smith) | B. His first and last name and middle initial (John X. Smith) | C. Just his first and last name (John Smith) | D. As long as his signature can be traced back to him, all are acceptable. |
| --- | --- | --- | --- |

10.	When necessary for the interpretation of test results which of the following is never included on a report:

| A. Statement on estimated uncertainty | B. Opinions and Interpretations | C. Deviations, additions, or exclusions from test method | D. A, B, and C can be included on the report |
| --- | --- | --- | --- |

11.	Opinions and Interpretations given informally (i.e, by email, non-reporting letters):

| A. Should never be documented | B. Should be documented | C. Should only be documented on official test reports and never informally | D. Should only be documented by hard copy documentation |
| --- | --- | --- | --- |

12.	Laboratory reports shall be formatted in such a way that:

| A. Follows how the federal government laboratory reports are formatted | B. Minimizes the possibility of misunderstanding and misuse | C. Makes it easy for the quality assurance staff to track | D. Makes it easy for the laboratory staff to prepare |
| --- | --- | --- | --- |

13.	When laboratory test reports contain subcontracted results, the laboratory report:

| A. Does not need to identify which result are from the subcontracted laboratory | B. Needs to make a general statement saying that some results maybe from a subcontracted laboratory | C. Needs to clearly identify which results were subcontracted | D. An accredited laboratory can never report results from a subcontracted laboratory |
| --- | --- | --- | --- |

14.	Once issued, laboratory reports:

| A. Can never be amended | B. Can only be amended with approval of laboratory’s accrediting body | C. Can be amended only by a further document or data transfer | D. Can be only be amended by hand writing on the report. Electronic reports cannot be amended. |
| --- | --- | --- | --- |

15.	Calculations and data transfers of laboratory data:

| A. Need to be reviewed in a systematic manner | B. Only need to be reviewed when training the analysts | C. Need to be reviewed daily | D. Only need to be reviewed by quality assurance staff |
| --- | --- | --- | --- |

Match the label with the letters on the report: correct answers in red

Report Title					______

Test Results/Units of measurement		______

Unambiguous Identification (of sample)		______

Customer Name & Address			______

Method Identification				______

Unique identifier of Test Report			______

Name & Address of Laboratory			______