QMS Quick Learning Activity

QMS Quick Learning Activity

# Contracts, Subcontracts, Purchasing 
Quiz

Passing score = 80%

Select the correct answer.

| 1. | T | F | If the laboratory does not do a test and must subcontract (send to another laboratory), the work must be placed with a competent subcontractor. |
| --- | --- | --- | --- |
| 2. | T | F | The laboratory should have policies and procedures for the selection of services and supplies it uses that affect the quality of the tests performed. |
| 3. | T | F | Ability to obtain needed supplies and services that allow continuity of testing is not a critical component of any system. |
| 4. | T | F | Reviewing the process and working with the purchasing department to deal with suppliers of consumables and services that are less than ideal is key. |
| 5. | T | F | Having the word “gloves” is enough of a descriptor for purchasing records. |
| 6. | T | F | Internal audits of the purchasing process is required. |

7.  These reviews leading to a contract are not used to do which of the following?:

| A. The requirements for the methods are defined, documented, and understood | B. The laboratory has the capability to meet the requirements | C. Ensure that the laboratory does the bare minimum to get the job done to be highly cost effective | D. The appropriate test method is selected and can meet the customers’ requirements |
| --- | --- | --- | --- |

8.	Tenders are:

| A. When the laboratory receives notification from the customer | B. The response (or proposal) that the laboratory makes to the request for service | C. When the laboratory does not do a test and must subcontract (send to another laboratory), the work must be placed with a competent subcontractor | D. The actual agreement between the customer and the laboratory |
| --- | --- | --- | --- |

9.	The procedures for purchasing do not need to include the following information related to reagents and laboratory consumable materials relevant to tests and calibration:

| A. Purchase | B. Reception | C. Storage | D. Recyclable qualities |
| --- | --- | --- | --- |

10.	Staff responsibilities may include:

| A. Understanding the importance of critical supplies and services to laboratory testing | B. Performing internal audits of the entire purchasing process | C. Understanding the purchasing process in their particular area | D. A, B, and C |
| --- | --- | --- | --- |