## Slide 1: Contracts, Subcontracts, Purchasing and the Laboratory
ISO/IEC 17025 Standard
Notes: This module should be presented to both laboratory and purchasing staff.

## Slide 2: What does a laboratory need to do?
Establish procedures for the review of:
  Requests
  Tenders
  Contracts
ISO/IEC 17025 Section 4.4

## Slide 3: Reviews
These reviews leading to a contract shall ensure that:
  The requirements for the methods are defined, documented, and understood
  The laboratory has the capability to meet the requirements
  The appropriate test method is selected and can meet the customers’ requirements
Any differences shall be resolved before the work begins.
Each contract is agreeable to the laboratory and the customer.

## Slide 4: What is a “Request”?
When the laboratory receives notification from the customer; examples:
  Sample received in the laboratory from a customer with a sample collection form
  An email outlining the request
Customer
Laboratory

## Slide 5: What does ‘Tender’ mean?
The response (or proposal) that the laboratory makes to the request for service.
This proposal may include clarifications to the initial request, methods to be used, scheduling information, financial statements, etc.
Customer
Laboratory

## Slide 6: What is a “Contract”?
The actual agreement between the customer and the laboratory.
  This can be a formal contract or can be an implied agreement.
  With no special requests, the laboratory will follow its quality management system for laboratory services
Laboratory
Customer

## Slide 7: Records of Reviews Must be Maintained
Include significant changes
Include pertinent discussions with the customer relating to the customer’s requirements or results
  Use the date and identification of the person responsible for carrying out the contract for routine tasks
Include subcontracted work
If changes must be made, you MUST inform the customer
If the contract has been agreed upon and there are changes, the same review process must be repeated and any amendments (changes) communicated to all affected personnel

## Slide 8: Subcontracting
If the laboratory does not do a test and must subcontract (send to another laboratory), the work must be placed with a competent subcontractor.
  A “competent subcontractor” is one that complies to the same accreditation requirements as the submitting laboratory.
  If the subcontracted laboratory is not accredited, then the laboratory should record and maintain the subcontractor’s capability towards meeting those requirements.
  If the customer requests a sample be sent to a specific laboratory for additional testing, this request and the capabilities of the laboratory should be documented.

## Slide 9: Subcontracting
The laboratory shall advise the customer in writing and, when appropriate, gain the approval of the customer, preferably in writing.
The laboratory sending out the work is responsible for the subcontractor’s work, unless the subcontractor is specified by the customer or regulatory agencies.
The laboratory should maintain a list of all subcontractors used and record the evidence of their compliance and their capabilities.

## Slide 10: Purchasing
The laboratory should have policies and procedures for the:
  Selection of services and supplies it uses that affect the quality of the tests performed
  Purchasing, reception, and storage of reagents and consumables used
  Testing, inspection, or verification of reagents and consumables before they are used as defined by the method (records shall be maintained)

## Slide 11: Purchasing
Purchasing documents shall contain data describing the services or supplies ordered and reviewed to ensure they fit the test method or service required.
The laboratory shall evaluate suppliers of critical consumables, supplies, and services and shall maintain records of these evaluations and list those approved for use.

## Slide 12: Connection
How are purchasing and laboratory testing connected?
  Purchasing is one process that can have a significant impact on the final results of any laboratory test
  Ability to obtain needed supplies and services that allow continuity of testing is a critical component of any system
Notes: Laboratories rely on consumables or services that impact the final results produced. How we obtain these consumables or services is through purchasing.

## Slide 13: Connection
Components of the standard that are discussed in this presentation relate to any purchases that impact the quality of the testing and calibration
Reviewing the process and working with purchasing department to deal with suppliers of consumables and services that are less than ideal is key
Notes: As laboratories, we need to ensure that any issues arising from the purchasing process - ordering, receiving, back orders, delays in shipping - are being addressed. The importance of the consumables and services purchased should be stressed to everyone.

## Slide 14: ISO 17025:2005 Standard
Section 4.6 Purchasing services and supplies
  Considered an integral component of the quality management system (QMS)
      QMS is more than quality assurance and quality control – it also includes all the business processes of a laboratory that are required to ensure quality.1
  There are four main areas that outline the basics of what to consider:
      Selection and Purchasing
      Inspection and Verification
      Purchasing Documents
      Evaluation

## Slide 15: Selection and Purchasing
Section 4.6.1 requires that a policy and procedure (s) be in place for the selection and purchasing of services and supplies impacting the quality of testing
  If the organization already has policies and procedures in place that meet the needs of the standard these can be used
      The assessor will review these
  If more is needed, collaborate to create a process that works for everyone
Notes: It is important to note that the assessor(s) will review during the initial and routine visits this portion of the standard and will be looking for the laboratory's policies and procedures. Laboratories may use policies and procedures that are already in place by their agency or organization as long as they can provide them to the assessor and review periodically to ensure that the policies and procedures are still current.
If the current policies and procedures do not cover all aspects of the standard, laboratory staff should work with purchasing staff to create a document that meets the needs.

## Slide 16: Selection and Purchasing
The procedures shall also include information related to reagents and laboratory consumable materials relevant to tests and calibration:
  Purchase
  Reception (receiving)
  Storage
      This component of the standard may be included in individual test procedures or general quality plans
Notes: The standard discusses key elements that should be covered in procedures related to the selection of consumables used in testing.

## Slide 17: Inspection and Verification
Section 4.6.2 indicates that no purchased supplies, reagents, or consumable materials should be used until they have been inspected or verified
  Inspection process can be as simple as indicating that packing slips received must be signed off by staff indicating acceptance of items or a note indicating why it is not acceptable
  Verification can be referenced in the test methods as part of the overall testing process
  Important to record what was done and maintain the records
Notes: Verification of purchased consumables must occur as part of the process. A process for how this will happen in the laboratory should be included in procedures and policies. Inspection of consumables when they arrive should occur and should be documented in some fashion - signing and dating packing slips, for example. Often laboratories are able to verify the consumables purchased worked by running them through the testing process and recorded as part of the routine testing.

## Slide 18: Purchasing Documents
Section 4.6.3 requires that purchasing documents (e.g. forms) shall contain description about what specifically was requested
  Examples:
      Not enough information: Gloves
      More specific: Nitrile gloves, medium; vendor: ThermoFisher Catalog number 12345
  It is a good idea to have vendor, part number, and any other information that will ensure the correct product the first time through

## Slide 19: Approved for Technical Content
Section 4.6.3 also requires that purchase documents must be reviewed and approved for technical content prior to finalizing and sending to the vendor
  Be clear in your process as to what is considered the final version for approval
  Laboratory staff should be the approvers of technical content
Notes: It is critical for technical content approval that laboratory and purchasing staff work together to determine where in their process this approval should occur and how it will look. Remember, you will need to have purchasing documents relevant to the quality of testing maintained for the same record retention timeframe as laboratory records.

## Slide 20: Evaluation of Critical Items
Section 4.6.4 indicates that evaluation of critical suppliers of consumables, supplies and services shall be performed
  Organization can use a process that is already in place and provided as a record to assessor
  Or if current process is not robust enough for standard or needs more, can work together to create process
Notes: Once again this is an opportunity to collaborate between the laboratory and purchasing staff. Many purchasing or procurement processes established in agencies or organizations already have a review process in place. Some accreditation bodies want to see vendors accredited to ISO 17025 or Guide 34 or ISO 17034 whenever possible. As a note, National Institute of Standards and Technology (NIST) certified/accredited laboratories are considered acceptable also. If a vendor is not accredited to one of these standards, check to see if they have ISO 9001 or explain why you are using the vendor.

## Slide 21: Evaluation of Critical Items
Create a system that reviews all vendors over a period of time
  Check with your accreditation body for any requirements on frequency
All vendors can start with same rating and change as the review occurs
Notes: Evaluation of vendors should occur over a period of time which the standard does not specify. However, check for any requirements by the accreditation body or general guidance. Oftentimes it is recommended that a review occur each year for all vendors. But, if a laboratory has a large volume of vendors it may be more practical to review high volume vendors first and then review the remaining vendors over time.

## Slide 22: Internal Audits
Internal audits of the purchasing process is required per section 4.14
      “The internal audit programme shall address all elements of the management system, … 2”
      Recommended that this be done annually
  Internal audits would encompass critical supplies and services
Notes: Be clear that internal audits are performed only for purchasing as it relates to laboratory testing. Various ways to ensure purchasing reviews include following a consumable or service from the laboratory through the purchasing process or reviewing a series of purchase requests, orders, packing slips and ensuring that staff purchasing have read and understood any policies or procedures in place.

## Slide 23: Staff Responsibilities
Laboratory staff responsibilities
  Staff should understand the purchasing process in their particular area
  Knowing the purchasing process is a skill set in the quality management system competencies
      APHL/CDC Quality Management Systems, 5.00 Purchasing and inventory; ensure that requirements for supplies and services are consistently met1
Notes: Over the next few slides, we will discuss the different responsibilities involved with the purchasing process and how it relates to you.

## Slide 24: Staff Responsibilities
QA staff
  Work with laboratory and purchasing staff
  Perform internal audits of the entire purchasing process
      This includes trace back from purchased supplies to ordering process
      Also includes ensuring that the procedure is being followed

## Slide 25: Staff Responsibilities
Purchasing staff
  Depending on how your agency is set up, this may be one group or multiple groups involved in the process
  Understand the importance of critical supplies and services to laboratory testing
  Assist with setting up the procedures and processes
  Available for internal audits

## Slide 26: Staff Responsibilities
Staff from all sections
  Read procedures and sign off
  Follow procedures
  Write corrective actions when procedure and process not followed

## Slide 27: Accreditation Body
As with any process, be sure that you discuss with your accreditation body and check their website for any additional requirements that they may have specified
If you are receiving accreditation to another standard (not just ISO), be sure to check any additional requirements they may have for purchasing

## Slide 28: References
MMWR Competency Guidelines for Public Health Laboratory Professionals;
    CDC and the Association of Public Health Laboratories; May 15, 2015
    Supplement/Vol. 64/No. 1
ISO/IEC 17025:2005 General requirements for the competence of testing and calibration laboratories