QMS Quick Learning Activity

QMS Quick Learning Activity

# Traceability

APHL Quality Management System (QMS) Competency Guidelines

This course will help staff understand traceability, what is needed to support a claim of traceability, the various metrology systems, how calibration fits into traceability, and key questions to ask about traceability to make sure the laboratory’s quality management system is robust.

Objectives:

At the end of this learning activity, the participant will be able to:

- Define the terms calibration, certified reference material and measurement traceability mean in relation to laboratory testing.

- Identify the difference between reference standards and reference materials.

What is Traceability?  It is a Calibration Hierarchy.   Reference Standards shall be calibrated by a body that can provide traceability (traced back) to a national standard of measurement (a measurement unit, procedure, or standard)

Describe the items to document in the laboratory to meet traceability.

# Traceability includes specific requirements for:

- Calibration

- Testing

- Reagents and Support

- Equipment

- Reference Standards

- Reference Materials

- Intermediate Checks

- Transport and Storage

Public Health Laboratory Competency Guidelines

This learning activity provides content to support high-level competencies (desired skills or behaviors) for a laboratory professional in the listed domains. Also supports related content areas in the National Laboratory Curriculum Standard Framework.

General (GEN) domain
GEN 1.00 General technical and laboratory practice knowledge: demonstrates general knowledge and skills related to the scientific and technical components of laboratory testing (including technical, troubleshooting, mathematical and statistical skills).

- Documents actions and results using established paper or electronic systems

GEN 2.00 Reagent use and storage: adheres to policies and principles regarding the use and storage of laboratory reagents and supplies.

GEN 3.00 Equipment use: adheres to policies and principles regarding the use, maintenance, and calibration of laboratory equipment.

GEN 7.00 Regulatory compliance: complies with regulations and guidelines governing laboratory testing

Informatics (INF) domain

INF 7.00 Media, reagents, and controls: manages the manufacturing and inventory of media, reagents, and controls electronically.

# Terms used in traceability

- Calibration - The comparison of two measurement devices or systems, one of known uncertainty (your standard) and one of unknown uncertainty (your test equipment).

- Certified Reference Material (CRM) - Reference material that has documentation by an authoritative body and providing one or more specified property values with associated uncertainties and traceabilities.

- NIST - National Institute of Standards and Technology.

- Reference Standard - A standard, generally having the highest metrological quality available at a given location in a given organization, from which measurements are made or derived. Note: Generally, this refers to recognized national or international traceable standards provided by a standards producing body such as NIST.

- Reference Material - A material, sufficiently homogenous and stable with respect to one or more specified properties, which has been established to be fit for its intended use in a measurement process or in examination of nominal properties.

- Traceability - The property of a measurement result whereby the result can be related to a reference through a documented unbroken chain of calibrations, each contributing to the measurement uncertainty.

- Traceability to the International System of Units (SI) - Metrological traceability to a measurement unit of the International System of Units.

# Reference Standards vs. Reference Materials

- Reference Standards:

- Hard and non-consumable items

- NIST traceable thermometers

- Weights

- These items should be used for calibration only to maintain accuracy and integrity

- They should be calibrated by an ISO/IEC 17025 accredited body that can provide traceability

- Reference Materials:

- Consumables

- Liquid standards

- Proficiency testing materials

- If they cannot be traced to SI units, then they should be provided by a competent supplier to give a reliable physical or chemical characteristic of a material (e.g., PTs)

Only measurement results can be traceable

Test equipment calibration is not traceable to the National Institute of Standards and Technology (NIST), but to the SI through NIST: http://www.nist.gov/index.html