QMS Quick Learning Activity

# Analytical Measurement Uncertainty

# Quiz-Answer Key

Passing score = 80%  [Answers in RED]

Select the correct answer.

| 1. | T | F | Customers will never ask for measurement uncertainty. (Answer: F) |
| --- | --- | --- | --- |
| 2. | T | F | The reference points of measuring are the units of measurement, the raw number, corrected results, and averages. (Answer: T) |
| 3. | T | F | A measurand is the same as the substance you are measuring, in other words, the analyte. (Answer: F) |
| 4. | T | F | The True Value is always known. (Answer: F) |
| 5. | T | F | Uncertainty is error in measurement. (Answer: F) |
| 6. | T | F | Measurement uncertainty includes the doubt that exists about the result of any measurement. (Answer: F) |
| 7 | T | F | Roughly 95% of all readings lie within 2 Standard deviations on either side of the mean. (Answer; T) |
| 8. | T | F | Uncertainty will be reported in the same unit as the analytical result. (Answer: T) |

- Measurement: (Answer: C)

| A. Is a set of operations that determine the value of a quantity | B. Tells us about a property of something (i.e., how heavy, hot, or long an object is) | C. A & B | D. Neither A nor B |
| --- | --- | --- | --- |

- Precision is when: (Answer: A)

| A. The measurement repeats itself | B. Every measurement value is close to the true value, but the same measurement is not repeated again and again | C. Instruments give the same answer over and over again | D. A and C |
| --- | --- | --- | --- |

- Which is the best way to calculate uncertainty?: (Answer: B)

| A. Use proficiency test samples | B. Perform according to your standard test method | C. Use standard deviation of long-term data collected from routine sample runs. | D. Utilize duplicate data |
| --- | --- | --- | --- |

- Match the correct term and definition: A. Measurand	B. Standard deviation C.  True Value D. Accuracy

| _C_ Actual amount of the analyte in a sample | _D_ The ability of an instrument or testing process to repeat readings close to the true value of an analyte | _A_ The particular quantity of the substance being measured, including the unit of measure and the matrix, e.g., “mg of lead in a cubic meter of air” | _B_ A mathematical formula used to calculate the average distance that values in a set differ from the set’s mean. |
| --- | --- | --- | --- |

- Match the term with the correct meaning: A. Type A uncertainty B. Standard deviation  C. Confidence level  D. Offset

| _B__ The spread of numbers in a set | _D_ A scale not set to zero | _A_ Uncertainty evaluated by statistical methods | _C_ The likelihood (expressed as a percentage) that the results of a test are real and repeatable, and not just random |
| --- | --- | --- | --- |