## Slide 1: Proficiency Testing
ISO/IEC 17025:2005
Notes: Please refer to the notes under the slides. There are suggestions on presenting the slides or modifying.

## Slide 2: Abbreviations and Acronyms
AACC-American Association of Cereal Chemists
AAFCO – American Association of Feed Control Officials (www.aafco.org)
AB – Accrediting Body
ALACC – AOAC Analytical Laboratory Accreditation Criteria Committee
AOAC International–Organization that provides the ALACC guidelines (www.aoac.org)
AOCS
CRM – Certified Reference Materials
PT– Proficiency Testing
RM – Reference Material

## Slide 3: Abbreviations and Acronyms
PDP-Pesticide Data Program
EPA-Environmental Protection Agency
ppb-parts per billion
ppm-parts per million

## Slide 4: Abbreviations and Acronyms
  Accrediting Bodies:
  A2LA-American Association for Laboratory Accreditation
  AIHA-American Industrial Hygiene Association
  ANAB-ANSI-ASQ National Accreditation Board
  PJLA-Perry Johnson Laboratory Accreditation
  IAS-International Accreditation Service

## Slide 5: What ISO/IEC 17025 says
Section 5.9 Ensuring the Quality of Test and Calibration Results
5.9.1 The laboratory shall have quality control procedures for monitoring the validity of tests and calibrations undertaken. The resulting data shall be recorded in such a way that trends are detectable and, where practicable, statistical techniques shall be applied to the reviewing of the results. This monitoring shall be planned and reviewed and may include, but not be limited to, the following:

## Slide 6: ISO/IEC 17025 section 5.9
This is the only section of the standard that mentions proficiency testing (PT) programs.

## Slide 7: ISO Section 5.9 continued
(a) regular use of Certified Reference Materials (CRM) and/or internal quality control using secondary Reference Materials (RM);
(b) participation in interlaboratory comparison or proficiency-testing programmes;
(c) replicate tests or calibrations using the same or different methods;
(d) retesting or recalibration of retained items;
(e) correlation of results for different characteristics of an item.
Note: The selected methods should be appropriate for the type and volume of work undertaken.

## Slide 8: Requirements in addition to ISO/IEC 17025:2005

## Slide 9
AAFCO Quality Assurance Control Guidelines for Feed Laboratories supplement to ISO/IEC 17025:2005,b2014 edition. This includes accreditation requirements added by AAFCO.
Notes: Presenter: If you are not using AAFCO, you can delete this slide.

## Slide 10
AOAC International Guidelines for Laboratories Performing Microbiological and Chemical Analysis of Food, Dietary Supplements, and Pharmaceuticals, An aid to interpretation of ISO/IEC 17025:2005. This document is also known as the ALACC guidelines.
Notes: Presenter: If you are not using AOAC ALACC, you can delete this slide.

## Slide 11: Accrediting Bodies (AB) Requirements
ABs may have either guidance or policy in place defining this section of the standard.
Check their websites. They are generally available to download for free.
ABs
  A2LA
  AIHA
  ANAB
  PJLA
  IAS
Notes: Presenter: You can reference all of the ABs or only include the AB you plan to use. A2LA was used as the example in this presentation. The other accrediting bodies provide additional information for Proficiency Testing. Refer to their websites. The documents have been available to the public so you should be able to download them.

## Slide 12: So what are you supposed to do?
Determine if there is a suitable PT available for:
  Analyte of Interest
  Matrix
  Fit-for-Purpose

## Slide 13: Proficiency Testing Providers
Found on AAFCO.ORG\Laboratory – Resources for ISO 17025:2005 Accreditation
Notes: Found on AAFCO.ORG\Laboratory – Resources for ISO 17025:2005 Accreditation
AOAC accredited to ISO/IEC 17043.
AOCS is accredited to ISO Guide 34 but not ISO Guide 43. ISO Guide 34 is for Certified Reference Materials.
AACC is not accredited.
NOTE: These accreditations can change. Always check the AB’s website to double check the status of accreditation for each provider.

## Slide 14: So what are you supposed to do?
After you have located a PT provider, determine if the provider is accredited to ISO/IEC 17043:2010 Conformity assessment - General requirements for proficiency testing
Source of providers :
APHL https://www.aphl.org/programs/food_safety/laboratory-accreditation/Pages/Accreditation-Resources.aspx
AAFCO
http://www.aafco.org/Laboratory

## Slide 15: Additional thoughts…
If there is an accredited provider, the AB may strongly encourage the use of the provider.
However, you and your customer may jointly agree that a CRM or non-accredited program is fine. Just make sure the conversation is well documented.

## Slide 16: PT Provider's Scope
If the provider is accredited, review their scope.
A provider may be accredited for a limited number of analytes/compounds.
Their literature should indicate if the PT or CRM is covered by their scope of accreditation.

## Slide 17: Example of a PT Provider's Scope

## Slide 18: Example: Reference Material Producer’s Scope

## Slide 19: Remember…
…the standard states in 5.9.1 (a) regular use of CRM and/or internal quality control using secondary RM;

## Slide 20: Common Road blocks
If PT has to be shipped from outside the country, there may be restrictions for importing the sample matrix
The analyte of interest may be found, but it is not in matrix, or at the wrong concentration i.e., parts per million (ppm) and parts per billion (ppb) are needed
Issues with PT provider – cannot meet needs or not fit-for-purpose

## Slide 21
ALWAYS DOCUMENT the ISSUES if a suitable PT cannot be located .
Remember! 4.6 Purchasing Services and Supplies and approved supplier list

## Slide 22: Use of Internal Check Samples
Internal check samples may be an acceptable alternative when external PT / check samples are not commercially available or are determined to be unacceptable for your customers analytical requirements.

## Slide 23: Internal Checks
Use a CRM and/or internal quality control using secondary RM

## Slide 24: Internal Checks
Use a CRM and/or internal quality control using secondary RM
Participate in a round robin with other laboratories

## Slide 25: Internal Checks
Use a CRM and/or internal quality control using secondary RM
Participate in a round robin with other laboratories
Perform a comparison with another method

## Slide 26: Internal Checks
Use a CRM and/or internal quality control using secondary RM
Participate in a round robin with other laboratories
Perform a comparison with another method
Perform an inter-laboratory comparison

## Slide 27: Inter-laboratory comparison
The organization, performance and evaluation of calibration/test results for the same or similar item by two or more laboratories in accordance with pre-determined conditions.*
*ANAB Guidance of Proficiency Testing/Inter-Laboratory Comparisons, June 17, 2015

## Slide 28: Internal Checks
Use a CRM and/or internal quality control using secondary RM
Participate in a round robin with other laboratories
Perform a comparison with another method
Perform an inter-laboratory comparison
Test previously run samples

## Slide 29: Internal Checks
Use a CRM and/or internal quality control using secondary RM
Participate in a round robin with other laboratories
Perform a comparison with another method
Perform an inter-laboratory comparison
Test previously run samples
Correlation of results for different characteristics of an item

## Slide 30
Use a CRM and/or internal quality control using secondary RM
Participate in a round robin.
Perform a comparison with another method.
Perform an inter-laboratory comparison.
Test previously run samples.
Correlation of results for different characteristics of an item.
Internal Check Samples

## Slide 31: Pesticide Data Program (PDP) example
As part of the USDA Pesticide Data Program (PDP), Colorado, New York and Montana analyzed groundwater and surface water samples. These laboratories were required to become accredited.
In addition, Minnesota has an extensive ground water and surface water program for monitoring pesticides. Over 2,000 ground water and surface water samples were analyzed in Fiscal Year 2014. The list is unique to this state.

## Slide 32: PDP example continued
The pesticides list is not the “common” EPA list for drinking water or wastewater; there were no commercial PTs that adequately covered the MN list.
PDP provided the water laboratories in their program two specialty PTs made for them by Ultra Scientific.
PDP experienced large budget cuts and discontinued the water analysis for its programs. The PTs ended but the MN laboratory’s accreditation did not.

## Slide 33: PDP example continues
The laboratory tried a couple commercial PTs but those were quickly deemed unacceptable. We look at parts per trillion and many of the commercial are ppb/ppm. Additionally the compound lists did not adequately cover our lists.
The laboratory went back to Ultra and now have 2 to 3 specialty mixes made each year covering each class of compounds. (expensive but meets their customers needs). They cannot cover all of the analytes in the mixes. Their AB accepts using class of compound.
The laboratory also reviews internal matrix spike recovery data especially for compounds that Ultra is not able to add to a mix because of stability issues.

## Slide 34: Internal Check Sample
Here are some examples of approaches that can be taken:
  Find a matrix with the analyte
  Develop in-house using CRM/RM
  Work with a CRM/RM company
  Have another laboratory make it
  Use a previously analyzed sample
  Compare results for different characteristics of the sample

## Slide 35: Re-Purpose PT/Check Samples
Use as a laboratory control sample (LCS).
Use for testing competency of analytical staff.
Use for verification/validation of methods.

## Slide 36: References
ISO/IEC 17025:2005
  https://www.iso.org/standard/39883.html
AB websites for their policies on proficiency testing
Eurachem: “The Fitness for Purpose of Analytical Methods, A Laboratory Guide to Method Validation and Related Topics”
  https://www.eurachem.org/index.php/publications/guides/mv
AOAC: “How to Meet ISO 17025 Requirements for Method Verification”
  http://aoac.org/aoac_prod_imis/AOAC_Docs/LPTP/alacc_guide_2008.pdf