QMS Quick Learning Activity


Proficiency Testing
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Passing score = 80%   
Select the correct answer.
	1.
	T
	F
	Proficiency testing must always be performed for monitoring the validity of tests. 

	2.
	T
	F
	There are alternatives to proficiency testing when external PT are not available. 

	3.
	T
	F
	Inter-laboratory comparisons must be performed by 12 laboratories.  

	4.
	T
	F
	Accrediting bodies may have their own guidance in place for proficiency testing. 



5. : Acceptable alternative to proficiency testing include 
	A. Use of Certified Reference Material
	B. Participation in a round robin
	C. Performance of an itner-laboratory comparison
	D. A, B & C



6. Alternatives to proficiency testing can be performed when:  
	A. Available PTs are determined to be unacceptable for customer analytical requirements
	B. Even if a PT is not commercially available
	C. It is never acceptable to do an alternative to a PT
	D. It is always acceptable to do an alternative to a PT



7. Proficiency test providers: 
	A. Are always accredited 
	B. Have all PTs under their scope of accreditation
	C. Are always fit for purpose
	D. None of the responses
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