QMS Quick Learning Activity

# Proficiency Testing

# Quiz-Answer Key

Passing score = 80%   [Answers in RED]

Select the correct answer.

| 1. | T | F | Proficiency testing must always be performed for monitoring the validity of tests. (Answer: F) |
| --- | --- | --- | --- |
| 2. | T | F | There are alternatives to proficiency testing when external PT are not available. (Answer: T) |
| 3. | T | F | Inter-laboratory comparisons must be performed by 12 laboratories. (Answer: F) |
| 4. | T | F | Accrediting bodies may have their own guidance in place for proficiency testing. (Answer: T) |

- : Acceptable alternative to proficiency testing include (Answer: E)

| A. Use of Certified Reference Material | B. Participation in a round robin | C. Performance of an itner-laboratory comparison | D. A, B & C |
| --- | --- | --- | --- |

- Alternatives to proficiency testing can be performed when:  (Answer: A)

| A. Available PTs are determined to be unacceptable for customer analytical requirements | B. Even if a PT is not commercially available | C. It is never acceptable to do an alternative to a PT | D. It is always acceptable to do an alternative to a PT |
| --- | --- | --- | --- |

- Proficiency test providers: (Answer: D)

| A. Are always accredited | B. Have all PTs under their scope of accreditation | C. Are always fit for purpose | D. None of the responses |
| --- | --- | --- | --- |