## Correlations
CROSSWALK OF REGULATIONS AND GUIDANCE
| ISO/IEC 17025:2017 | ISO/IEC 17025:2005(E) |  | ISO 15189:2012(E) | CLIA (42 CFR 493) updated, amended 2003 |  | CLSI QSEs | AIHA, 2016 |  | TNI, 2009
Scope | 1 Scope | 1 Scope |  | 1 Scope | §493.1 Basis & Scope |  |  | 2A.1 Scope |  | 1. 2 Scope
2F.1 Scope
References | 2 Normative Refernces | 2 Normative References |  | 2 Normative References |  |  |  | 2A.2 Normative References |  | 2.0 Normative References
Terms and | 3 Terms and Definitions | 3 Terms and Definitions |  | 3 Terms and Definitions | §493.2 Definitions |  |  | 2A.3 Terms and Definitions |  | 3.0 Terms and Definitions
Definitions
Organization | 5 Structural Requirements | 4.1 Organization |  | 4.1 Organization | Subpart M: Personnel for Non-Waived Testing |  | Organization | 2A.4.1 Organization |  | 4.1 Organization
|  |  |  | and Management |  |  | Information Management
Responsibility
Management System | 8 Management System | 4.2 Management |  | 4.2 Quality Management | §493.1251 Standard: Procedure Manual |  | Organization | 2A.4.2 Management System |  | 4.2 Management
(QA System) | Requirements | System |  | System | §493.1200 | Standard: Introduction
Annex B Management System
Options
Document | 8.3 Control of Management | 4.3 Document Control |  | 4.3 Document Control | §493.1251 Standard: Procedure Manual |  | Document and Records | 2A.4.3 Document Control |  | 4.3 Document Control
Control | System Documents |  |  |  | §493.1283 Standard: Test Records |  | Information Management
Contracts | 7.1 Review of Requests, | 4.4 Review of Requests, |  | 4.4 Service Agreements | §493.1241 Standard: Test Request |  | Purchasing and Inventory | 2A.4.4 Review of Request, |  | 4.4 Review of Request,
| Tenders, and Contracts | Tenders, and Contracts | [5 empty] | Tenders and Contracts |  | Tenders and Contracts
Sub-Contracting | 6.6 Externally Provided | 4.5 Sub-Contracting |  | 4.5 Examination by | §493.1242 Standard: Specimen Submission, Handling |  | Purchasing and Inventory | 2A.4.5 Sub-Contracting of |  | 4.5 Subcontracting of
| Products and Services | of Tests and Calibrations |  | Referral Laboratories | and Referral |  |  | Tests and Calibrations |  | Environmental Tests
Purchasing | 6.6 Externally Provided | 4.6 Purchasing |  | 4.6 External | §493.1252 Standard: Test systems, Equipment, |  | Purchasing and Inventory | 2A.4.6 Purchasing Services |  | 4.6 Purchasing Services
| Products and Services | Services and Supplies |  | Services and Supplies | Instruments, Reagents, Materials and Supplies |  |  | and Supplies |  | and Supplies
Customer Service | Throughout document | 4.7 Service to the |  | 4.7 Advisory Services | §493.1231 Standard: Confidentiality of |  | Customer Focus | 2A.4.7 Service to the Customer |  | 4.7 Service to the Customer
| 4.2 Confidentiality | Customer |  |  | Patient Information
§493.1234 Standard: Communications
Complaints | 7.9 Complaints | 4.8 Complaints |  | 4.8 Resolution of | §493.1233 Standard: Complaint Investigations |  | Nonconforming Event Management | 2A.4.8 Complaints |  | 4.8 Complaints
Complaints
Nonconformities | 7.10 Nonconforming Work | 4.9 Control of |  | 4.9 Identification | §493.1239 Standard: General Laboratory Systems |  | Nonconforming Event Management | 2A.4.9 Control of Nonconforming |  | 4.9 Control of Nonconforming
|  | Nonconforming Testing |  | and Control of | Quality Assessment |  |  | Testing and/or Calibration Work |  | Environmental Testing Work
|  | and/or Calibration Work |  | Nonconformities | §493.1256 Standard: Control Procedures
Laboratory | 8.6 Improvement | 4.10 Improvement |  | 4.12 Continual | Subpart K-Quality System for Nonwaived Testing |  | Continual Improvement | 2A.4.10 Improvement |  | 4.10 Improvement
Improvement |  |  |  | Improvement | §493.1200 Introduction
§493.1239(a), §493.1249(a), §493.1289(a), §493.1299(a)
Corrective Actions | 8.7 Corrective Action | 4.11 Corrective Action |  | 4.10 Corrective Action | §493.1282 Standard: Corrective Actions |  | Nonconforming Event Management | 2A.4.11 Corrective Action |  | 4.11 Corrective Action
Preventive Actions | 8.5 Actions to Address Risks | 4.12 Preventive Action |  | 4.11 Preventive Action | §493.1239(a), §493.1249(a), §493.1289(a), §4931299(a) |  | Assessments | 2A.4.12 Preventive Action |  | 4.12 Preventive Action
and Opportunities
Control of Records | 8.4 Control of Records | 4.13 Control of Records |  | 4.13 Control of Records | §493.1105 Standard: Retention Requirements |  | Document and Records | 2A.4.13 Control of Records |  | 4.13 Control of Records
[5 empty] | §493.1283 Standard: Test Records |  | Information Management
Internal Audits | 8.8 Internal Audits | 4.14 Internal Audits |  | 4.14 Evaluation and Audits | §493.1239 (b), §493.1249(b), §493.1289(b), |  | Assessments | 2A.4.14 Internal Audits |  | 4.14 Internal Audits
§493.1299(b)
Management Reviews | 8.9 Management Reviews | 4.15 Management Reviews |  | 4.15 Management Review |  |  | Organization | 2A.4.15 Management Reviews |  | 4.15 Management Reviews
(review of document manual)
Technical Requirements | 6.1 General | 5.1 General |  | 5 Technical Requirement |  |  | Process Management | 2A.5.1 General |  | 5.1 General
General
Personnel | 6.2 Personnel | 5.2 Personnel |  | 5.1 Personnel | Subpart M - Personnel for Nonwaived Testing |  | Personnel | 2A.5.2 Personnel |  | 5.2 Personnel
[5 empty] | §493.1351-§493.1495 |  |  | 2F.3 Personnel
§493.1235 Standard: Personnel competency
assessment policies.
Facilities | 6.3 Facilities and | 5.3 Accommodation |  | 5.2 Accommodation | §493.1101 Standard: Facilities |  | Facilities and Safety | 2A.5.3 Accommodation and |  | 5.3 Accommodation and
| Environmental Conditions | and Environmental |  | and Environmental |  |  |  | Environmental Conditions |  | Environmental Conditions
|  | Conditions |  | Conditions |  |  |  | 2F.2 Facilities and Equipment
Methods and Method | 7.2 Selection, Verification, | 5.4 Test and Calibration |  | 5.5 Examination | §493.1253 Establishment and Verification of |  | Process Management | 2A.5.4 Test Methods and Method |  | 5.4 Environmental Methods
Validation | and Validation of Methods | Methods and Method |  | Processes | Performance Specifications |  | Information Management | Validation |  | and Method Validation
|  | Validation |  | 5.10 Laboratory Information | §493.1255 Calibration & Calibration Verification |  |  | 2F
|  |  |  | Management | Procedures |  |  | 6 Proficiency Testing (PT) and Round Robin
| 7.6 Evaluation of | 5.4.6Measurement |  | 5.5.1.5Measurement uncertainty |  |  |  | Programs
| Measurement Uncertainty | of Uncertainty |  | of measured quantity values |  |  |  | 6.9 Food Accredited Laboratories
Equipment | 6.4 Equipment | 5.5 Equipment |  | 5.3 Laboratory equipment, | §493.1252 Standard: Test Systems, Equipment, |  | Equipment | 2A.5.5 Equipment |  | 5.5 Calibration Requirements
|  |  |  | Reagents, and Consumables | Instruments, Reagents, Materials and Supplies |  | Information Management
§493.1254 Standard: Maintenance and Function
Checks
Traceability | 6.5 Metrological | 5.6 Measurement |  | 5.3.1.4 Equipment | §493.1253 Establishment & verification |  | Process Management | 2A.5.6 Measurement Traceability |  | 5.6 Measurement Traceability
| Traceability | Traceability |  | Calibration and Metrological | of Performance Specifications
| Annex A Metrological |  |  | Traceability | §493.1255(a)(2)(i) Calibration and Calibration
| Traceability |  |  |  | Verification Procedures
Sampling | 7.3 Sampling | 5.7 Sampling |  | 5.4 Pre-examination | §493.1242 Standard: Specimen Submission, |  | Process Management | 2A.5.7 Sampling |  | 5.7 Collection of Samples
|  |  |  | Processes | Handling and Referral
Handling of Test | 7.4 Handling of Test and | 5.8 Handling of Test |  |  | §493.1242 Standard: Specimen Submission, |  | Process Management | 2A.5.8 Handling of Test Items |  | 5.8 Handling Samples and
and Calibration Items | Calibration Items | and Calibration Items |  |  | Handling and Referral |  |  |  |  | Test Items
§493.1232 Standard: Specimen Identification and
Integrity
Assurances | 7.5 Technical Records | 5.9 Assuring the Quality |  | 5.6 Ensuring Quality | Subpart H - Participation in Proficiency Testing |  | Process Management | 2A.5.9 Assuring the Quality |  | 5.9 Quality Assurance for
|  | of Test and Calibration |  | of Examination Results | for Laboratories Performing Nonwaived |  |  | of Tests |  | Environmental Testing
| 7.7 Ensuring the Validity | Results |  |  | Testing |  |  | 2F.5 Quality Assurance/Quality Control
| of Results |  |  |  | §493.1236 Standard: Evaluation of Proficiency
Testing Performance
| 7.11 Control of Data and |  |  |  | §493.1256-§493.1278 Standard: Control Procedures
| Information Management |  |  |  | §493.1281 Standard: Comparison of Test Results
Reporting Results | 7.8 Reporting of Results | 5.10 Reporting the |  | 5.7 Post-Examination | §493.1291 Standard: Test Report |  | Process Management | 2A.5.10 Reporting the Results |  | 5.10 Reporting the Results
|  | Results |  | Processes | §493.1290-§493.1299 Standard: Post-analytic Systems |  | Information Management
5.8 Reporting the
Results
5.9 Release of Results
Safety |  |  |  | 5.7 Post-Examination | §493.1101 Standard: Facilities |  | Facilities and Safety | 2A.6 Safety and Health
Laboratories follow the various |  |  |  | Processes | Biosafety in Microbiological and Biomedical
subparts of OSHA 29 CFR 1910 |  |  |  |  | Laboratories, 5th edition, 2007.
for safety
Integrity and Ethics | 4.1 Impartiality | 4.1 Organization |  | 4.1.1.3 Ethical Conduct | Subpart Q: Inspection |  | Organization |  |  | 4.16 Data Integrity Investigations
| 4.2 Confidentiality |  |  |  | Subpart R: Enforcement Procedures |  |  |  |  | 5.2.7 Data Integrity Training
|  | Key = | ISO - International Organization for Standardization | [5 empty] | This project was supported by the APHL Innovations in Quality Public Health Laboratory Practice Grant and Cooperative Agreement Number #U60/CD303019 from Centers for Disease Control and Prevention (CDC) and Cooperative Agreement #1U18FD004710 from the US Food and Drug Administration (FDA).
|  |  | IEC - International Electrotechnical Commission | [5 empty] | Its contents are solely the responsibility of the authors and do not necessarily represent the official views of CDC nor FDA.
CLSI QSEs-Clinical and Laboratory Standards Institute Quality System Essentials
CLIA - Clinical Laboratory Improvement Amendment of 1988
|  |  | AIHA - American Industrial Hygiene Association | [5 empty] | Funding support by CDC was provided by the following: |  | National Center for HIV, Viral Hepatitis, STD and TB Prevention (PS)
|  |  | TNI - The NELAC Institute | [7 empty] | Coordinating Center for Infectious Diseases (CH)
|  |  | CFR - Code of Federal Regulations | [7 empty] | Office of Workforce and Career Development (OWCD)
|  |  | OSHA - Occupational Safety and Health Administration | [7 empty] | National Center for Environmental Health (NCEH)
National Center for Zoonotic, Vector-borne, and Enteric Diseases (CK)
Coordinating Office of Global Health
Coordinating Office for Terrorism Preparedness and Emergency Response (CTPER)