## Slide 1: Customer Service-Handling and Complaints
ISO/IEC 17025:2005

## Slide 2: Abbreviations and Acronyms
Feedback - Information on performance received from a customer
Customer Service - Cooperation with customer
Root Cause Analysis (RCA) - Determination of the true reason why a problem occurred
Corrective Action (CA) - Action to eliminate the cause of a detected nonconformity

## Slide 3: Feedback
The laboratory must seek feedback, both
  Positive
  Negative
Possible ways include:
  Annual customer satisfaction survey
  “Tell us what you think” link to email
  Talk to customers
  Web page link
Why should you seek feedback?
  Good customer service
  Address complaints
  Correct errors, if applicable
    If necessary, perform root cause analysis
Photo credit: unbounce.com

## Slide 4: Customer Service
The laboratory must be willing to cooperate with customers
  To clarify requests
  To monitor the laboratory’s performance related to the work performed
  To ensure confidentiality of customers
Staff must use good communication skills with customers
  Customers may have to be provided a guide in technical matters, such as opinions, results, interpretations, etc.
  Inform the customer of delays or major deviations in the performance of tests

## Slide 5: Customer Complaints
The laboratory needs to have a policy & procedure for resolution of complaints
  Does the person who receives the complaint document it?
  Management should review complaints and determine if the complaint has merit.
    If so, take corrective action
    If not, document and contact client
  If complaint is repeated, then it should be reviewed for corrective/preventive action.
  Internal & External

## Slide 6: Customer Complaints
Keep records of the investigations and resolutions
  Were they addressed?
  How were they corrected?
    Verify results are correct
    Review the analytical data
Photo credit: shl.uiowa.edu

## Slide 7: Why Listen to Customer Complaints?
Addressing complaints will help to find and solve any problems
When a customer’s complaints are addressed successfully, loyalty and foster goodwill are built; even dissatisfied customers may be able to be won back
Research shows that normally only 1 in 26 people are likely to complain and as many customers do not think it is worthwhile
Someone who has a good experience is likely to tell 3 other people, but someone who has a bad experience will tell, on average, 11 people
Photo credit: Mike Baldwin

## Slide 8: How to Respond to Complaints
Use empathizing techniques:
Have a sympathetic ear
Use the Golden Rule
“Treat others as you would like to be treated”
Summarize what the speaker says and the underlying feelings
Paraphrase the reason for the complaint
Acknowledge feelings
Ignore the excessive and erroneous
Example: insults
For example, say “You must be very upset about this”

## Slide 9: How to Respond to Complaints
Find solutions to complaints while on the phone
  Don’t talk about what can’t be done, but what can be done
  If possible, offer alternatives
  If something has gone wrong, don’t argue about the problem, act to rectify it. Demonstrate to the customer concern about them and the desire to correct the situation as quickly as possible

## Slide 10: If a root cause analysis is needed to be performed, some ideas to remember include:
People are generally not the ultimate cause of problems
People implement processes
Most people do not come to work planning to sabotage their own work
Do not waste time looking at surface issues
Use passive voice to avoid “blame game”
Examples:
  “Bob didn’t complete the form AB correctly” (WRONG)
  “Form AB lacked necessary review and approval” (CORRECT)
Photo credit: medicalsea.org

## Slide 11: Correction vs. Corrective Action
Correction
  Action to eliminate a detected nonconformity
  The immediate action taken to correct a problem, usually to allow data to be reported to a customer
  Examples include:
    making an adjustment
    fixing a mistake
    repeating analysis
Corrective action
  Action to eliminate the cause of a detected nonconformity
  Must establish a root cause
  Need to dig deeper to find out the “WHY”
  Must address the root cause (prevents recurrence)

## Slide 12: Determine the Root Cause
What’s the problem? (DEFINE & MEASURE)
Sometimes “Why” is not the starting question
  What is it?
  When did it happened?
  Where did it happen?
  How were overall goals affected?
  Keep it simple—make an outline
  People see problems differently
Why did it happen? (ANALYZE)
What will be done? (IMPROVE)
EVALUATE to ensure the problem has truly been solved (PREVENT)
Analyze
Improve
Evaluate
Define
Measure

## Slide 13: Potential Root Causes of Problems
Customer requirements (e.g., delayed delivery of samples-“batching”)
The samples (e.g., incorrect collection)
Sample specifications
Methods & procedures (most correct or most up-to-date utilized for testing?)
Consumables not delivered on time
Equipment & its calibration

## Slide 14: Implement Solution & Monitor
Implement the corrective action (CA)
Monitor to ensure CA effective
  Record findings and observations to see if the adjustment fixes the problem
  If the problem happens again, select another variable from list
Audit the area as soon as possible to confirm effectiveness
Close the CA
Report back to the customer, if applicable
Plan
Do
Check
Act

## Slide 15: Conclusion
Customers usually only complain when things are very bad
Complaints should be addressed immediately
Treat customers empathetically
Perform root cause analysis to understand the “why” of the problem
When things go wrong—look at the system and/or process to see what may have caused the error—do not assign blame to people
“Take time to deliberate; but when the time for action arrives,
stop thinking and go in.” Andrew Jackson
15

## Slide 16: References
ISO/IEC 17025:2005
  https://www.iso.org/standard/39883.html