## Slide 1: Personnel Requirements, Ethics, and Continuous Improvement

## Slide 2: Abbreviations and Acronyms
TM - Technical Manager-oversees technical aspects of laboratory testing
QM - Quality Manager-oversees the quality management system
APHL - Association of Public Health Laboratories
LIMS - Laboratory Information System
CFR - Code of Federal Regulation
HIPAA - Health Insurance Portability Act-covers patient confidentiality
PDSA (PDCA )- Plan, Do, Study (Check), Act. A four-stage problem-solving model used for improving a process or carrying out change
Lean - Customer focused process improvement methodology used to identify and eliminate waste and to standardize work processes
Six Sigma – Problem-focused process improvement methodology with a view that process variation is waste and that utilizes statistics to understand variation

## Slide 3: Goal for Module
The goal of the learning activity is to provide an overview of Personnel Requirements, Laboratory Ethics and Continuous Improvement to better meet the ISO/IEC 17025 standard in your laboratory.

## Slide 4: Personnel Requirements

## Slide 5: ISO/IEC 17025 Personnel Requirements
Personnel requirements can be found in the standard:
4.1 Organization
  4.1.5
4.2 Management System
  4.2.6
5.2 Personnel

## Slide 6: Personnel Requirements 4.1.5
4.1.5 covers policy and procedures that include Ethics
  Confidentiality
  Organization structure
  Supervision
  Technical manager (TM)
  Quality manager (QM)
  Duties for key managerial personnel
The last three are explained in more detail in 4.2.6

## Slide 7: Personnel Requirements 4.2.6
4.2.6
  The roles and responsibilities of technical manager and the quality manager, including their responsibilities for ensuring compliance with ISO/IEC 17025, shall be defined in the quality manual.
Technical Manager (TM)
  Overall responsibility for the technical operations and the provision of resources needed to ensure the required quality of laboratory operations (4.1.5)
Quality Manager (QM)
  Overall responsibility and authority for ensuring that the management system related to quality is implemented and followed at all times. Shall have direct access to the highest level of management at which decisions are made on laboratory policy or resources (4.1.6).

## Slide 8: TM and QM Accrediting Body Requirements
Review accrediting body requirements and any other standards being utilized for the TM and QM
For example, AIHA has additional requirements for TM
  Posses a bachelor’s degree in an applicable physical or biological science
  TM shall be present on site at least 20 hours per week or 50 percent of the laboratory operating hours (whichever is less) to address technical issues
  Authorize and document that all analyses is accredited and completed by personnel with appropriate education and/or technical background
Notes: **Very important to designate someone to act in the place of the TM.

## Slide 9: TM and QM Accrediting Body Requirements - continued
  Ensure that adequate supervision is provided for all laboratory technical personnel
  Shall function as the approved signature though can assign designee
    Designee reflected in Quality Assurance manual
  The TM could be the laboratory director and/or managers already in place prior to the accreditation
Notes: **Very important to designate someone to act in the place of the TM.

## Slide 10: TM and QM Accrediting Body Requirements, continued
AIHA specific requirements for QM
  Possess a bachelor’s degree in an applicable basic or applied science and have at least one year of nonacademic analytical or quality control experience
  Documented training in statistics
  May be part time
Can have one person act as both if qualifications for both are met
Notes: **Very important to designate someone to act in the place of the TM.

## Slide 11: Personnel Requirements (5.2)
5.2.1 The laboratory management shall ensure the competence of all who operate specific equipment, perform tests and/or calibrations, evaluate results, and sign test reports and calibration certificates. When using staff who are undergoing training, appropriate supervision shall be provided. Personnel performing specific tasks shall be qualified on the basis of appropriate education, training, experience and/or demonstrated skills, as required.
Electronic Training records
Training Goals

## Slide 12: Personnel Requirements
5.2.2 The management of the laboratory shall formulate the goals with respect to the education, training and skills of the laboratory personnel. The laboratory shall have a policy and procedures for identifying training needs and providing training of personnel. The training program shall be relevant to the resent and anticipated tasks of the laboratory. The effectiveness of the training actions taken shall be evaluated. All staff, including interns, volunteers, and temporary employees should adhere to the personnel requirements.
Electronic Training records
Training Goals

## Slide 13: Personnel Requirements
5.2.3 The laboratory shall use personnel who are employed by, or under contract to, the laboratory. Where contracted and additional technical and key support person are used, the laboratory shall ensure that such personnel are supervised and competent and that they work in accordance with the laboratory’s management system.

## Slide 14: Personnel Requirements
5.2.4 The laboratory shall maintain current job descriptions for managerial, technical and key support personnel involved in tests and/or calibrations
    Human Resource job descriptions might not be specific enough. In the notes section, ISO/IEC 17025 suggests defining duties and responsibilities in regards to:
      Performing tests
      Implementing tests and evaluation of results
      Reporting and interpretation
      Method modification and development
      Expertise and experience
      Qualification and training programs
      Managerial duties

## Slide 15: Personnel Requirements
5.2.5 The management shall authorize specific personnel to perform particular types of sampling, test and/or calibration, to issues test reports and calibration certificates, to give opinions and interpretations and to operate particular types of equipment. The laboratory shall maintain records of relevant authorization(s), competency, educational and professional qualifications, training, skills and experience of all technical personnel, including contracted personnel. This information shall be readily available and shall include date of which authorization and/or competence is confirmed.
  Be careful with wording; do not use the word “certify” unless a certificate is produced
A work authorization form might be used for documentation

## Slide 16: Personnel Training and Authorization Requirements
Depending on the accrediting body, different authorization requirements are needed. This is for AIHA ELLAP

## Slide 17: Personnel Training and Authorization Requirements
Example Training Record for an Analyst who was “Grandfathered”, i.e. an analyst that has been doing the method for a long period of time prior to ISO accreditation. Could also attach an updated copy of a CV for documentation of experience

## Slide 18: Accrediting Body Personnel Requirements
Review accrediting body-specific requirements for personnel, training, authorization and competence, if applicable. Some examples of specific requirements include but not limited to:
  Personnel must show ability to produce reliable results through accurate analysis of Certified Reference Materials, proficiency testing samples or in-house quality control samples
  Demonstrate competence every 6 months
  Minimum time of hands on experience
Notes: Are just some examples

## Slide 19: Other Personnel Requirements
Review agency requirements and professional requirements
  Personnel may be required to be credentialed, i.e. licensed, professional certification, or other deemed essential for the level of the position
  The laboratory determines the requirements for a position and also the criteria to determine competence
Notes: Are just some examples

## Slide 20: Ethics Requirements

## Slide 21: ISO/IEC 17025 Ethics Requirements
The laboratory shall
4.1.5 (a)
  Have managerial and technical personnel who, irrespective of other responsibilities, have the authority and resources needed to carry out their duties, including the implementation, maintenance and improvement of the management system, and to identify the occurrence of the departures from the management system or from the procedures for performing tests and/or calibrations, and to initiate action to prevent or minimize such departures
Notes: 4.1.5 covers several area regarding personnel and ethics. Some highlights include…

## Slide 22: ISO/IEC 17025 Ethics Requirements
4.1.5 (b)
  Have arrangements to ensure that is management and personnel are free from any undue internal and external commercial, financial, and other pressures and influences that may adversely affect the quality of their work
4.1.5 (c)
  Have policies and procedures to ensure the protection of its customers’ confidential information and proprietary rights, including procedures for protecting the electronic storage and transmission of results

## Slide 23: ISO/IEC 17025 Ethics Requirements
4.1.5 (d)
  Have policies and procedures to avoid involvement in any activities that would diminish confidence in its competence, impartiality, judgement or operational integrity
4.1.5 (f)
  Specify the responsibility, authority and interrelationships of all personnel who manage, perform or verify work affecting the quality of the tests and/or calibrations

## Slide 24: Ethical Considerations in the Laboratory
The laboratory should have a policy in place addressing the laboratory’s position on ethics, integrity, and code of conduct. Procedures based on this policy should be put in place that define exactly how the policy will be implemented and ensured.
Detecting and deterring testing or actions which are improper, unethical, or even illegal must be the culture established by management.
Ensure all employees and non-paid staff are informed!

## Slide 25: Ethical Considerations in the Laboratory, continued
An ethics program should include written ethics agreements, examples of improper practices, examples of improper data manipulations, requirements for an ethics program training, and any resources available to employees.
Employees must understand the consequences of unethical behavior
APHL is a source of webinars on Ethics and Ethical Practices; internal sources such as Offices of the Inspector General of an agency, for example, may also be a good resource for provision of training.

## Slide 26: Ethical Considerations in the Laboratory, continues
Improper actions include unauthorized intentional or unintentional deviations from analytical practices which are contract-specified or method-specified.
Unethical or illegal actions are the deliberate falsification of analytical or quality control results, where failed method or contractual requirements are made to appear acceptable.

## Slide 27: Ethical Considerations in the Laboratory, continued
Have in place a “whistle-blower” reporting policy that encourages all personnel to report suspected improper, unethical, or illegal activities without fear of retribution.
Investigate any allegations promptly and thoroughly.
Require initial and annual ethics training
Ensure changes to data (policies and procedures) is reviewed as part of the internal audit program
Require an explanation and sign-off on all manual changes to data
Where available, in instrument software or LIMS, all electronic tracking and audit functions must be enabled

## Slide 28: Consider Contract Requirements and Laws When Developing Ethics Policies and Procedures-Examples
National Institutes of Health
  Title 42 CFR 93, PHS Policies on Research Misconduct, Subpart C, “Responsibilities of Institutions”
  Recipient responsibilities are required to have written policies and procedures for addressing allegations of research misconduct and take all reasonable and practical steps to foster research integrity.
  Research misconduct is defined as the fabrication, falsification, or plagiarism in proposing, performing, or reviewing research, or in reporting research results.
HIPAA Privacy Rule
  Health Insurance Portability and Accountability Act of 1996
  A set of federal standards to protect the privacy of patients’ medical records and other health information maintained by covered health plans
  The HIPAA Security Rule establishes national standards for the security of electronic protected health information.

## Slide 29: Codes of Ethics
An Example Outline of a Professional Code of Ethics:
American Chemical Society (www.acs.org)
  Chemical Professionals acknowledge their responsibilities to:
    The Public
    To the Science of Chemistry
    To Their Profession
      Chemical professionals should strive to remain current with developments in their field, share ideas and information, keep accurate and complete laboratory records, maintain integrity in all conduct and publications, and give due credit to the contributions of others. Conflicts of interest and scientific misconduct, such as fabrication, falsification, and plagiarism, are incompatible with this Code.
    To Their Employer
    To Their Employees or Subordinates
    To Students
    To Colleagues
    To Their Clients
    To the Environment
    To Temporary Employees

## Slide 30: Continuous Improvement

## Slide 31: ISO/IEC 17025 Continuous Improvement
4.10 Improvement
  The laboratory shall continually improve the effectiveness of its management system through policy, quality objectives, audit results, analysis of data, corrective and preventative actions and management review

## Slide 32: Contributions to a Quality Culture
A Quality Culture can only be accomplished when all staff are involved in the following:
  Focusing on the Customer
  Leading by example
  Continually Improving
  Using information and analysis when making decisions (Project Planning)
  Strategically Planning for the future
  Knowing that cost effective quality measures can improve laboratory performance and decrease costs
Customer Focus
Process Improvement
Quality System
Total Involvement
Leadership
Strategic Planning
Information and Analysis
Process Management
HR focus
Business results
Customer and market focus

## Slide 33: ISO/IEC 17025 Continuous Improvement
Sources for continuous Improvement
  4.15 Management Review
    The Management Review does a good job covering the overall ISO management system
    Use the management review for a source to trend corrective action, customer complaints, etc. to identify and implement continuous improvement opportunties
  Staff input
  Quality Improvement tools such as PDSA (PDCA), Lean, Six Sigma, etc.

## Slide 34: Management must ensure that
Plan
Do
Check
Act
The QMS is reviewed and monitored and is implemented and followed by all staff
Staff are trained and follow a corrective action procedure
There is a mechanism to identify possible problems and ways to take action to prevent them (preventive action)
Opportunities are identified to improve the effectiveness of the quality system and are implemented

## Slide 35: This module was a:
Review of personnel requirements and understanding that accrediting bodies have additional requirements
Review of laboratory ethics and how it is incorporated into ISO/IEC 17025
Continuous improvement was discussed as it related to ISO/IEC 17025 and beyond

## Slide 36: References
ISO/IEC 17025:2005-https://www.iso.org/standard/39883.html
Stine, J. August 30, 2010. ISO/IEC 17025: Data Integrity Begins with Employee Integrity, Quality Digest http://www.qualitydigest.com/inside/metrology-article/isoiec-17025-data-integrity-begins-employee-integrity.html#
APHL Training site https://www.aphl.org/training/Pages/default.aspx
National Institutes of Health Research Misconduct-https://grants.nih.gov/grants/research_integrity/research_misconduct.htm
HIPAA-https://www.hhs.gov/hipaa/index.html/
Environmental Protection Agency-OEI Quality Systems-https://www.epa.gov/quality
American Chemical Society-www.acs.org
American Society of Quality- www.asq.org
Minnesota Department of Health Public Health and Quality Improvement Resources & Tools http://www.health.state.mn.us/divs/opi/qi/toolbox/
LEAN- Roos, Daniel, Ph.D.; Womack, James P., Ph.D.; Jones, Daniel T.: The Machine That Changed the World : The Story of Lean Production, Harper Perennial (November 1991) ; One Pager FAQ, Minnesota Department of Health http://www.health.state.mn.us/divs/opi/qi/toolbox/docs/leanessentials.pdf
Six Sigma
PSDA The ABCs of PDCA and PDSA Flowchart (PDF) Public Health Foundation