QMS Quick Learning Activity

Quality Management System Introduction

Quiz – Answer Key

Passing score = 80% [Answers in RED] Select the correct answer.

| 1. | T | F | The Quality Management System (QMS) covers the quality, administrative, and technical system that governs the operations of the laboratory. (Answer: T) |
| --- | --- | --- | --- |
| 2. | T | F | The QMS objectives do not include ensuring accountability of data through data management procedures. (Answer: F) |
| - T F Client satisfaction surveys are controlled documents. (Answer: T) - T F The Quality Management Plan (QMP) does not contain policies of the laboratory. (Answer: F) - T F Only technical laboratory staff need to comply with ISO/IEC 17025:2017. (Answer: F) - T F Management and staff contribute to a quality culture (Answer: T) - T F Quality Managers have defined responsibility and authority to ensure that the QMS is followed at all times. (Answer: T) |  |  |  |
| 8. | T | F | Quality Managers coordinate training with Human Resources and Safety Directors. (Answer: T) |

- Job Descriptions must specify your (Answer: D)

| A. Responsibilities | B. Authority | C. Interrelationships | D. All of the choices |
| --- | --- | --- | --- |

- Staff responsibilities include (Answer: D)

| A. Performing Risk Assessments | B. Participate in required training | C. Use proper PPE | D. All of the choices |
| --- | --- | --- | --- |

- Quality management responsibilities include (Answer: A)

| A. Monitoring staff performance against the quality standards | B. Rewriting the Laboratory Quality Plan each year | C. Generating data for daily testing reports | D. All of the choices |
| --- | --- | --- | --- |

- Error detection is found by using (Answer: B)

| A. Quality Management System | B. Quality control | C. Proficiency testing | D. Performance reviews |
| --- | --- | --- | --- |

- The Quality Management System documents include (Answer: A)

| A. Quality policies | B. Articles on ISO Guidelines | C. Employee resumes | D. All of the choices |
| --- | --- | --- | --- |

- The Quality policy statement is located in the (Answer: B)

| A. Technical Standard Operating Procedure | B. Quality Management Plan (QMP) | C. Orientation Handbook |
| --- | --- | --- |

- These items should be used in a QMS: (Answer: D)

| A. Focus on the customer | B. Strategic planning | C. Technical records | D. All of the choices |
| --- | --- | --- | --- |

9/2019