QUALITY MANAGER PATHWAY

INTRODUCTION

The Quality Manager Pathway (Pathway) is an outline of domains and competencies for the quality manager in a human and animal food (HAF) testing laboratory. This Pathway is designed to accompany the Human and Animal Food Laboratory National Curriculum Standard, otherwise known as the Laboratory Curriculum Framework (LCF).

The Pathway was built by a team with previous experience as HAF laboratory quality managers. The first step was to define the ideal quality manager. A proposed definition was shared with state HAF laboratories and feedback was reviewed. This definition served as the anchor for selecting LCF content to include in the Pathway.

A laboratory quality manager is an experienced laboratorian, who:

- implements state, national and/or international standards.

- ensures and executes compliance on laboratory processes within the scope of a Quality Management System.

- ensures the laboratory generates accurate, timely, and legally defensible test results

- collaboration with lab management and analysts to champion quality culture.

It is recognized that there are as many organizational structures as there are HAF laboratories. Some laboratories have one quality manager to oversee all quality matters. In other laboratories, quality roles are assigned to multiple personnel, such as: deputy quality manager or quality assurance leads. Each competency and behavioral anchor in the Pathway is addressed to the ideal quality manager in a model HAF laboratory.

Every module of the Laboratory Curriculum Framework was reviewed for quality management content. Behavioral anchors and competencies that contained one or more quality elements were assembled into a first draft. These competencies and behavioral anchors were sorted based on their similarity. Next, critical quality domains (e.g., document control, measurement uncertainty, customer service) were selected from ISO/IEC 17025:2017 because most HAF laboratories have become accredited or are working towards it. Quality elements from specialized programs (e.g., animal food, shellfish, dairy) and upper management modules were generalized before adding to the Pathway. Subsequent drafts were compared to a crosswalk of ISO/IEC 17025:2005 to the 2017 version and to the quality management section of Competency Guidelines for Public Health Laboratory Professionals. Duplicated material was removed. Existing competencies were reworded to correspond with the role of the quality manager. New competencies were created to fill gaps. For the competencies listed below, the quality manager is referred to suggested resources rather than recreate them in the Pathway.

| Competency area | Suggested resource(s) |
| --- | --- |
| Communication | Leadership Level Curriculum Framework |
| Soft skills | Leadership Level Curriculum Framework |
| Sample preparation | Evidentiary Integrity module of the Laboratory Curriculum Framework |
| Confidentiality | Laboratory-Specific Leadership Skills module of the Laboratory Curriculum Framework |
| Sample collection and other pre-analytical practices | GOODSamples, pertinent clauses of ISO/IEC 17025:2017 |
| Sources of error, sample preparation | GOOD Test Portions |

QUALITY MANAGER PATHWAY COMPENTENCIES AND BEHAVIORAL ANCHORS

Contents

Quality-Specific Communication Skills	4

Quality-Specific Management Skills	5

Quality-Specific Leadership Skills	10

Act as Quality Representative	11

Ethics and Impartiality	14

Facilities and Environmental Conditions	15

Equipment	18

Traceability	20

Legal Defensibility of Test Results	22

Purchasing Services and Supplies from External Providers	23

Request, Tenders, and Contracts	24

Customer Service	25

Method Selection and Performance	29

Sample Collection	31

Chain of Custody	34

Sample Receipt and Acceptance	35

Sample Preparation	36

Control of Records	38

Measurement Uncertainty	40

Validity of Test Results	40

Control Charts	44

Proficiency Testing 	46

Reporting Test Results	47

Feedback and Complaints	51

Nonconformances and Deviations	52

Laboratory Information Management System (LIMS)	53

Risk Management	54

Document Control	56

Continuous Improvement	57

Corrective Action and Root Cause Analysis	59

Internal and External Audits	61

Management Review	63

# Quality-Specific Communication Skills

Definition: Skills and concepts used to convey information about a quality management system (QMS). Level 4 Competency: Apply quality-specific communication approaches.

- Level 5 Competency: Structure communication style to fulfill quality objectives.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can incorporate a communication style that achieves quality objectives. - Shared information is organized with care - Uphold customer requirements - Withold confidential data until authorized to release - Correct recipient(s) - Awareness of tone, body language and other non-verbal cues - Neutral language - Electronic transmissions meet quality requirements - Social media pros and cons - Maintain professionalism - Timing - Knowing when to withhold opinions/interpretations - Review information before distributing - Subject to pen records laws, such as Freedom of Information Act (FOIA).

- Level 5 Competency: Apply communication tools to support quality objectives.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can organize multiple sources of information to meet quality requirements. - Compile - Distribute - Retain - Retrieve. - The quality manager can schedule a laboratory quality meeting. - Record attendance - Encourage participation from all - Manage time - Assign continuous improvement activities - Record critical information (objective evidence). - The quality manager can prepare communications in response to changes in laboratory requirements: - Document control: Standard Operating Procedures (SOPs), forms, job aids, and reference documents - Quality checklists - Change in policy or regulation (agency, state, or federal) - Update quality standard with a newer version. - The quality manager can distinguish quality matters in the laboratory by active listening. - Individuals feel they have been understood - Ask questions for clarification - Confirm understanding - Give full attention - Differentiate fact from opinion - Respond appropriately.

# Quality-Specific Management Skills

Definition: Strategies to oversee quality requirements. Level 4 Competency: Discuss oversight activities to accomplish quality management objectives.

- Level 5 Competency: Describe the components of a QMS.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can characterize each component of the laboratory quality system. - Documents and records - SOPs - Job aids - Document control - Quality manual - Quality policy - Organizational structure - Quality culture - Resources - Organizational chart - Personnel - Follow procedures - Hiring requirements - Notification of duties, responsibilities, and authorities - Training classes - Training requirements - Competency verification - Employee code of conduct training - Ethics training - Staff qualifications - Recruitment (education, experience) - Training - Skills - Certification/licensure - Equipment - Maintenance - Calibration - Acquisition - Qualifications plan - Decommissioning - Purchasing - Procurement - Inventory - Evaluation - Information management - Confidentiality - Security - Information integrity - Occurrence management - Nonconformances - Laboratory environmental requirements - Process control - Sample receipt - Chain of custody - Sample handling - Sample collection - Sample testing - Traceability - Verification and validation - Measurement of uncertainty - Quality control (QC) - Reporting - Root cause and corrective action - Participate in root cause discussions - Assessment - External and internal audits - Proficiency testing - Quality indicators - Quality measures - Process improvement - Constant improvement cycle - Change management - Management review - Preventive actions - Opportunities for improvement - Customer service and satisfaction - Customer feedback - Meeting customer expectations - Service standards - Facilities and Safety - Workplace safety - Waste management - Emergency management - Laboratory design.

- Level 5 Competency: Discuss approaches for meeting quality expectations.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can create a quality manual. - Policies/procedures (e.g., document control, analytical testing, occurrence management, sample collection, sample accessioning, chain of custody, reporting) - Initiate - Review - Approve - Update - Define quality elements. - Say what we do, do what we say - Write a quality policy - Define quality control (QC) - Define quality assurance (QA). - Identify roles and responsibilities - Staff roles - Demonstrate commitment of upper management to the QMS. - The quality manager can describe how the laboratory integrates quality into their processes. - Domains of the quality system that apply to laboratory activities - Range of testing activities from sample receipt to sample disposal - Generate objective evidence that is critical to the quality of test results - Continuous operation of the QMS to maintain accreditation. - The quality manager can collaborate in laboratory strategic planning. - The quality manager can prepare to add methods to the scope of accreditation. - The quality manager can act on identified gaps. - Recommend updates to infrastructure - Formulate input on laboratory purchases - Edit written procedures to include improvements - Assign quality improvement tasks to others - Perform quality training.

- Level 5 Competency: Ensure laboratory personnel implement strategies to meet regulations, standards, and programs (RSP) requirements.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can verify that laboratory personnel comply with administrative requirements for testing. - Clinical Laboratory Improvement Amendments (CLIA) licensure, certification maintenance - Select Agent Alternate Responsible Official (ARO) - Security clearance/background check - Certification - Continuing education - Financial disclosures required by state. - The quality manager can verify compliance to laboratory safety requirements: - To the extent auditable to the QMS - To ensure appropriate environmental conditions and facilities for testing activities - To ensure compliance to applicable federal and state requirements - Bloodborne pathogens - Biosafety officer - Chemical safety officer - Occupational Safety and Health Administration (OSHA) requirements - Right to know law - Use of respirators - Hazard communication – globally harmonized system. - Emergency evacuations - Active Shooter. - The quality manager can evaluate safety during sample disposal. - To the extent auditable to the QMS - Personal protective equipment is donned and used where required by the method or other authority - Materials submitted to appropriate area (hazardous waste, autoclave, etc.) - Waste directed to an appropriate area (hazardous waste, autoclave, etc.) - Sample disposal which are hazardous are disposed according to chemical hygiene requirements - Disposal of controlled substances. - The quality manager can verify compliance to laboratory waste management requirements. - To the extent auditable to the QMS - To ensure compliance to applicable federal and state requirements.

# Quality-Specific Leadership Skills

Definition: Strategies to promote a culture of quality in the laboratory. Level 4 Competency: Apply leadership practices in support of a laboratory QMS.

- Level 5 Competency: Discuss how professional organizations are a resource to expand the capabilities of the quality manager.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can choose to participate in extramural quality activities for professional development. - Create or update a quality management resource for laboratories - The quality manager can act on training opportunities provided by professional organizations [e.g., A2LA Tech Forum, American Society for Quality (ASQ)]. - The quality manager can incorporate resources from partners (methods, guidelines, discussion forums, communication platforms, standards, technical information, informal data sharing, grants, etc.) to meet quality objectives. - The quality manager can uncover professional development opportunities available from professional organizations. - Subscribe to Listservs, email distribution lists - Maintain relationships with customers, accrediting body, state and federal partners - Network with quality professionals.

- Level 5 Competency: Convey a quality-minded culture in the workplace.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can make quality a high priority for the laboratory team. - The quality manager can point out the efforts of others to maintain accreditation. - The quality manager can focus on a culture of quality. - Provides safe space to report incidents and near-misses - Advocate customer satisfaction - It’s the process, not the person - Team-building activities - Replace working in isolation with teamwork - Help others to recognize the benefits of quality management - Increase likelihood that critical information is shared with the Quality Manager - Celebrate accomplishments of quality champions - Facilitate staff to recognize their own strengths. - The quality manager can perform the functions of an ombudsman. - Listen when dissatisfaction is expressed - Remain nonjudgmental - Uphold confidentiality - Investigate complaints - Recommend solutions - Speak up when needed. - The quality manager can formulate QMS strategies to ensure continuous accreditation.

- Level 5 Competency: Discuss how laboratory quality relates to public health initiatives.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can relate pertinent quality principles to emergency response while operating under: - Incident Command System (ICS) - Continuity of Operations Plan (COOP) - One Health. - The quality manager can explain how quality management supports positive public health outcomes in a One Health approach. - Generation of actionable data in a timely manner - Support of outbreak investigations - Routine surveillance - Ongoing regulatory risk assessment - Identify pathogen trends. - The quality manager can explain how quality management supports the Integrated Food Safety System. - Collaboration among regulatory partners - Expedite enforcement response to unsafe food commodities and products.

# Act as Quality Representative

Definition: Duties of a laboratory quality management liaison related to accreditation and certification processes. Level 4 Competency: Describe the quality management activities that are generally reserved for the Quality Manager.

- Level 5 Competency: Describe the benefits of achieving conformance to a quality standard.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can illustrate the difference between accreditation and certification. - Accreditation denotes personnel competence to perform testing under a conforming QMS - Training plan - Competency assessment - Demonstration of ongoing competence - Certification demonstrates the ability to perform testing to a specified standard. - The quality manager can defend the importance of laboratory accreditation. - Independent assessment of the QMS - Internationally recognized gold standard for the quality of test results - Legal defensibility of test results - Increased confidence in test results - Facilitate sharing of test results across agencies. - The quality manager can explain the purposes of laboratory certification to others. - Identical processes across agencies - Standardization of methods - Uniformity in enforcement activities to safeguard public health.

- Level 5 Competency: Describe specific roles of a quality representative.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can act as the quality representative for the laboratory. - Liaison with accreditation body - Act as lead auditor - Advances the QMS (i.e., walk the walk) - Take the lead in initial accreditation and subsequent accreditation maintenance - Adopt/revise quality system elements from existing standards [e.g., International Organization for Standardization (ISO), CLIA] - Customize the quality system to satisfy laboratory structure and customer requirements - Conduct troubleshooting discussions - Explain quality matters to non-laboratory persons.

- Level 5 Competency: Act as the subject matter expert on laboratory quality matters.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can express subject matter expertise on laboratory quality. - Explaining the significance of test results - Advise management on QA matters - Exercise critical thinking skills - Knowledge of regulatory standard, accreditation, and certification requirements. - The quality manager can develop quality expertise in other laboratory personnel.

- Level 5 Competency: Describe how a laboratory earns accreditation/certification.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can break down the basic steps to accreditation/certification. - Understand the requirements of accreditation or certification standards - Identify accreditation or certification body - Plan for initial and ongoing costs - Learn the requirements of the standard - Designate a quality manager - Develop a quality manual - Select methods to become accredited or certified - Develop written procedures, policies, and forms - Generate auditable records - Evaluate method performance - Estimate measurement uncertainty - Create a test report - Evaluate customer and personnel feedback - Identify nonconforming work - Perform root cause analysis - Implement corrective action - Perform gap analysis - Manage risks and opportunities - Develop a proficiency testing schedule - Perform relevant proficiency tests - Perform management review - Teach others the requirements - Generate training records - Perform verification or calibration of equipment - Ensure traceability and fitness of consumable testing supplies - Audit laboratory activities for conformance with the standard - Undergo a pre-assessment - Undergo an on-site assessment by the accreditation or certification body - Correct deficiencies cited during assessment - Respond to assessment findings in a timely manner - Demonstrate continuous improvement.

# Ethics and Impartiality

Definition: Policies used to describe expected behaviors in the workplace. Level 4 Competency: Recall ethical challenges faced by laboratories.

- Level 5 Competency: Discuss the purpose of a code of conduct for the regulatory laboratory.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can develop a code of conduct that provides expectations for behavior. - Adherence to laboratory policies and procedures - Disclosure of conflict of interest - Uphold confidentiality requirements - Prevent unauthorized data sharing - Impartiality of test results - Prevent falsification of test results.

- Level 5 Competency: Describe personal values in the laboratory workplace that support credibility of test results.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can express how behaviors affect the quality of laboratory results. - Being trustworthy leads to confidence in results - Abstaining due to conflict of interest eliminates the appearance of bias - Following policy leads to data integrity - Adherence to the QMS upholds legal defensibility of results - Poor behavior leads to low morale, complacency, and mistakes. - The quality manager can recognize fraudulent laboratory activities. - Dry labbing - Falsifying results - Intentionally manipulating equipment to affect results - Using privileged information for personal gain - Misuse of resources or tools - Theft. - The quality manager can rate the importance of public confidence. - Negative news leads to lack of the public confidence for all parts of the organization - Loss of reputation is extremely difficult to overcome - Low tolerance for mistakes can lead to reluctance of personnel to admit to mistakes - Covering up a mistake leads to lack of public confidence - Pros and cons of releasing preliminary results - Improper disclosure of results erodes trust. - The quality manager can convey that unethical behavior jeopardizes lab results.

- Level 5 Competency: Discuss impartiality in the context of laboratory quality management.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can explain the significance of impartiality to laboratory testing. - Recognize potential influences - Laboratory records are discoverable - Regulated firms deserve fair treatment. - The quality manager can identify situations that have the appearance of undue pressure. - Political influence on decision-making - Rule of law should take primacy over personal motives - Insufficient resources can lead to cutting corners - Release of public records in conflict with personal motivations. - Harassment - Bullying. - The quality manager can hypothesize that personal affiliations may present conflict of interest. - Financial stake of self or relative - Involvement in organizations with competing priorities - Nepotism - Holding public office - Gifts, bribes, privileges. - The quality manager can evaluate risks to impartiality on an on-going basis.

# Facilities and Environmental Conditions

Definition: Ensure that the facilities and environmental conditions in the laboratory are suitable for testing activities. Level 4 Competency: Explain the purpose of environmental monitoring.

- Level 5 Competency: Anticipate the impact of environmental conditions on test results.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can consider impact of environmental conditions when advising on: - Workflows - Source of contaminants - Airflow - Clean processes before dirty processes - Specific laboratory activities including: - Developing methods (validation, verification) - Modifying methods - Testing samples - Sample storage - Temperature - Humidity - Access - Sample material sent to referee or third-party laboratories. - The quality manager can evaluate facility conditions for suitability to support quality-critical testing activities: - Sufficiency of lighting to perform testing - Adequacy of power supply - Dedicated circuitry - Backup power for sensitive equipment - Power conditioners, where required - Sufficient water plumbed for instrument feed or other testing requirements - Water pressure - Water temperature - Tap water versus purified - Design of workflow through laboratory area or building - New construction/remodeling.

- Level 5 Competency: Recognize the impact of environmental conditions on test results.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can identify potential risks due to environmental conditions. - Opening doors - Droplets, aerosols formed during sample handling - Personnel - Powders, dust, spores - Consumables (e.g. pipette tips, flasks, stirring rods/bars) - Carryover contamination (amplicons) - Improper cleaning or sterilization - Spills, leaks (packages, ceilings, plumbing, drafts, gas) - Ventilation requirements (air currents, hood monitoring, positive/negative pressure) - Pest control - Fomites/vectors (handrails, doorknobs, street clothes, small handheld equipment) - Personal Protective Equipment (PPE) - Availability/stability of power supply (instrument power needs, availability of backup generator, surge protectors). - The quality manager can recommend solutions to mediate the impact environmental conditions on: - Validity of test results - Data defensibility - Splitting (initial, split request, and retest) - Sample preparation (humidity, ambient temperature, seasonality) - Integrity of materials in long term storage [reference materials, proficiency testing (PT) materials, training samples] - Suitability of cold storage assets to maintain samples long term (refrigerators, freezers) - Suitability of testing equipment to maintain appropriate temperature (incubators, ovens, water baths) - Use of loaner equipment when the primary is sent in for repair, maintenance, or calibration. - The quality manager devise solutions to mediate the impact of poor environmental conditions. - Perform periodic review of environmental conditions - Evaluate routine monitoring activities with contamination investigations. - Provide input to corrective actions where environmental conditions contribute to nonconformance. - Ensuring environmental nonconformances are addressed.

- Level 5 Competency: Develop standard operating procedures for maintenance of facilities and environmental conditions.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can create a procedure to monitor environmental conditions. - Monitoring - Temperature/humidity - Water testing - Microbiological suitability (plate counts, resistivity, conductivity, free of inhibitory substances) - UltraPure water for chemical testing (total organic carbon, solids, heavy metals) - Air plates - Amplicon swabbing - Facility control - Access - Deliveries and people pass by Geiger counter at laboratory entrances - Effective separation of incompatible activities - Record when controls are implemented.

# Equipment

Definition: Appraise the use of laboratory equipment to generate legally defensible test results. Level 4 Competency: Evaluate the testing activities that involve the use of laboratory instruments.

- Level 5 Competency: Describe quality oversight of laboratory equipment.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can appraise the use of basic laboratory equipment by laboratory personnel to meet process requirements. - pH meter - Balance - Centrifuge - Microscopes, dissecting scopes - Vortex mixer, shakers - Comminution equipment - Data logger - Thermometers, thermocouples - Incubators, water baths, heat blocks - Refrigerators and freezers - Ovens - Desiccator - Environmental monitoring system [i.e., temperature monitoring device (TMD), humidity]. - The quality manager can categorize glassware quality requirements. - Daily qualification - Calibration - Preventive maintenance - Volumetric labware classification (i.e., class A, class B).

- Level 5 Competency: Implement quality requirements for the use of laboratory equipment.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can differentiate between the need for equipment calibration versus verification. - The quality manager can evaluate the analyst’s role in instrument maintenance. - The quality manager can confirm that laboratory instruments are protected from unintended adjustments. - The quality manager can create a procedure for managing correction factors. - Determine correction factor - Apply a correction factor. - The quality manager can evaluate the application of equipment accuracy limits to their day of use. - Balances - Pipettors - Thermometers - Weights (working and/or reference). - The quality manager can verify that personnel evaluate equipment validity before use on customer samples: - Following calibration - After mishandling or repair - When borrowing equipment from another laboratory or vendor - After transport.

- Level 5 Competency: Advise staff on quality requirements for instrument maintenance.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can verify that the following equipment requirements are met: - Validate new instruments [e.g., installation, operational, and/or performance qualification (also: IQ, OQ, PQ)] - Records of - Verification - Calibration - Adjustment or modification - Damage, malfunction, repair - Location, unique identifier - Make, model, software version - Calibration frequency - Including accuracy checks - laboratories - Verification frequency. - The quality manager can verify that equipment housekeeping is performed according to established procedures. - Decontamination after use - Discharge of waste vessels - Cleaning - Washing glassware - Sterilization prior to reuse - Restocking of consumables - Storage. - The quality manager can apply oversight to the equipment lockout/tagout process. - Teach others to apply lockout/tagout to laboratory equipment. - Judge the resolution of out-of-service status. - Resolve equipment lockout/tagout by restoring it to service.

# Traceability

Definition: Relating a laboratory result to an unbroken chain of all stated testing inputs from sample receipt to disposition. Level 4 Competency: Explain how traceability supports the robustness of the laboratory QMS.

- Level 5 Competency: Evaluate traceability of the sample through its life cycle.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can describe the importance of tracing a test result to a decision unit. - Test result - Test portion - Analytical sample - Laboratory sample - Primary sample - Decision unit. - The quality manager can describe interdependent activities that establish traceability: - Verify that each step of the chain is performed in accordance with appropriate methods and that test results are traceable to their associated measurement uncertainties. - Sample collection - Laboratory testing - Regulatory compliance - Management - Verify that laboratory records provide traceability. - The quality manager can differentiate among chain of custody, document traceability, metrological traceability, and traceback. - Identify gaps in traceability. - The quality manager can recommend practices to ensure traceability. - Verify an unbroken chain of calibrations going back to stated and appropriate references. - The quality manager can explain the importance of traceability to others. - Verify technical competence of personnel performing one or more steps of the sample life cycle

- Level 5 Competency: Verify metrological traceability of a laboratory result to its related reference measurement standards.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can describe the importance of metrological traceability. - Unbroken chain of calibrations - Contribution to measurement uncertainty - Link them to an appropriate reference. - The quality manager can confirm that test results are traceable to the International System of Units (SI units). - Calibration from a competent provider - Reference material values are from a competent provider and traceable to SI units - Traceability of SI units to an appropriate standard - National Institute of Standards and Technology - International Bureau of Weights and Measures. - The quality manager can confirm metrological traceability when test results are not directly traceable to SI units. - The quality manager can confirm that time measurement devices are traceable to Coordinated Universal Time (UTC). - The quality manager can develop a procedure to establish metrological traceability of measurement units to SI units.

# Legal Defensibility of Test Results

Definition: Use of laboratory results to weigh on enforcement actions. Level 4 Competency: Describe the value of a correctly prepared final test report.

- Level 5 Competency: Discuss the importance of accurate laboratory results.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can compare sample custody procedures to requirements. - The quality manager can create procedures to ensure the production of defensible data. - The quality manager can train personnel in the importance of producing defensible data. - The quality manager can train personnel in the importance of recordkeeping. - Proper documentation of data and activities in laboratory records - Importance of record control.

- Level 5 Competency: Explain the Quality Manager’s role in maintaining analytical integrity.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can describe how professional conduct impacts credibility. - Advise or create ethics training for laboratory personnel that emphasizes these factors. - Document training activities - Determine retaining frequency. - The quality manager can build legal defensibility by creating a culture of compliance in the laboratory. - The quality manager can train staff in the importance of analytical integrity. - The quality manager can resolve nonconformances to ensure a robust QMS. - The quality manager can conduct intermediate checks to ensure compliance. - The quality manager can arrange access to laboratory data and information. - The quality manager can confirm data defensibility. - Create document/records control system - Ensure backup of electronic data - Assist in retrieval of records when requested. - The quality manager can create systems to adhere to security regulations. - Retention, destruction, and storage of evidence and records - Federal guidelines - State guidelines - Local guidelines - Organizational guidelines - Secure transmission of electronic data and audits - Theft - Corruption - Unauthorized access.

# Purchasing Services and Supplies from External Providers

Definition: Purchasing guidelines to ensure that products and services meet the quality requirements of testing activities. Level 4 Competency: Choose testing supplies, equipment, and services that fulfill QMS requirements.

- Level 5 Competency: Create procedure to ensure that laboratory purchases meet QMS requirements.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can create procedures for purchasing externally provided products and services. - Review requirements - Criteria for evaluation, selection, monitoring of performance and re-evaluation of external providers - Include agency, state, or federal requirements to the extent necessary - Approve requirements - Ensure that products and services conform to laboratory requirements before used on customer samples - Take action that may arise from the evaluation or monitoring of external providers. - The quality manager can verify that personnel communicate QMS requirements to external providers for: - Products and services to be provided - Acceptance criteria - Competence, including any required qualification of personnel - Activities that the laboratory, or its customer, intends to perform at the external provider's premises. - The quality manager can compile feedback on the performance of external providers (vendors). - Monitor vendor performance for fulfilment of quality-critical specifications - Ensure that competence requirements are communicated to vendors prior to receiving goods or services - Maintain a list of approved vendors, as required.

- Level 5 Competency: Evaluate testing supplies.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can evaluate testing supplies for characteristics that meet testing requirements. - Criteria (purity, grade, sterility, compatibility, etc.) - Train others on the significance of selecting correct supplies and reagents for testing. - The quality manager can verify reagent expiration dates. - The quality manager can interpret certificates of analysis, or similar.

- Level 5 Competency: Convey the cost of quality.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can structure a budget proposal to address quality needs. - The quality manager can identify purchasing needs to support the routine quality operations. - Office supplies - Bound laboratory notebooks - Document control - Temperature monitoring system - Reference weights - Reference thermometers - Digital data loggers. - The quality manager can perform a cost-benefit analysis for new expenditures that support quality. - Risk versus opportunity. - The quality manager can advocate for purchases that improve laboratory quality. - Quality training - Electronic notebook - Artel pipette calibration system. - The quality manager can evaluate existing resources for opportunities for improvement. - Assess facility, equipment, contracts, etc. - Replace or add equipment - Preventive maintenance - Service contracts - When to adjust quality management staffing - Translate the opportunity into financial, personnel, and technical requirements. - The quality manager can support training opportunities for other quality personnel. - Capabilities/training (Tech Forum, ASQ courses) - Proficiency.

# Request, Tenders, and Contracts

Definition: Review of required resources and contracts to perform laboratory work. Level 4 Competency: Identify resources needed to fulfill customer requirements for testing.

- Level 5 Competency: Assess requests, tenders, and contracts.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can create a laboratory procedure for the review of contracts which includes the following: - Requests, tenders, contracts, sampling agreements, memoranda of understanding and similar - Requirements are appropriately defined and documented - Laboratory has the capability and resources needed to fulfill test requests - Procedure to resolve contract differences before laboratory activities commence - Procedure to ensure requirements are met when an external provider performs testing activities on customer samples - Referee or third-party laboratory - Preparation, packaging, and dispatch of sample splits - Provide customers with reasonable access to laboratory areas where testing activities occur - Procedure to inform the customer of any deviations - Justify, authorize and get customer approval before proceeding - Procedure to manage contract if it is amended after work has commenced - Repeat contract review - Communicate any amendments to all those affected. - The quality manager can assess that a customer’s decision rule (also called: statement of conformity, specification, or standard) is clearly defined. - Decision rule is communicated to customer - Ensures retention of records that show customer agreement with the decision rule. - The quality manager verifies that records of reviews, including any significant changes, are retained. - Records of pertinent discussions with a customer relating to the customer's requirements - Records of results of laboratory activities.

# Customer Service

Definition: The authorities and processes that describe how laboratories operate to support agency and other customer needs. Level 4 Competency: Discuss laboratory policy and procedures to meet customer needs.

- Level 5 Competency: Explain important aspects of regulatory test methods.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can discuss the importance of adhering to customer requirements. - Agency - Specific regulatory program - Cooperative agreements - Subcontracted testing. - The quality manager can apply critical thinking skills to provide feedback on laboratory procedures. - Identify weaknesses in procedures - Ask for clarification of policies and procedures. - The quality manager can illustrate that laboratory accreditation supports acceptance of test data across jurisdictions. - Data acceptance prior to ISO 17025 accreditation versus after accreditation - Increased trust and confidence - Third-party assurance of conformance with gold standard - Mutual reliance.

- Level 5 Competency: Explain how elements of sample testing support a robust QMS.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can express the impacts of regulatory test results. - Importance of QC - Final test report - Most critical output of a regulatory laboratory - Impartiality (regulated firms deserve unbiased treatment) - Timeliness in reporting results - Perishable food products spend little time in commerce - Animal feed batch/lot consumed before enforcement action can be imposed. - The quality manager can explain the development of evidence. - Chain of custody - Samples are evidence - Records are evidence - Following written procedures provides legal defensibility. - The quality manager can verify required authorizations of personnel to perform certain activities (e.g., audits, testing, purchasing, instrument maintenance, report test results).

- Level 5 Competency: Demonstrate knowledge of quality requirements appropriate for the customer.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can incorporate applicable regulation, standard, and program (RSPs) resources into the QMS. - State, local, tribal, or territorial (SLTT) agency - Accreditation and certification bodies - Accrediting bodies (e.g., ANAB, A2LA, PJLA, NELAP) - ISO/IEC 17025 - AOAC Laboratory Accreditation Guidelines (ALACC) - Dairy - Pasteurized Milk Ordinance (PMO) - National Conference on Interstate Milk Shipments (NCIMS) 2400 forms - National Shellfish Sanitation Program (NSSP) - US Department of Agriculture (USDA) - Pesticide Data Program (PDP) - Laboratory Quality Assurance, Response and Coordination (LQARCS) - US Environmental Protection Agency (EPA) - Federal Insecticide, Fungicide, and Rodenticide Act (FIFRA) - Quality Assurance Project Plan (QAPP) and Quality Management Plan (QMP) - Certification to conduct drinking water analyses - The NELAC Institute (TNI) - Centers for Disease Control (CDC) Federal Select Agent Program (FSAP) - American Association of Veterinary Laboratory Diagnosticians (AAVLD) - CLIA - Cooperative agreements - Laboratory Flexible Funding Model (LFFM) - Manufactured Foods Regulatory Program Standards (MFRPS) - Animal Food Regulatory Program Standards (AFRPS) - Food Emergency Response Network (FERN) - US Food and Drug Administration (FDA) Laboratory Accreditation for the Analysis of Foods Program (LAAF) - Standard and reference testing methods - Code of Federal Regulations (CFR) - External systems (networks, non-governmental organizations, etc.) - American Association of Feed Control Officials (AAFCO) Quality Assurance and Quality Control Guidelines for Feed Laboratories - Integrated Consortium of Laboratory Networks (ICLN) Rad Lab Hub - Council to Improve Foodborne Outbreak Response (CIFOR) - National Forage Testing Association (NFTA). - The quality manager can facilitate the use of appropriate customer quality requirements. - The quality manager can interpret customer quality requirements. - The quality manager can verify that customer quality requirements are met. - The quality manager can ascertain when customer requirements cannot be met. - Method is not fit for purpose - Method is not validated. - The quality manager can identify the mechanisms of laboratory communication with customers. - Chain of command - Identifying and documenting corrective action needs for customers - Providing feedback on sample issues - Education/technical assistance of inspection personnel - Personnel authorized to release test results - Personnel authorized to receive test results.

4. Level 5 Competency: Conduct communication with partners during incident response.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can identify the major types of food safety incidents - Chemical - Biological (including zoonotic diseases) - Radiological - Nuclear - Explosive materials. - The quality manager can support table-top exercises (hypothetical incidents) by participating. - The quality manager can prepare laboratory responses to a food safety incident. - Special considerations for evidentiary integrity - Enhanced traceability - Sample shipment - Chain of custody - Preserving sample integrity - Performance of controls - Selection of test method - Emergency Use Authorization (EUA) Laboratory Developed Test (LDT) - Surge capacity - Turnaround time - Preparation and review of a non-routine data packet - Training and competency of staff - Sample disposal. - The quality manager can articulate examples of when additional engagement might be relevant: - Test results that indicate a violative result - Laboratories within your network - State Regulatory program staff - Epidemiologist - Federal Regulatory program staff - Significant findings from an imported product or commodity - Product that crosses state lines - FDA Emergency Response Coordinator - Rapid Response Team (RRT) Coordinator - FDA Coordinated Outbreak Response and Evaluation (CORE) - High-profile event - Coordination for specialized testing (e.g., botulism, scombroid, paralytic shellfish poisoning) - Assistance with laboratory testing capacity - USDA Food Safety Inspection Service (FSIS) - Adulteration of FSIS-regulated product - Other partners, based on the incident - FERN - Laboratory Response Network (LRN) - ICLN - FSAP.

5. Level 5 Competency: Evaluate testing considerations for complex matrices encountered during incident response.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can develop laboratory sampling schemes. - The quality manager can identify appropriate technology. - The quality manager can adapt a procedure for a novel matrix. - Selection of test portion - Providing a split sample to another laboratory - Sample preparation activities - Extraction, digesting, leeching - Stomaching, blending, rinsing, grinding - Method selection - Account for all approved deviations - Expedited reporting. - The quality manager can recognize when a method deviation is warranted. - The quality manager can contribute to a validation/verification proposal for emergency use.

# Method Selection and Performance

Definition: Evaluate method performance prior to use in regulatory testing. Level 4 Competency: Explain the general processes for method performance.

- Level 5 Competency: Describe the difference between method validation and method verification/implementation.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can differentiate: - Method validation - Method verification - Method modification/extension - Additional matrices - Additional analytes. - The quality manager can differentiate between single-lab and multi-lab validation. - The quality manager can distinguish screening techniques from confirmation techniques. - The quality manager can distinguish qualitative from quantitative techniques. - The quality manager can teach others how to evaluate method performance. - The quality manager can determine if items are fit for purpose. - The quality manager can devise improvements to existing methods.

- Level 5 Competency: Evaluate methods based on customer requirements prior to use.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can evaluate method data packets based on a combination of performance criteria: - Sensitivity - Specificity - Selectivity - Repeatability (precision) - Robustness - Bias (accuracy) - Ruggedness - Recovery - Dose response (calibration, residuals) - Applicability (analyte, matrix) - Interferences - Limit of Quantitation (LOQ) - Limit of Detection (LOD) - Measurement uncertainty - Supportive of regulatory action limits/customer specifications - The quality manager can verify that methods meet customer requirements. - The quality manager can teach the concept of fit for purpose to others.

- Level 5 Competency: Evaluate method selection criteria.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can list method selection criteria to assure fit for purpose. - Matrix - Analyte - Level of concern - Repeatability - Platform - Cost/expenses - Available expertise - Safety concerns - Customer requirements - Regulatory action limits. - The quality manager can create a method validation procedure. - The quality manager can identify external sources of approved methods that are fit for purpose. - The quality manager can determine if a method meets sample quality criteria. - Removal of extraneous material, analyte integrity, GOOD Test Portions, statistical performance, action limits. - The quality manager can evaluate an alternative method that may be fit for purpose. - The quality manager can consider adoption of the most current version of a method. - The quality manager can determine if a method meets required performance criteria. - The quality manager can approve plans to evaluate method performance.

- Level 5 Competency: Evaluate method limitations.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can recognize that method usage is limited by the scope of validation. - The quality manager can describe the impact of method performance limitations. - The quality manager can explain when a method is limited to a particular platform/instrument. - The quality manager can describe the limitations of a method relative to regulatory action limits. - The quality manager can recognize the possible consequences of detection limit when there are no regulatory action limits.

# Sample Collection

Definition: Principles of sample collection. Level 4 Competency: Summarize the concepts of sampling theory.

- Level 5 Competency: Incorporate best practices for sample collection to minimize sources of error.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can convey knowledge from GOODSamples. - The quality manager can convey knowledge from GOOD Test Portions. - The quality manager can explain to others the meaning of: - Decision units - Sample integrity - Analyte integrity - Inference - Theory of Sampling (TOS). - The quality manager can appraise evidentiary integrity concepts. - Traceback (including chain of custody) - Sample representivity - Analyte integrity. - The quality manager can define the following terms: - Sample as defined by TOS - Primary sample - Laboratory sample - Analytical sample - Test portion - Replicate sample - Split sample - Composite sample - The quality manager can persuade others to properly use sampling terms. - The quality manager can define: - Global Estimation Error (GEE) - Total Sampling Error (TSE) - Total Analytical Error. (TAE) - The quality manager can examine ways to control errors associated with sampling. - The quality manager can recognize errors that might contribute to the loss of analyte integrity. - The quality manager can discuss sources of errors. - Non-selection errors (all systematic errors) - Extraneous Material Error (EME) - Mass Recovery Error (MRE) - Contamination Introduction Error (CIE) - Analyte Integrity Error (AIE) - Selection errors - Random errors - Systematic errors.

- Level 5 Competency: Correlate objectives shared between the customer and the laboratory for sample collection.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can outline the requirements of sample collection plan. - Contact information for key personnel - Sampling plan - Laboratory testing capabilities - Description of types of samples to be collected - Sample size - Sample collection under proper conditions - Number of samples - Sample labeling requirements - Guidelines of time-sensitive samples - Routine sample needs - Non-routine sample needs - Sample acceptance/ rejection criteria - Application of decision rules - Special requests that fall outside ISO 17025 - Laboratory personnel authorized to perform customer communication - Regulatory personnel authorized to receive confidential information (e.g., test results) - Sample retention. - The quality manager can characterize sample collection materials. - Sample containers - Supply inventory - Sampling tools. - The quality manager can evaluate adherence to sample retention requirements. - Outline which samples are discarded and when - Understand the sample retention schedule - Confirm completion of the process.

# Chain of Custody

Definition: The role of chain of custody in maintaining sample integrity. Level 4 Competency: Discuss the role of chain of custody in maintaining sample integrity.

- Level 5 Competency: Describe how to maintain a chain of custody to support regulatory enforcement actions.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can convey the importance of chain of custody within a regulatory environment. - Legal defensibility - Unique sample identification - Chronology of all sample movements from collection to disposition - Location(s) - In whose possession - Samples and results traceable to decision unit - Protect sample from unauthorized alteration - Sample not destroyed/discarded prior to end of retention period - Protect sample from detrimental chemical, physical, or biological activity. - The quality manager can understand how restricted access helps maintain security. - Limiting visitor access within the facility - Limiting employee access to samples - Lockable storage - Secured storage - Authorization for access to samples.

- Level 5 Competency: Verify processes that protect evidentiary integrity.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can develop procedures that ensure sample security. - Identify all laboratory visitors - Report unusual activity - Authorize all laboratory tours. - The quality manager can schematize the sample disposition process. - Was sample fully consumed by analysis, discarded, destroyed? - Is the sample to be returned to the manufacturer or consumer? - Final disposition is recorded on chain of custody.

# Sample Receipt and Acceptance

Definition: Receipt of regulatory samples by the laboratory. Level 4 Competency: Explain sample receiving processes.

- Level 5 Competency: Explain sample receiving procedures.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can appraise sample custodian roles and responsibilities. - Chain of custody - Sample submission forms - Sample temperature upon arrival/use of Temperature Control (TC) - Photo documentation - Accept and reject criteria - Timing sensitivity requirements - Preservation requirements - Compromised packaging - Sterility controls - Prevention of cross contamination - Amount of sample sufficient for requested analyses - Sample custody seal damage/absence - Assignment of unique laboratory sample identifiers - Routing to next step - Control of sample storage conditions. - The quality manager can evaluate sample shipping requirements. - Shipping materials and supplies - Couriers - Shipping and transport regulations. - The quality manager can explain the need for recollection following sample rejection.

# Sample Preparation

Definition: Properties of laboratory samples that can impact test results. Level 4 Competency: Describe the physical characteristics of laboratory samples that can introduce error into testing activities.

- Level 5 Competency: Explain contributions to laboratory error.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can explain three types of laboratory errors: - Systematic error - Random error - Gross error (blunders, or laboratory accidents) - Spills - Not following instructions - Incorrect amount tested - Transposing data. - The quality manager can estimate systematic errors that contribute to TSE: - Selection processes - Non-selection processes - The quality manager can compile the causes of non-selection errors: - Negligence - Inattention to detail - Lack of understanding of error. - The quality manager can estimate random error associated with selection processes: - Fundamental sampling error (FSE) - Grouping and segregation error (GSE). - The quality manager can examine modifications that reduce random error. - Increase mass - Reduce particle size - Increase the number of increments. - The quality manager can examine ways to mitigate error. - Replicates to monitor random error - Blanks to monitor contamination - Measure splits multiple times for analyte integrity - Inspect equipment for mass recovery - Visual check to verify separation of extraneous material - Compare performance of multiple analysts. - The quality manager can explain the value of accessing all parts of sample material when preparing it for testing. - The quality manager can appraise sample handling by personnel at pre-analytical stages. - Splitting of samples - Comminution, mixing, etc. - Labeling of sample containers - Sufficient test portion mass or volume - Special care or precautions that apply to for-cause samples - Justification for taking a repeat test portion. - The quality manager can examine ways to mitigate sample heterogeneity. - The quality manager can explain the impact of comminution on particle size. - Mixing technique - Particle size, shape, distribution, and density - Equipment cleaning procedures to eliminate carryover/contamination. - The quality manager can construct guidance to validate test portion selection.

- Level 5 Competency: Describe conditions critical for the integrity of a target analyte.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can predict the impact of storage conditions on analyte integrity. - Environmental control (temperature, humidity, light, aerobic/anaerobic, etc.) - Container compatibility - Sample packaging - Sample degradation over time. - The quality manager can design practices to protect analyte integrity. - Oxidation/reduction - Absorption - Volatilization - Microbial growth.

- Level 5 Competency: Evaluate sources of contamination while handling laboratory samples.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can evaluate procedures used to prevent cross-contamination of the analyte. - Aseptic techniques - Storage - Environmental - Containers. - The quality manager can discuss sources of contamination. - Contamination from a positive control - Sample cross-contamination - Blanks (reagent, container, environmental, matrix, etc.).

# Control of Records

Definition: Handling of records to support laboratory data and management decisions. Level 4 Competency: Explain the importance of recordkeeping to the quality of laboratory test results.

- Level 5 Competency: Articulate the records required for legally defensible data.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can verify that the laboratory implements required record controls. - Identification (unique identifiers, file naming conventions) - Error correction - Storage - Protection - Back-up - In-use versus archived - Availability to personnel - Retrievable - Retention time - Disposal. - The quality manager can verify that access to records is consistent with confidentiality commitments. - The quality manager can discuss the requirements for handwritten and electronic records. - Attributable - Legible - Contemporaneous - Original - Accurate. - The quality manager can verify that personnel avoid non-permanent recordkeeping practices. - No sticky notes - No correction fluid or tape - Data on looseleaf paper become part of permanent record - Management of scanned copies and their originals - Electronic records not stored in recycle bin. - The quality manager can implement recordkeeping practices that withstand laboratory conditions. - Permanent, waterproof ink - No pencil - Exposure to temperature extremes, humidity, ultraviolet (UV) light, chemical and biological materials - Preservation of photographs, records printed on thermal paper and other delicate items. - The quality manager can teach others to perform error corrections. - Draw a line through the original handwritten entry so that it remains legible - Make the correct data entry nearby - Identity of the person who made the correction - Record the date that the error correction is made - Provide a comment when it is not obvious why the correction was needed.

- Level 5 Competency: Describe the types of records maintained in a QMS.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can describe the types of records to be maintained throughout the QMS. - Sample records ranging from collection to disposal - Chain of custody records - Equipment records - Training records - Current and archived SOPs, forms, job aids, etc. - Reference manuals - Purchases - Certificates of analysis - Proficiency testing records - Environmental monitoring records - Customer communication records - Audit records - Management review - Corrective actions - Risk management records - Records of testing activities - Lot numbers of supplies used - Identification of equipment used - Method performance records - Records of requests, tenders, and contracts - QC records - Calibration records - Record disposal records - Records of raw data converted to results - Review records.

# Measurement Uncertainty

Definition: Process to estimate the measurement uncertainty of a test method. Level 4 Competency: Assemble information to estimate measurement uncertainty of a test method.

- Level 5 Competency: Calculate measurement uncertainty.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can develop a procedure to determine measurement uncertainty based on available guidance. - The quality manager can identify significant contributions (i.e., uncertainty budget) to measurement uncertainty. - The quality manager can evaluate calculations used to estimate measurement uncertainty. - The quality manager can communicate the value of measurement uncertainty to others. - The quality manager can verify that measurement uncertainty for each step in the traceability chain is evaluated according to customer specified methods.

# Validity of Test Results

Definition: Quality activities that assure the validity of test results. Level 4 Competency: Explain QC requirements to achieve accurate test results in a consistent manner.

- Level 5 Competency: Discuss the foundations of quality in laboratory testing.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can explain the differences among: - QMS - QA - QC. - The quality manager can determine the origin of a quality requirement. - The quality manager can evaluate: - Application of a decision rule to test results - Statement of conformity. - QC criteria for acceptance of test results, including retested samples and proficiency testing samples. - The quality manager can judge whether the correct method was used to test the requested analyte. - The quality manager can intervene to prevent the reporting of incorrect test results.

- Level 5 Competency: Summarize laboratory QC checks of testing resources.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can verify that QC requirements for laboratory supplies are met. - The quality manager can teach others the purposes of instrument calibration: - Accurately quantify analytes(s) of interest - Determine when sample dilution is needed - Determine if the instrument performance is stable - Define range of measurement for a test batch. - Instrument is giving expected responses - Identify issues with equipment components. - The quality manager can verify that testing materials are prepared according to established procedures. - The quality manager can evaluate adherence to pre-approved corrective actions for test methods. - The quality manager can evaluate the use of alternative equipment that has been calibrated to provide traceable results.

- Level 5 Competency: Explain the basic principles of determining chemical analytes.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can recognize that large dilutions can be a significant source of error. - The quality manager can discuss when manual integration of chromatographic peaks may be necessary. - Co-elution - Tailing - Interference. - The quality manager can differentiate liquid chromatography (LC) from gas chromatography (GC) in general terms. - The quality manager can discuss the misapplication of manual integration: - Quantitation errors - Ethical implications. - The quality manager can discuss when the use of a single point standard is appropriate. - The quality manager can discuss the impact on analyte identification from: - Ion ratios - Background noise - Signal to noise ratio. - The quality manager can explain how to evaluate the linearity of a calibration curve. - Coefficient of determination (R2) - Curve may lose linearity over a broad concentration range - Uncertainty of quantitation for a result below LOD.

- Level 5 Competency: Explain the basic principles of determining microbiological analytes.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can describe food characteristics that affect bacterial growth. - Water activity - pH - Processing procedures (canning, heat treating, fermentation). - The quality manager can describe methods used for pathogen detection in foods. - Selective media - Biochemical tests - Enzyme-linked immunosorbent assay (ELISA) - Microscopy - Molecular. - The quality manager can recognize when a: - Screening test may result in a false positive result - Screening test may not yield a viable culture for further testing (molecular subtyping, whole genome sequencing) - Confirmatory test is required to confirm viability following a presumptive positive screening result. - The quality manager can explain the limitations of screening and confirmatory methods. - The quality manager can explain the advantages of culture-independent testing. - Speed - Specificity - Less labor-intensive - Detect several pathogens in one sample. - The quality manager can explain the advantages of whole genome sequencing. - Identification of virulence factors - Antimicrobial susceptibility testing - Serotyping - Identify genetic variances - High discriminatory power (surveillance and outbreak investigations).

- Level 5 Competency: Explain the basic principles of determining radiochemical analytes.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can evaluate the selection of tools to identify unknowns. - The quality manager can describe sources of interference. - Background - Spectral - Crosstalk (spillover) - Chemical separation techniques for matrix and interference removal. - The quality manager can evaluate instrument output. - Sample counting (count per minute to unit of activity or mass) - Spectral analysis - Conversion of raw output to analyte concentration - Application of correction factors - Yield, efficiency, decay - Instrument, attenuation, summing, mass bias - Gravimetric, moisture - Evaluate measurement stability - Variance - Goodness of fit.

- Level 5 Competency: Use QC measurements to evaluate the acceptability of test results.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can verify that required correction factors have been applied to a test result. - The quality manager can verify that required conversion factors have been applied to a test result. - The quality manager can develop QC requirements for a method with no previously established QC. - The quality manager can interpret unexpected testing outcomes (e.g., detection of non-target analytes). - The quality manager can summarize matrix limitation. - Physical properties of the sample - Competing microorganisms - Chemical interferences - Ability of existing tools to accommodate a special matrix.

7. Level 5 Competency: Incorporate QA processes.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can assess the impact of a QC deviation on the validity of results. - The quality manager can evaluate test batch QC. - Controls derived from reference materials - Positive control - Negative control - Replicates - Blanks - Spikes - Initial control samples (e.g., ICV, ICB) - Continuing control samples (e.g., CCV, CCB). - Percent recovery. - The quality manager can evaluate quality system indicators: - Accuracy of test reports - Customer feedback - Turnaround time - QC failures - Equipment downtime - Frequency of nonconforming work. - The quality manager can recommend quality management software purchases to management.

8. Level 5 Competency: Perform quality management of reference materials.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can interpret ISO Guide 33 to select reference materials. - The quality manager can differentiate various types of reference materials. - Certified reference materials - Standard reference materials - Quality reference materials - Reference standards - Reference cultures. - The quality manager can verify traceability of reference materials. - Certificates of analysis, sterility, compliance - Applicable accreditation requirements - Degree of variability contributed to measurement uncertainty - Expected stability/expiration date - Traceable to recognized standard [(e.g., National Institute of Standards and Technology (NIST)] - Link their use to samples tested. - The quality manager can determine if a reference material provider meets ISO 17034, where required. - The quality manager can interpret ISO Guide 80 for guidance on QC materials that are created in-house. - The quality manager can create a procedure for monitoring the validity of results from reference materials.

# Control Charts

Definition: Statistical analyses to evaluate laboratory data. Level 4 Competency: Apply statistical tools to laboratory data.

- Level 5 Competency: Calculate statistical measures to evaluate the validity of test results.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can evaluate the use of pre-programmed formulas by analysts to QC results. - Regression analysis - Standard deviation - Binary data (e.g., positive or negative, pass/fail). - The quality manager can teach others to make statistical determinations from laboratory data. - Standard deviation - Relative standard deviation - T score - Z score - F statistic - Relative percent difference - Coefficient of variation - Correlation coefficient (R) - R2 - Chi-square - Confidence interval - Confidence level. - The quality manager can analyze test results with statistics. - Assess a calibration curve - Perform T-test - Perform Z-test - Assess control chart - Use a T table to assess the significance of a result - Perform a regression analysis on a data set - Apply degrees of freedom - Analysis of variation - Non-parametric statistics. - The quality manager can teach an analyst how to create a control chart. - Update a starter/working control chart after 30 observations - Control chart reflects the maturation of method performance over time. - The quality manager can detect errors in the creation of control charts. - The quality manager can explain the reasons for starting a new control chart.

- Level 5 Competency: Evaluate quality tools.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can apply appropriate tools to evaluate a control chart to facilitate data review. - Detect when a process in: - In control - Not in control (warning limit) - Out of control (action limit) - Use Westgard rules to detect trends in control charts. - The quality manager can evaluate outliers. - The quality manager can determine whether something has happened before (i.e., recurrence). - The quality manager can visualize data: - Artificial Intelligence (AI) - Graphical visualization tools (e.g., Power BI) - Information systems (e.g., LIMS) - Control charting software (e.g., Northwest analytical). - The quality manager can review quality indicators for trends. - The quality manager can make recommendations based on trends. - The quality manager can evaluate QC data to inform on method performance issues.

# Proficiency Testing

Definition: Establishing and maintaining technical competency to perform laboratory analyses. Level 4 Competency: Describe the value of proficiency testing to the QMS.

- Level 5 Competency: Explain the importance of proficiency testing to the QMS.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can explain how participation in proficiency testing (PT) supports the legal defensibility of test results. - The quality manager can explain how past PT samples can be used as reference materials. - Prepare routine control samples - Evaluate method performance - Evaluate a laboratory instrument - After purchase - After calibration, maintenance, or repair - Intermediate checks - Prepare blinded samples for analyst training - Troubleshoot testing issues - Requalification of testing materials, where allowed - Evaluate in-house sample preparation. - The quality manager can report a PT failure to an accrediting body within expected timeframe - The quality manager can discuss the impact of consecutive PT failures on accreditation. - Initiate investigation, identify and implement corrective action. - Stop work, if needed.

- Level 5 Competency: Evaluate feedback from proficiency testing results.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can evaluate PT data: - Trend analysis - Interlaboratory comparison - Variability among method, analytes, and laboratories - The quality manager can interpret PT reports from different providers [e.g., AAFCO, American Oil Chemists’ Society (AOCS), FAPAS, FDA Moffett Center.

- Level 5 Competency: Describe oversight of participation in proficiency testing.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can create a written procedure for PT participation. - The quality manager can devise a PT schedule to ensure compliance with QMS standard/accreditation body. - The quality manager can recommend participation in proficiency testing schemes according to changes in testing capabilities.

# Reporting Test Results

Definition: Generate a test report from laboratory data. Level 4 Competency: Describe the creation of a final test report.

- Level 5 Competency: Explain approaches to converting raw data to final test results.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can consider that raw data are not ready to be reported. - The quality manager can apply mathematical concepts to analyze, interpret, and review data.

- Level 5 Competency: Evaluate the use of references to determine test results.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can evaluate test results derived from published resources. - Most probable number table - Reference library - Spectral data - Sequence - API database. - The quality manager can apply available resources to evaluate data from esoteric test methods. - Radiochemistry (ICLN Rad Lab Hub, EPA National Analytical Radiation Environmental Laboratory) - Radioactivity, mass, quantity (pCi/g, Bq/g, mg/g or longhand) - Counts per minute conversions to units of activity or mass - Bateman equation - Yield correction, efficiency correction, decay correction, calculation of specific activity - Dairy testing (Standard Methods for the Examination of Dairy Products, National Conference on Interstate Milk Shippers 2400 Forms) - Added water in degrees Hortvet (°H) - Residual Bacterial Count (RBC) and Residual Coliform Count (RCC) in pasteurized containers - Shellfish (National Shellfish Sanitation Program Guide) - Male Specific Coliphage (MSC) per 100 grams of shellfish tissue.

- Level 5 Competency: Express test results using accepted scientific nomenclature.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can evaluate unit conversions: - Across metric prefixes (kilo-, hecto-, deca-, deci-, centi-, milli-, micro-, micro-, nano-, pico-). - For use of correct symbols. - The quality manager can mandate the use of scientific nomenclature. - Elevation of the laboratory profession - Scientific notation - SI units - S, kg, mol, cd, K, A, m - Symbols - Mathematical operators - ≤ rather than <_ - Degree symbol (°) rather than ordinal indicator (º) or superscripted letter o (o) - ± rather than +/- - Greek letters - μg rather than ug - α or alpha - Temperature (K, °C, or °F) - Units of measure - Concentration (e.g., ppm, ppb) - Mass (e.g., mg, μg) - Volume (e.g., L, dl) - Unit abbreviations imply plural form - “s” indicates seconds - Milliliters (i.e., more than one milliliter) expressed as ml rather than mls. - Naming conventions of biological specimens - Conversion of long hand (genus, species, subspecies, serovar) to shorthand - Long hand: Salmonella enterica subsp. enterica ser. Montevideo - Shorthand: S. Montevideo - Serotype - E. coli O157 rather than 0157. - Other - International units (IU) - Colony forming units (CFU or cfu) - Avogadro’s number.

- Level 5 Competency: Interpret action levels for certain analytes.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can discuss the uncertainties of the data with the customer/stakeholder. - The quality manager can verify the application of a decision rule based on a statement of conformity. - Statement of conformity to a specification or standard for the test or calibration - Pass/fail, in-tolerance/out-of-tolerance, violation or no violation - The quality manager can explain what constitutes a violation based on action limits. - Label guarantees - Regulatory action limits - Toxic dose.

- Level 5 Competency: Describe the elements of a laboratory test report.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can verify the inclusion of necessary elements in the laboratory test report. - Title of the test report - Name and address of the laboratory - Location where testing was performed - Unique identification of page numbers and clear identification of the end - Name and contact information of the customer - Identification of the method used - Description, unambiguous identification, and, when necessary, the condition of the item tested - Date of receipt of the test item(s) and date of sampling, where critical to the results - Date when testing was performed - Date of issue - Reference to the sampling plan and sampling method used by the laboratory - Statement to the effect that the results relate only to the items tested - Results with units of measurement - Additions to, deviations, or exclusions from the method - Identification of the person(s) authorizing the report - Clear identification when results are from external providers - Statement specifying that the report shall not be reproduced except in full without approval of the laboratory - Disclaimer when information is supplied by the customer and can affect the validity of results - Statement that results apply to the sample as received - Where necessary: - Information on specific test conditions, such as environmental conditions - Statement of conformity with requirements or specifications - Measurement uncertainty presented in the same unit as that of the measurand or in a term relative to the measurand - Opinions and interpretations - Amended reports clearly show what was amended and indicate amendment from the original report. - The quality manager can integrate customer reporting requirements into the test report: - Significant figures - Formatting - Applicable rounding rule - Inclusion of QC results - Inclusion of appropriate disclaimers or qualifiers. - The quality manager can verify that authorized personnel express opinions and interpretations of test results on test reports. - Identify which test result relates to the opinion/interpretation - Record communication of opinions/interpretations to the customer. - The quality manager can adapt in-house reporting practices to meet customer needs. - Preparation of data packages for federal partners - Use of external template to report test results.

# Feedback and Complaints

Definition: Evaluate customer feedback to formulate a response. Level 4 Competency: Describe the process of evaluating customer feedback.

- Level 5 Competency: Evaluate laboratory feedback.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can compile feedback from other laboratory personnel. - The quality manager can create a system to process feedback from laboratory personnel. - The quality manager can integrate in-house feedback to support the continuous improvement process.

- Level 5 Competency: Evaluate customer complaints.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can compile complaints from laboratory customers. - Acknowledge receipt of complaint - Determine validity of complaint (i.e., complaint versus whine) - Ensure proposed resolution to a complaint is evaluated by outside person - Give customer formal notice of end of complaint. - The quality manager can create a system to process customer feedback. - Seek - Evaluate - Resolve - Use to improve the QMS - Identify corrective action(s) - Record. - The quality manager can teach others to evaluate complaints.

# Nonconformances and Deviations

Definition: Guidelines to identify, minimize, and report deviations from the QMS and nonconformances. Level 4 Competency: Describe the significance of nonconforming work.

- Level 5 Competency: Evaluate nonconforming events that may affect the quality of test results.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can explain what nonconformance is. - The quality manager can train staff on how different events can affect the quality of test results. - System failure (e.g., laboratory accident) - Process deviations (e.g., sample irregularities, expired standards) - Changes in temperature - Humidity - QC failure - Audit finding - PT failure - Customer complaint. - The quality manager can express the importance of timely reporting of nonconformances to others. - The quality manager can revise procedures on nonconforming work. - Evaluate the role of method validation, verification, or extension to prevent nonconforming work. - How to address a nonconformance on a test report - How test results can be authorized for release to the customer - How to stop work, withhold results, and resume work.

- Level 5 Competency: Create a procedure for process deviations.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can create a procedure for planned deviations. - The quality manager can recognize conditions that may lead to a process deviation. - The quality manager can revise procedures to include the application of disclaimers/qualifiers in a data package. - Exceptions to sampling - Deviations from the method - Background contamination - Reduced recovery - Matrix interference - Customer notification. - The quality manager can evaluate the use of qualifiers and disclaimers.

# Laboratory Information Management System (LIMS)

Definition: Oversight of the creation, treatment, and retention of laboratory data. Level 4 Competency: Describe data handling practices within a laboratory information management system.

- Level 5 Competency: Devise practices for handling laboratory information.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can characterize LIMS operations. - LIMS format - Handwritten - Electronic - Interrelationships with other laboratory systems - Network - Document control - Laboratory instruments - Data security - Access - Archiving/disabling accounts - Creation of new account - Permission levels - Reviewer - Administrator - Approvals - Assign roles to users - Backups - Audit trail - Recognize when something goes wrong - Maintain relationship with IT personnel - Recommend system enhancements. - The quality manager can express knowledge of data management to others. - Record data - Data review - Data sharing - Data backups - Data retrieval.

- Level 5 Competency: Describe quality management functions to maintain LIMS.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can verify that a LIMS provider meets applicable requirements when control is outside the laboratory. - The quality manager can convey transitional needs when new components are added to LIMS. - Provide input on new features - Beta testing - Installation - Planned obsolescence. - The quality manager can verify the functionality of LIMS prior to its use on customer samples. - Verify version number or similar - Completion of sample processes within in LIMS - Confidentiality - Audit trail - Verify after-market changes to software prior to use on customer samples - Formulas in spreadsheets created in-house - Confirm accuracy of data transfer. - The quality manager can evaluate risks that arise from management of LIMS components: - Within the laboratory - Outside the laboratory. - The quality manager can train others on LIMS functions that support the QMS.

# Risk Management

Definition: Process to manage risks to the validity of laboratory test results. Level 4 Competency: Identify steps to manage risks to the validity of test results.

- Level 5 Competency: Recognize liabilities associated with nonconforming work.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can outline potential impacts of risk to laboratory operations. - Test results not accepted - Civil or criminal penalties - De-certification - Loss of funding - Damage relationships - Loss of trust/credibility - Loss of employment or demotion - Impact on public health (human, animal, environmental) - Loss of laboratory operations - Loss of accreditation - Impact on commerce - Impact of improper release (data, evidence) - Inability to take regulatory action - Increased risk of making wrong regulatory decision.

- Level 5 Competency: Create a process to manage risk.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can create a system to manage risks. - Identify potential risks to laboratory operations and testing activities - Identify risks to impartiality - Evaluate the risks that stem from opportunities - Evaluate severity and frequency of risks - Implement control proportionate to the level of risk (4Ts) - Treat (select action to mitigate risk) - Tolerate (recognize risk and unable to mitigate risk) - Transfer (e.g., purchase property insurance or instrument service agreement to protect against risks) - Terminate (eliminate the issue so it is no longer a risk). - Identify new risks that could surface - Use institutional knowledge (experience) - Monitor risks for changes in impact.

# Document Control

Definition: Managing documents in a systematic and organized manner to ensure availability of the most current version. Level 4 Competency: Describe processes of document control to support a QMS.

- Level 5 Competency: Describe the role of Standard Operating Procedures (SOPs) in the laboratory.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can define an SOP. - The quality manager can explain the sections of an SOP template. - The quality manager can propose edits to SOPs. - The quality manager can review proposed QC criteria for the method. - The quality manager can approve edits to SOPs prior to issue. - The quality manager can recognize when an SOP update may require validation.

- Level 5 Competency: Identify reference documents for human and animal food testing.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can incorporate reference documents into SOPs, such as: - Association of Animal Feed Control Officials (AAFCO) QA/QC Guidelines - AOAC Official Methods of Analysis (OMA) - AOAC Food Triangle - FDA Bacteriological Analytical Manual (BAM) - FDA Chemical Analytical Manual (CAM) - FDA Pesticide Analytical Manual (PAM) - FDA Elemental Analytical Manual (EAM) - USDA FSIS Chemistry Laboratory Guidebook (CLG) - USDA FSIS Microbiology Laboratory Guidebook (MLG) - NCIMS 2400 forms - NSSP Guide for the Control of Molluscan Shellfish. - The quality manager can explain where to find reference documents. - Online - Hard copies - Membership required.

- Level 5 Competency: Identify guidance documents for food testing.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can identify laboratory guidance documents for food testing. - FERN - Association of Public Health Laboratories (APHL) repository - Partnership for Food Protection (PFP) Human and Animal Food Testing Laboratories Best Practices Manual - AAFCO Laboratory Methods and Services Committee - Association of Food and Drug Officials (AFDO) Resources.

- Level 5 Competency: Verify document control practices.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can describe the control of QMS documents. - The quality manager can explain why controlled documents need to be controlled. - The quality manager can write a procedure for document control. - The quality manager can implement the steps of document control. - Create new document - Apply template - How to edits - Formatting - Review - Approval - Date stamp - Assign version number - Communicate changes made since last release - Release to personnel - Set review frequency for internal and external documents. - The quality manager can implement improvements to document control. - The quality manager can train others to fulfill document control requirements.

# Continuous Improvement

Definition: Identification and implementation of improvements to the QMS. Level 4 Competency: Identify at least one opportunity to improve the QMS.

- Level 5 Competency: Describe inputs that would initiate an improvement cycle.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can explain the value of continuous improvement. - The quality manager can describe the components of the improvement cycle. - The quality manager can explain why the following triggers should be considered in a process improvement cycle: - New equipment or technology - Audit findings - Nonconforming work - Customer feedback - Management review - Benchmarking - Service standards - Risk assessment - Analysis of trends in QC data.

- Level 5 Competency: Facilitate evaluation of opportunities for improvement.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can describe the process of evaluating opportunities for improvement. - The quality manager can differentiate between process improvement and corrective action. - The quality manager can differentiate between risks and opportunities. - The quality manager can prioritize opportunities for improvement. - The quality manager can administer process improvement. - The quality manager can facilitate a culture of continuous improvement.

- Level 5 Competency: Develop proactive solutions to near-misses and preventable occurrences.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can compile information on potential solutions. - Brainstorm - Break the problem down into units - Utilize critical thinking - Formulate potential solutions. - The quality manager can give examples of corrective actions: - Calculations moved to locked, verified spreadsheets - Peer review of labels - Redesign forms - Perform instrument maintenance - Edit written procedure - Verify instrument software before use.

4. Level 5 Competency: Examine solutions for compliance with the QMS.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can weigh the advantages and disadvantages [e.g., Strengths, Weaknesses, Opportunities, and Threats (SWOT), gap analysis] of proposed solutions. - The quality manager can identify risks associated with making an improvement. - The quality manager can examine the effectiveness of applied improvements.

# Corrective Action and Root Cause Analysis

Definition: Perform root cause analysis to identify corrective actions. Level 4 Competency: Give examples of situations that require corrective action.

- Level 5 Competency: Describe the corrective action process.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can teach others the corrective action process. - The quality manager can verify that a timeline of nonconforming work is recorded. - What happened, where it happened, when it happened - Personnel involved - Identify samples involved - Investigation - Inclusion of pertinent records (QC, preventive maintenance, etc.). - The quality manager can recognize that the initial scope of the investigation might need to change. - The quality manager can evaluate the impact of nonconforming work on previously reported test results. - The quality manager can demonstrate leadership in root cause discussions. - The quality manager can draft corrective actions that are proportionate to the risk incurred. - The quality manager can incorporate corrective actions into controlled documents. - The quality manager can characterize risks that occur after taking corrective action. - The quality manager can examine corrective actions for effectiveness.

- Level 5 Competency: Describe approaches to root cause analysis

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can describe the use of critical thinking in a root cause investigation: - Logical fallacies - Think outside of the box - Unbiased - Problem solving - Open mindedness. - The quality manager can list common, appropriate standard investigation tools: - Fishbone - Is/is not - Gap analysis - Five whys - Interviews - Brainstorm - Data collection - Cause mapping.

3. Level 5 Competency: Evaluate the effectiveness of the corrective actions.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can identify repeat occurrences or events. - The quality manager can evaluate whether corrective action prevented recurrence of the root cause. - The quality manager can verify the impact of changes for effectiveness. - The quality manager can conduct an audit in follow-up to a major investigation.

# Internal and External Audits

Definition: Cycle of preparation for, performance of, and follow-up of a laboratory audit. Level 4 Competency: Describe types of audits.

- Level 5 Competency: Define the types of audits performed in a food testing laboratory.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can define types of audits, such as: - Internal - Scope - In-house (self-audit) - External - Third party - Customer (i.e., fee-for-service) - State, federal partner - Accrediting body - Vertical - Follow sample from receipt to disposal - Procurement of equipment from selection to final disposition - Horizontal - Evaluate how a single process (purchasing, records, etc.) is performed across laboratory sections. - The quality manager can discover audit requirements. - Accrediting or certification body - ISO/IEC 17025 - Internal QMS. - The quality manager can describe an interim audit. - Items can be added to or removed from the scope of accreditation. - The quality manager can describe how different QMS elements address laboratory testing proficiency and accuracy. - When several programs recommend the same quality requirement, the most stringent one should be followed. - The quality manager can participate in external audits to defend compliance with relevant standards.

- Level 5 Competency: Describe auditing tools.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can explain how an audit checklist is used to determine laboratory compliance with a standard. - The quality manager can create an audit checklist. - The quality manager can lead investigations of nonconformances identified during an audit. - The quality manager can verify implementation of corrective actions to nonconformances. - The quality manager can verify that the required audit response is completed within an established timeline.

3. Level 5 Competency: Describe steps to prepare for an audit.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can describe resources needed for the audit, such as: - On-site or remote - Staff time - Prior audit findings - Data time range - QMS documents - Corrective/preventive actions and associated monitoring - Documents and records. - Training completed prior to performing laboratory activity - Correct document version used - Reagents used within expiration date - Laboratory records completed properly - Ensures sample integrity - Equipment calibrated prior to use. - The quality manager can plan the time needed to conduct the audit. - The quality manager can define the scope of the audit. - The quality manager can identify audit participants. - The quality manager can create an auditing schedule.

4. Level 5 Competency: Describe the processes of conducting an audit.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can write observations. - The quality manager can arrange an audit opening meeting. - The quality manager can conduct audit interviews. - Prepare open-ended questions - Recognize evasive tactics - Demonstrate soft skills - Conduct opening/closing meetings - Provide feedback. - The quality manager can point out observations during the audit. - Nonconformances - Opportunities for improvement - Gaps. - The quality manager can arrange an audit closure meeting. - Opportunities for improvement or preventive actions - Process improvements (process changes based on the audit) - What went well or did not go well. - The quality manager can compose an audit report for management. - The quality manager can schedule post-audit discussions to address audit findings.

# Management Review

Definition: Plan, conduct, and follow-up a management review. Level 4 Competency: Explain the purpose of management review.

- Level 5 Competency: Assemble information to generate inputs for management review.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can evaluate the potential for undue pressure across laboratory activities. - The quality manager can review requirements for facilities and environmental conditions. - The quality manager can evaluate the adequacy of technology. - Equipment/instrumentation - Method development needs - Compliance with quality requirements. - The quality manager can critique the adequacy of laboratory policies. - The quality manager can evaluate quality indicators. - Monitor quality indicators for trends - Audit findings - Adequacy of training - Adequacy of SOPs, forms, and job aids - Complaints and feedback. - The quality manager can examine the adequacy of laboratory operations as a whole. - LIMS - Testing activities (i.e., sample receipt through sample retention) - Customer service.

- Level 5 Competency: Evaluate quality trends.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can employ a tool to visualize data: - Artificial Intelligence (AI) - Excel - Graphical visualization tools (e.g., Power BI) - Information systems (e.g., LIMS) - Control charting software (e.g., Northwest analytical). - The quality manager can identify trends among quality indicators. - The quality manager can evaluate outliers. - The quality manager can determine whether something has happened before (i.e., recurrence). - The quality manager can speculate the causes of a trend. - The quality manager can use trends to make recommendations.

- Level 5 Competency: Prepare for management review.

Based on Level 5 competency – Not an all-inclusive list

BEHAVIORAL ANCHORS

- The quality manager can report on quality goals and objectives. - The quality manager can appraise the effectiveness of the laboratory QMS. - The quality manager can identify gaps in the QMS. - The quality manager can generate ideas for improvement based on management review inputs. - The quality manager can summarize management review outputs. - Opportunities for improvement - Action items - Assigned to whom - Anticipated completion date.