## Slide 1: Quality Management System Introduction
ISO/IEC 17025:2005
ISO/IEC 17025:2005 Quality Management System
Calibration
Validation
Verification
Uncertainty

## Slide 2: Abbreviations and Acronyms
Assessment-a systematic process of collecting and analyzing data to determine the condition of an organization
Change Management-a process that supports moving from the current state to a future state by revising policies, processes or procedures
Confidentiality-the principle of using restrictive processes and policies to guard against unauthorized disclosure of client and personnel records and information
CI-Continual Improvement
Customer-the clients or end users of a product or service; customers may be internal or external to the company
Data Integrity-guarding against improper information modification or destruction to ensure information is authentic
DOC-Documentation of Capability: paperwork that authorizes competent staff to perform testing
Ethics-Moral rules that govern a person or group
FDA-Food & Drug Administration
ILAC-International Laboratory Accreditation Cooperation
ISO-International Organization for Standardization
IEC-International Electrochemical Commission

## Slide 3: Abbreviations and Acronyms
PA-Preventive Action: Plans, that when developed, implemented, and monitored identify opportunities that reduce occurrences of nonconformities.
Procedure-a specified way to carry out an activity or process
Process-a set of interrelated or interacting activities to achieve a particular end
Proficiency Testing-an evaluation of the laboratory’s performance by analyzing samples of external origin to determine accuracy and adequacy of the laboratory’s pre-analytical, analytical, and post-analytical processes
Quality-the degree in which a set of inherent characteristics fulfills requirements
QA-Quality Assurance: planned and systematic activities implemented in a quality system to ensure quality goals are fulfilled
QC-Quality Control: processes and techniques to detect, reduce, and correct deficiencies in an analytical process
QC data-measures that reflect the accuracy, precision, and reliability of test results
QMP-Quality Management Plan (also called Quality Manual)
QMS-Quality Management System: all aspects of the laboratory operation, including the organizational structure, processes and procedures, that need to be addressed to ensure quality

## Slide 4: ISO/IEC 17025:2005:2005-Internationally Accepted Standard for Quality Systems
Began in 1988 to improve Quality Management Systems (QMS) and updated in 1999 and 2005
Compliance with these standards will aid the laboratory to:
  Identify mechanisms to develop and show commitment to continually improving the QMS
  Communicate with customers by actively soliciting feedback and using the information to improve the QMS
  Use the information from measurement and quality control (QC) data to evaluate the performance of the QMS and identify opportunities for improvement

## Slide 5: Why ISO/IEC 17025:2005 Accreditation?
Accreditation provides formal recognition that laboratories can achieve a level of reliable testing and measurement
Customers are then able to identify and select laboratories that produce services to meet their needs
One element of successful data acceptance by FDA for regulatory work for food & feed testing
  If so, then the laboratory must be accredited by an International Laboratory Accreditation Cooperation (ILAC) recognized Accrediting Body (AB)
What is an Accrediting Body?
  Internationally recognized to carry out assessments of a laboratory (for ISO/IEC 17025:2005:2005 accreditation)
They also must be accredited
  Conform to the requirements of the ISO/IEC 17011:2004, “Conformity Assessment – General Requirements for Accreditation Bodies Accrediting Conformance Assessment Bodies”

## Slide 6: What is the Scope of Accreditation?
Methods and equipment covered by assessment
Laboratory is actually accredited for a specific list of methods, analytes, matrix, and/or equipment
Also called
  Fields of Accreditation
  Fields of Testing

## Slide 7: Quality Management System
The term ‘Quality Management System’ (QMS) covers the quality, technical, and administrative system that governs the operations of the laboratory
Quality: How well you do something
Technical: How you do something (in the laboratory area as well as in the support services area)
Administrative: How it all comes together
ISO/IEC 17025:2005: “The Laboratory shall establish and implement a QMS.”

## Slide 8: Quality Management System
The laboratory shall document its policies, systems, procedures and instructions to the extent necessary to assure quality test results
The QMS shall be communicated to, understood by, and implemented by the appropriate staff
  Training on ISO/IEC 17025:2005
  Staff read the Quality Management Plan (QMP); also known as the Quality Manual
  Review policies & procedures
ISO/IEC 17025:2005 Quality Management System
Calibration
Validation
Verification
Uncertainty

## Slide 9: Quality Management System
The QMS policies and procedures must be applied comprehensively, appropriately, and consistently
A QMS assures that all testing is performed with the utmost quality as described in
  The QMP (Quality Manual)
  Quality assurance section plans (QASP) & QA project plans (QAPP)
  Standard operating procedure (SOP) manuals
Staff must use these procedures and management processes to minimize errors before they happen (error prevention)
QMP
QAPPs/QASPs
SOPs

## Slide 10: Objectives of the QMS
Establish procedures, which ensure that data generated in the laboratory are within acceptable limits of accuracy and precision
Ensure that Quality Control (QC) measures are performed
Ensure accountability of data through sample/specimen and data management procedures
Perform complete and accurate documentation
Maintain confidentiality and practice the highest ethical standards.
Evaluate the quality of data
Sustain data integrity through technical data reviews, internal audits, and SOPs that cover all aspects of the testing, such as chromatographic manipulations or calculations, documentation of training and competency, and adherence to the error correction protocol

## Slide 11: Quality Management System Activities
Examples include
  Client satisfaction surveys
  Internal Audits
  Management Reviews
  Corrective & Preventive Actions
  Determine & Implement the quality policy for the laboratory

## Slide 12: Quality Management Plan (QMP)
The QMP documents the Laboratories’
policies regarding
these topics:
Confidentiality
Competence & integrity
Review of requests, tenders, & contracts
Purchasing services & supplies
Customer complaints
Control of nonconforming work
Corrective action
Training of personnel

## Slide 13: The Quality Policy Statement
The Quality Policy Statement resides in the QMP and:
  Is issued under authority of top management
  States the purpose of the QMS related to quality
  Includes overall objectives
  Is reviewed during management review
Contains Management’s statement of the laboratory’s standard of service and commitment to
  good professional practice and the quality of its testing
  complying with the ISO/IEC standard and continually improving the effectiveness of the management system
It is a requirement that all staff familiarize themselves with quality documentation and implement the policies & procedures in their work

## Slide 14: Example of a Quality Policy:
The Laboratory holds firmly that the validity of testing decisions made by data users are determined by the reliability of laboratory data
The validity and reliability of the information generated is maximized by adherence to documented QC procedures and Quality Management System protocols that are based upon principles of
  data quality indicators
  good professional practice and good laboratory practice (GLP)
The purpose of management is to provide the highest quality product to its customers
Management is committed to these practices, and the quality of testing provided to all customers

## Slide 15: Contributions to a Quality Culture
A Quality Culture can only be accomplished when all staff are involved in the following:
  Focusing on the Customer
  Leading by example
  Continually Improving
  Using information and analysis when making decisions (Project Planning)
  Strategically Planning for the future
  Knowing that cost effective quality measures can improve laboratory performance and decrease costs
Customer Focus
Process Improvement
Quality System
Total Involvement
Leadership
Strategic Planning
Information and Analysis
Process Management
HR focus
Business results
Customer and market focus

## Slide 16: The Organization
Must be a Legal entity in order to be held responsible for actions of the laboratory
Must meet requirements of the ISO/IEC standard, satisfy the needs of the customer, and all regulatory agencies
Every location and all testing areas within them must adhere to the management system—that is why there is one Quality Management Plan (QMP) that governs all sections and locations

## Slide 17: Staff Must be Committed to Achieving and Maintaining Quality
All are accountable to the Quality Management System
All should have knowledge of Quality Concepts
  All work occurs in a system of interconnected processes
  Variation exists in all processes, but can be controlled with the correct checks and balances
All should practice Ethical Behavior
  All staff must be committed to integrity of data and confidentiality
Skilled Staff Performance
  Staff should have the proper skills, education, competencies, training, experience and certification/license (if required) for position
  Staff should use Critical Thinking Skills
Continue with Training
  Staff continue to seek professional development and training opportunities
17

## Slide 18: Staff Responsibilities
All staff must be committed to safe work practices and proper waste management practices
  Perform Risk Assessments
  Use proper hazardous waste disposal
  Know emergency protocols
  Participate in required training
Know that
  What you do is relevant and important!
  You contribute to the overall effectiveness of the Quality Management System
18

## Slide 19: Staff Responsibilities
Conflict of interest-staff should be free from undue commercial, financial, or other undue pressures
Staff should have job descriptions that identify any potential conflicts of interest and whether they have supervisory responsibilities and should include
  Responsibilities
  Competencies
  Authority
  Interrelationships (supervisor, management, analyst, etc.)

## Slide 20: Staff Responsibilities
Management & technical personnel must have the appropriate decision making authority and resources to
  Carry out duties
  Identify when there are departures from the QMS and test procedures
  Initiate actions to prevent or correct these departures
There must be adequate supervision by those familiar with
  Methods & procedures
  Purpose of each test
  Assessment of test results

## Slide 21: Staff Responsibilities
Use Proper Measurement Tools
  All staff are committed to using appropriate quality control measures and proper testing methods
Follow procedures & policies to protect customers’ confidential information
  Use a “Declaration of Confidentiality & Ethics” statement and/or form which staff must sign
  HIPAA training (Health Information Portability & Accountability Act), if applicable
  Follow correct procedures for electronic storage & transmission of results

## Slide 22: Staff Responsibilities
Follow Policies and Procedures that judge competence, impartiality, judgment, or operational integrity
  Take Ethics Training
  Take Data Integrity Training
  Perform Documentation of Competencies
There should be an organization chart that shows relationship of staff and supervisory personnel
Integrity
Commitment
Truth

## Slide 23: Organization Chart-where are you?
Director
Quality Engineer/ Manager
Manager
Associate Director
Analyst
Quality Technician
Analyst
Supervisor
Associate Director
Manager
Supervisor
Analyst
Analyst

## Slide 24: Management Responsibilities
Provide overall management of personnel, facilities and equipment, ensuring they are adequate to meet client, agency, regulatory and certification / accreditation requirements and needs are met
Monitoring standards of performance in QMS/QC and compliance to ISO/IEC 17025:2005
Periodically review monthly QMS reports and provide feedback to sections as appropriate
Monitor the validity of the analyses performed and data generated in the laboratory to assure reliable data
Technical Managers must be named and have deputies or designated representatives

## Slide 25: Management Responsibilities
Top management must ensure that the integrity of the management system is maintained when changes to the management system are planned and implemented
  Are changes in the QMS carefully planned?
Perform an annual management review of the QMP and the QMS
  SOPs, QASPs and other documents must agree with the policies set forth in the QMP
Review training requirements to ensure that staff understand the importance of the QMS and adhere to ethical practices and data integrity
  Ensure employees meet the qualifications defined in the job description. Authorize employees to perform quality management functions.
Ensure audits are carried out (internal, external, and proficiency)
25

## Slide 26: Quality Manager Responsibilities
Quality Managers have defined responsibility and authority that the QMS is followed at all times
Have direct access to the highest level of management at which decisions are made on laboratory policy and use of resources
Responsible for monitoring and verifying QMS activities for compliance with ISO/IEC 17025:2005 (e.g., review QMP annually)
Report QMS activities to top management
Review assessments
Coordinate accreditations
Coordinate training with Human Resources (HR) & Safety Directors
Maintain QMS documents

## Slide 27: Communication
There must be appropriate communication about the effectiveness of QMS
  Staff Training
  Meetings
    Administrative
    Sections/Areas
    All staff
    Strategic Planning
  Project meetings with outside partners and customers
  Reviews/Audits
    Internal Audits
    Management Reviews

## Slide 28: Staff Must Know How to Use Quality Tools
Know how to establish an audit trail to track:
  where errors have occurred
  make modifications which address the root cause of the problem
Look at the process—you want the primary event
Ask questions
  What is the problem?
    We don’t want this to happen again
  When did it happen?
  Where did it happen?
Design
Analyze
Develop
Implement
Evaluate

## Slide 29: Five Whys-Brainstorm about root causes of problems
Primary Effect What? When? Where?
[What]
caused by?
(Why the what?)
Caused by?
Caused by?
[When]
caused by?
(Why the when?)
[Where]
caused by?
(Why the where?)
Caused by?
Caused by?
Caused by?
Caused by?
caused by?
caused by?
caused by?
caused by?
caused by?
caused by?
caused by?
caused by?
caused by?

## Slide 30: What is Quality Control?
A set of procedures laboratories follow that compares performance against specific requirements and defined standards (e.g., positive, negative, duplicates, spikes, blanks, etc.)
QC must be continuously monitored to ensure reliability and to study how a process changes over time
QC is designed to show that nothing has gone wrong in the testing process (error detection)

## Slide 31: Check sheets are used to: Collect and analyze data using a structured form
31

## Slide 32: Flow charts Visualize a process; Can contain decision points along the way
32

## Slide 33: Challenges
Unacceptable Root Causes (e.g., excuses); dig deeper to find out the ‘why’ of the following:
  Human Error
  Mistake
  Distraction
Unacceptable Corrective Actions
  Reminded employees
  Retraining (may use if process has changed or SOPs are updated or training was inadequate)
  Instructed to pay more attention
Improve processes and/or procedures
Utilize engineering controls to minimize human error, mistakes, distractions, etc.
Use checklists as reminders of tasks
Communicate new processes with training and ensure it is conducted and documented prior to employee performing work
Evaluate new processes to ensure success

## Slide 34: Before We Continue, You Must also know this…
For any result, do you have documentation to demonstrate the following:

## Slide 35: Training Documentation and Authorization
Was the work performed by a qualified person who was trained in the relevant technical operations and had access to all necessary information?
Were they authorized to perform that task?
  Per method and/or SOP with Documentation of Capability (DOC)
Have they had the proper:
  Safety training
  Ethics & Data Integrity training

## Slide 36: Methods & Equipment
The method must be approved, validated, authorized and appropriate to the sample and the requirements of the customer
The equipment must be properly maintained and calibrated when data is generated
All quality control checks must be carried out and the results within specifications of the method or SOP
All staff must be adequately trained to carry out proper use, calibration and maintenance of equipment

## Slide 37: Summary

## Slide 38: Responsibilities
Quality responsibilities must be clearly assigned
Staff training must be documented
Staff should know and use quality tools
  Quality Control in testing
  How to perform Corrective Actions
  Use Critical Thinking Skills
Leadership and Commitment
Policy and Strategic Objectives
Organization, resources, and documentation
Evaluation and risk management
Planning
Implementation and Monitoring
Review

## Slide 39: Implement Document Control
Procedures must be in place to ensure quality is maintained
  Are these procedures documented and controlled?
  Do you have (and follow) a procedure to ensure all documents are kept up to date?
  Staff must know and follow all document control policies and procedures
    This must be documented, as well
QMP
QAPPs/QASPs
SOPs
39

## Slide 40: Know the Difference between a Policy, Process, Procedure and Records
Policies
“What we do”
Processes
“How it happens” (flow charts/tables)
Procedures and Job Aids
(assignment aids)
“How to do it”
Forms & Records
“What happened”

## Slide 41: Management must ensure that
Plan
Do
Check
Act
The QMS is reviewed and monitored and is implemented and followed by all staff
Staff are trained and follow a corrective action procedure
There is a mechanism to identify possible problems and ways to take action to prevent them (preventive action)
Opportunities are identified to improve the effectiveness of the quality system and are implemented

## Slide 42: Ensure Data Integrity
What precautions do Professionals take to secure the integrity of data generated in the laboratory?
  Instruments must be calibrated per the method or SOP
  Calibrations must be checked per the method or SOP
  QC samples must be used per the method or SOP
  Use Proficiency Testing as an external check
  Perform Internal Audits as scheduled

## Slide 43: Ensure the Integrity of the QMS
Top management must ensure that the integrity of the management system is maintained when changes to the management system are planned and implemented
  Are changes in the QMS carefully planned?
Perform an annual management review of the QMP and the QMS
Review training requirements to ensure that staff understand the importance of the QMS and adhere to ethical practices and data integrity
  Do all understand that Integrity means that there is a lack of contradiction between documents?

## Slide 44: References
ISO/IEC 17025:2005
  http://www.iso.org/iso/catalogue_detail.htm?csnumber=39883
“Complying with ISO 17025: A practical guidebook for meeting the requirements of laboratory accreditation schemes based on ISO 17025:2005 or equivalent national standards”, United Nations Industrial Development Organization, Vienna, 2009 (not endorsed by UNIDO)
  https://www.unido.org/fileadmin/user_media/Publications/Pub_free/Complying_with_ISO_17025_A_practical_guidebook.pdf
American Industrial Hygiene Association Policy Modules
  http://www.aihaaccreditedlabs.org/Policies/Pages/default.aspx
American Society of Quality
  http://asq.org/learn-about-quality/seven-basic-quality-tools/overview/overview.html
EPA online courses
  https://www.epa.gov/sites/production/files/2015-07/documents/2014aphllabethicstraining.pdf
44