## Library Prep
Nextera DNA Flex Library Prep - 24 Index Kit
| Run ID: | [6 empty] | Key
| Library Prep Date: | [6 empty] | White cells: Fillable
| Library Prep Technician: | [6 empty] | Blue cells: Formulas
| Sequencing Kit Type/Chemistry | [6 empty] | Dark gray cells: Optional
Sequencing Date:
Sequencing Technician:
[5 empty] | Optional | [6 empty] | Optional
Sample Well | State Key | Taxonomic ID/Description | Project ID | Genome Size | Input DNA Qubit Reading (ng/ul) | Input DNA Nanodrop (260/280) | Volume of Input DNA (ul) | Volume of Input H2O (ul) | Quantity of Input DNA (ng) | Index 1 (i7) | Index 2 (i5) | Qubit Reading (ng/ul) of library | Comments
A01 | [6 empty] | 10 | 20 | 0
B01 | [6 empty] | 10 | 20 | 0
C01 | [6 empty] | 10 | 20 | 0
D01 | [6 empty] | 10 | 20 | 0
E01 | [6 empty] | 10 | 20 | 0
F01 | [6 empty] | 10 | 20 | 0
G01 | [6 empty] | 10 | 20 | 0
H01 | [6 empty] | 10 | 20 | 0
A02 | [6 empty] | 10 | 20 | 0
B02 | [6 empty] | 10 | 20 | 0
C02 | [6 empty] | 10 | 20 | 0
D02 | [6 empty] | 10 | 20 | 0
E02 | [6 empty] | 10 | 20 | 0
F02 | [6 empty] | 10 | 20 | 0
G02 | [6 empty] | 10 | 20 | 0
H02 | [6 empty] | 10 | 20 | 0
A03 | [6 empty] | 10 | 20 | 0
B03 | [6 empty] | 10 | 20 | 0
C03 | [6 empty] | 10 | 20 | 0
D03 | [6 empty] | 10 | 20 | 0
E03 | [6 empty] | 10 | 20 | 0
F03 | [6 empty] | 10 | 20 | 0
G03 | [6 empty] | 10 | 20 | 0
H03 | [6 empty] | 10 | 20 | 0
|  | Total MB: | 0
Version 4
2021-03-25 |  | Pool concentration (Qubit value, ng/ul): |  |  |  |  | Reagent | Lot#s | Expiration Date
|  | Molarity (nM) = (conc/(660g/mol x 1000bp))x 10^6: | 0 |  |  |  | BLT
|  | Volume of pool needed (ul) = (nM)(x)=(4nM)(50ul): | #DIV/0! |  |  |  | TB1
|  | Volume of RSB needed (ul) = 50 - volume of pool: | #DIV/0! |  |  |  | TSB
|  | Now have 50ul of 4nM pooled libraries |  |  |  |  | TWB
|  | 5ul of 4nM pooled libraries + 5ul of NaOH + 990ul of HT1 = 20pM library pool |  |  |  |  | EPM
|  | Desired Final Loading concentration (12 pM to 20 pM): |  |  |  |  | Indices
|  | Volume of 20pM library pool: | 0 |  |  |  | SPB
|  | Volume of HT1 buffer: | 1000 |  |  |  | RSB
|  | Percentage of PhiX spiked (if applicable): |  |  |  |  | Hyb buffer
Flowcell
|  | Amplicons spiked into run, check if yes |  |  |  |  | PR2
|  | Amplicon pool concentration (Qubit value, ng/ul): |  |  |  |  | Cartridge
|  | Molarity (nM) = ((conc/(660g/mol x 400bp)) x 10^6: | 0
|  | Volume of pool needed (ul) = (nM)(x)=(4nM)(50ul): | #DIV/0! |  |  |  | Thermal Cycler:
|  | Volume of RSB needed (ul) = 50 - volume of pool: | #DIV/0! |  |  |  | Denaturation Temp:
Now have 50ul of 4nM pooled amplicon library
Post-Run Metrics (MiSeq)
Cluster Density
Clusters Passing Filter
Q30
Estimated Yield
% Aligned (optional)
|  | iSeq run, check if yes |  |  |  |  | Post-Run Metrics (iSeq)
|  | 2.5ul of 4nM pooled libraries + 47.5ul of RSB = 200pM library pool |  |  |  |  | Average %Q30 |  | #DIV/0!
|  | Desired Final Loading concentration: |  |  |  |  | %Q30 Read 1
|  | Volume of 200pM pool to add: | 0 |  |  |  | % Q30 Read 2
|  | Volume of RSB: | 50 |  |  |  | % Clusters PF
|  | Result is 50ul of pool at desired loading concentration. |  |  |  |  | % Occupancy
|  | If spiking PhiX: Dilute 10 nM PhiX to 1nM: 2ul of 10nM + 18ul of RSB |  |  |  |  | Total Yield
|  | Dilute 1nM PhiX to 200 pM: 2 ul of 1 nM PhiX + 8 ul RSB |  |  |  |  | % Aligned (optional)
|  | PhiX loading concentration (same as library) | 0
|  | Volume of 200pM PhiX to add | 0
|  | Volume of RSB to add | 12.5
Result is 12.5ul of PhiX at desired loading concentration.
Percentage of PhiX spiked (if applicable):

## IEM_SampleSheet
[Header]
IEMFileVersion | 5
Date | 0
Workflow | GenerateFASTQ
Application | FASTQ Only
Instrument Type | MiSeq
Assay | Nextera DNA Flex
Index Adapters | Nextera DNA CD Indexes (24 Indexes, tubed)
Description
Chemistry | Amplicon
[Reads]
#VALUE!
#VALUE!
[Settings]
ReverseComplement | 0
Adapter | CTGTCTCTTATACACATCT
[Data]
Sample_ID | Sample_Name | Sample_Plate | Sample_Well | I7_Index_ID | index | I5_Index_ID | index2 | Sample_Project | Description
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A
|  |  |  | 0 | #N/A | 0 | #N/A

## LRM_SampleSheet
[Header]
Experiment Name | 0
Date | 0
Module | GenerateFASTQ - 2.0.0
Workflow | GenerateFASTQ
Library Prep Kit | Nextera DNA CD Indexes - 24 Indexes Tubed
Description
Chemistry | Amplicon
[Reads]
#VALUE!
#VALUE!
[Settings]
adapter | CTGTCTCTTATACACATCT
[Data]
Sample_ID | Sample_Name | Description | I7_Index_ID | index | I5_Index_ID | index2 | Sample_Project
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A
|  |  | 0 | #N/A | 0 | #N/A

## iSeq_SampleSheet
[Header]
Investigator | 0
Experiment Name | 0
Date | 0
Module | GenerateFASTQ - 2.0.0
Workflow | GenerateFASTQ
Library Prep Kit | Nextera DNA CD Indexes - 24 Indexes Tubed
Description
Chemistry | Amplicon
[Reads]
151
151
[Settings]
adapter | CTGTCTCTTATACACATCT
[Data]
Sample_ID | Description | I7_Index_ID | index | I5_Index_ID | index2 | Sample_Project
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A
|  | 0 | #N/A | 0 | #N/A

## Indexes
IndexName | BasesForSampleSheet | DO NOT ALTER THIS TAB, or the SampleSheet tab | Suggested Index pairs:
H705 | GGACTCCT
H706 | TAGGCATG
H707 | CTCTCTAC |  | i7 Index | i5 Index
H710 | CGAGGCTG |  | H705 | H503
H711 | AAGAGGCA |  | H706 | H503
H714 | GCTCATGA |  | H707 | H503
H503 | TATCCTCT |  | H710 | H503
H505 | GTAAGGAG |  | H711 | H503
H506 | ACTGCATA |  | H714 | H503
H517 | GCGTAAGA |  | H705 | H505
|  |  | H706 | H505
|  |  | H707 | H505
|  |  | H710 | H505
|  |  | H711 | H505
|  |  | H714 | H505
|  |  | H705 | H506
|  |  | H706 | H506
|  |  | H707 | H506
|  |  | H710 | H506
|  |  | H711 | H506
|  |  | H714 | H506
|  |  | H705 | H517
|  |  | H706 | H517
|  |  | H707 | H517

## Metrics
Run Name | 0 | [8 empty] | Instructions
MiSeq Run Start Date | 0 | [8 empty] | - Copy values from the "Indexing QC" tab in BaseSpace or SAV into the table below as plain text. The PF Reads value will be the same for all samples.
MiSeq Reagent Kit | 0
- Ensure samples are in the same order and format as listed in the Library Prep tab, with the correct genome size assigned.
|  | Recommended Cluster Density (K/mm^2) |  | Recommended Q30 % |  |  | Clusters Passing Filter
[8 empty] | Estimated Yield (Gb) |  | - If all cells are filled in appropriately, the total number of reads and coverage will be auto-populated.
|  | v2, Nano, Micro | v3 | v3, 600c | v2, Nano | 300c v2, Micro
|  | 600-1200 | 1200 - 1400 | 70 | 75 | 80 | > 80% |  |  | Laboratories whose MiSeq uses MCS/MSR v 2.6 or earlier should use the coverage values calculated in Column I
| Run Metrics: | 0 |  | 0% |  |  | 0% | 0
Laboratories whose MiSeq software uses LRM/MSR v 3 should use coverage values calculated in Column J
Minimum Coverage: | Escherichia/Shigella | Salmonella | Listeria | Campylobacter | Vibrio
FDA | 20X | 20X | 20X | 20X | 20X
PulseNet | 40X | 30X | 20X | 20X | 40X |  |  | Coverage (if MSR/MCS v 2.6 or earlier) | Coverage ( if LRM/MSR 3.0 or later)
Index Number | State Key | Project | Index 1 (I7) | Index 2 (I5) | % Reads Identified (PF) | PF Reads | Total # of Reads
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
Estimated genome sizes by Genus (species) in bp
Salmonella | 5000000
Escherichia/Shigella | 5000000
Listeria | 3000000
Campylobacter | 1600000
Vibrio parahaemolyticus | 5000000
Vibrio vulnificus | 5000000
Vibrio cholerae | 4000000
62015K-125
2015K-1254