## Initial dilution
Initial Dilution Worksheet |  |  | Example | Instructions |  |  |  | Dilution calculation: V1 = (V2C2)/C1
| Run Name |  | LabID-MXXXX-YYMMDD | Starting with this sheet, and moving from top to bottom, fill in all tan shaded cells.
| Sample Plate Name |  | LabID-MXXXX-YYMMDD |  |  |  |  | Where V1 = volume of stock needed for dilution
| Sample Sheet Name |  | LabID-MXXXX-YYMMDD |  |  |  |  | C1 = stock concentration
| Library Prep Date |  | 2013-07-14 |  |  |  |  | V2 = 20 ul
| Technician |  | George P Burdell |  |  |  |  | C2 = 10 ng/ul
Sequencing Kit Type/Chemistry
Dilution for fragmentase normalization
[6 empty] | Nanodrop |  | Qubit | X ng/ul (26 ul total volume)
Well position | Sample Name | Sample ID | Organism | Index 1 | Index 2 | Purity (260/280 ratio) | Genome Size Estimate | Input DNA Stock Concentration (ng/ul) | DNA | Diluent (dH2O)
A01 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B01 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C01 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D01 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E01 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F01 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G01 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H01 |  | - | [6 empty] | #DIV/0! | #DIV/0!
A02 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B02 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C02 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D02 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E02 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F02 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G02 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H02 |  | - | [6 empty] | #DIV/0! | #DIV/0!
A03 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B03 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C03 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D03 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E03 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F03 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G03 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H03 |  | - | [6 empty] | #DIV/0! | #DIV/0!
A04 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B04 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C04 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D04 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E04 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F04 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G04 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H04 |  | - | [6 empty] | #DIV/0! | #DIV/0!
A05 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B05 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C05 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D05 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E05 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F05 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G05 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H05 |  | - | [6 empty] | #DIV/0! | #DIV/0!
A06 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B06 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C06 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D06 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E06 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F06 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G06 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H06 |  | - | [6 empty] | #DIV/0! | #DIV/0!
A07 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B07 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C07 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D07 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E07 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F07 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G07 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H07 |  | - | [6 empty] | #DIV/0! | #DIV/0!
A08 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B08 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C08 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D08 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E08 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F08 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G08 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H08 |  | - | [6 empty] | #DIV/0! | #DIV/0!
A09 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B09 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C09 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D09 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E09 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F09 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G09 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H09 |  | - | [6 empty] | #DIV/0! | #DIV/0!
A10 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B10 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C10 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D10 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E10 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F10 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G10 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H10 |  | - | [6 empty] | #DIV/0! | #DIV/0!
A11 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B11 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C11 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D11 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E11 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F11 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G11 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H11 |  | - | [6 empty] | #DIV/0! | #DIV/0!
A12 |  | - | [6 empty] | #DIV/0! | #DIV/0!
B12 |  | - | [6 empty] | #DIV/0! | #DIV/0!
C12 |  | - | [6 empty] | #DIV/0! | #DIV/0!
D12 |  | - | [6 empty] | #DIV/0! | #DIV/0!
E12 |  | - | [6 empty] | #DIV/0! | #DIV/0!
F12 |  | - | [6 empty] | #DIV/0! | #DIV/0!
G12 |  | - | [6 empty] | #DIV/0! | #DIV/0!
H12 |  | - | [6 empty] | #DIV/0! | #DIV/0!
Example | 2012K-0644_1 | 2012K-0644_1-M947-13-248-Ignoble | Salmonella enterica var. Enteritidis | A403 | X129 | 1.8 | 3 | 10 | 20 | 0
[5 empty] | Total DNA load |  | 0
NOTE: All sample names will end with run name (eg. 2012K-0644_1-M947-13-001)
Notes: |  |  |  | Reagents |  | Lot no. | Exp. Date |  | Size Selection bead ratio
Ultra II FS Rxn buffer
|  |  |  | Ultra II FS enzyme mix |  |  |  |  | Ex. 0.2X | Ex. 0.1X
Ultra II Ligation Master mix
Ligation enhancer
Adaptor for Illumina
USER enzyme
SPRI Select beads
Ultra II Q5 Master mix
Multiplex Oligos/Index
Thermocycler |  |  |  |  | Tagmentation |  | Amplification
ID/Location: |  | Was there an error message displayed on the instrument when the run was finished?
Did you check the graphical temperature output when the run was finished?
Were the temperatures noted to be within the acceptable ranges for this PCR run?
Note on B10: Yellow = Spaces at ends of EDLB# Red = Duplicate EDLB#'s in Run
Note on D10: Enter full taxonomic ID. The first 2 words will default to Genus then Species, respectively. Precede sub-taxa with the following tags without quotes: Subspecies: 'subsp' Biotype: 'biotype', 'biovar', 'bv' Serogroup: 'serogroup' Serotype: 'serotype', 'var' Ex. Listeria parahaemolyticus subsp coli bv enterica var Typhimurium

## Normalization and Pooling
Normalization and Pooling Worksheet |  |  |  |  | Pooling Factor: Proportion of sample genome size relative to total DNA load
Sample Plate Name | 0 |  |  |  | Pooling Volume: Pooling Factor * 50 ul pool
Sample Sheet Name | 0 |  |  |  | ng/uL to nM conversion factor (nm*uL/ng): |  |  |  | 1.5
Date | 0 |  |  |  | Dilution conc (nM): |  |  |  | 2
Technician | 0 |  |  |  | Dilution volume (uL): |  |  |  | 50
NOTE: All sample names should end with Plate ID (eg. 2012K-0644_1-M947-13-001) |  |  |  |  | Pooling volume (uL): |  |  |  | 50
[5 empty] | Supported concentrations (nM): |  |  | 2 | 4
Optional
|  |  | pre-clean | Qubit Output |  | For 50 ul of 2nM |  | Pooling Factor | Pooling Volume (50ul)
up Qubit
Sample ID | Organism | Genome Size | (ng/uL) | (ng/uL) | nM | Sample | Diluent |  |  | Comments
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
- | 0 | 0 |  |  | 0 | 0 | 50 | #DIV/0! | #DIV/0!
| Total DNA load | 0 |  |  |  | Heated Denaturation Temp:
**Note, pooling volume factors in genome size contribution to overall DNA load
Notes: | [7 empty] | Lot # | Exp date
Incorporation buffer
MiSeq cartridge
Flow cell
Post-Run Metrics
Cluster Density
Clusters Passing Filter
Q30
Estimated Yield
Post-Run Wash

## LRM_SampleSheet
[Header]
Experiment Name | 0
Date | 0
Module | GenerateFASTQ - 2.0.0
Workflow | GenerateFASTQ
Library Prep Kit | NEB Ultra II FS
Chemistry | Amplicon
[Reads]
#VALUE!
#VALUE!
[Settings]
Adapter | AGATCGGAAGAGCACACGTCTGAACTCCAGTCA
AdapterRead2 | AGATCGGAAGAGCGTCGTGTAGGGAAAGAGTGT
[Data]
Sample_ID | Sample_Name | Sample_Plate_Well | I7_Index_ID | index | I5_Index_ID | index2 | Sample_Project

## IEM_SampleSheet
[Header]
IEMFileVersion | 5
Investigator Name | 0
Date | 0
Workflow | GenerateFASTQ
Application | FASTQ Only
Assay | TruSeq DNA PCR-Free
Index Adapters | TruSeq DNA CD Indexes (96 Indexes)
Description
Chemistry | Amplicon
[Reads]
#VALUE!
#VALUE!
[Settings]
Adapter | AGATCGGAAGAGCACACGTCTGAACTCCAGTCA
AdapterRead2 | AGATCGGAAGAGCGTCGTGTAGGGAAAGAGTGT
[Data]
Sample_ID | Sample_Name | Sample_Plate | Sample_Well | Index_Plate_Well | I7_Index_ID | index | I5_Index_ID | index2 | Sample_Project | Description

## Indices
IndexName | BasesForSampleSheet
i501 | TATAGCCT
i502 | ATAGAGGC
i503 | CCTATCCT
i504 | GGCTCTGA
i505 | AGGCGAAG
i506 | TAATCTTA
i507 | CAGGACGT
i508 | GTACTGAC
i701 | ATTACTCG
i702 | TCCGGAGA
i703 | CGCTCATT
i704 | GAGATTCC
i705 | ATTCAGAA
i706 | GAATTCGT
i707 | CTGAAGCT
i708 | TAATGCGC
i709 | CGGCTATG
i710 | TCCGCGAA
i711 | TCTCGCGC
i712 | AGCGATAG

## Metrics
Run Name | 0 | [8 empty] | Instructions
MiSeq Run Start Date | 0 | [8 empty] | - Copy values from the "Indexing QC" tab in BaseSpace or SAV into the table below as plain text. The PF Reads value will be the same for all samples.
MiSeq Reagent Kit | 0
- Ensure samples are in the same order and format as listed in the Library Prep tab, with the correct genome size assigned.
| Recommended Cluster Density (K/mm^2)/% Occupied |  |  | Recommended Q30 % |  |  | Clusters Passing Filter
[8 empty] | Estimated Yield (Gb) |  | - If all cells are filled in appropriately, the total number of reads and coverage will be auto-populated.
| v2, Nano, Micro | v3 | iSeq | v3, 600c | v2, Nano | 300c v2, Micro, iSeq
| 600-1200 | 1200 - 1400 | ~ 70 | 70 | 75 | 80 | > 80% |  |  | Laboratories whose MiSeq uses MCS/MSR v 2.6 or earlier should use the coverage values calculated in Column I
| Run Metrics: | 0 |  | 0% |  |  | 0% | 0
Laboratories whose MiSeq software uses LRM/MSR v 3 should use coverage values calculated in Column J
Minimum Coverage: | Escherichia/Shigella | Salmonella | Listeria | Campylobacter | Vibrio
| 40X | 30X | 20X | 20X | 40X
[8 empty] | Coverage (if MSR/MCS v 2.6 or earlier) | Coverage ( if LRM/MSR 3.0 or later)
Index Number | State Key | Project | Index 1 (I7) | Index 2 (I5) | % Reads Identified (PF) | PF Reads | Total # of Reads
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0!
Estimated genome sizes by Genus (species) in bp
Salmonella | 5000000
Escherichia/Shigella | 5000000
Listeria | 3000000
Campylobacter | 1600000
Vibrio parahaemolyticus | 5000000
Vibrio vulnificus | 5000000
Vibrio cholerae | 4000000
62015K-125
2015K-1254