## MiSeq
Library Preparation Using PulseNet Rapid Protocol (1 of 2) # of Listeria: |  |  | 2 | # of non-Campy/Listeria: | 8 | # of Campy | 2
Date: Run ID: Initials:
Tagment DNA
⃝ | 1 | Quantify DNA on Qubit and record on worksheet
⃝ | 2 | Bring BLT & TB1 to room temperature (BLT from fridge & TB1 from freezer) - approx 30 minutes ahead of time
⃝ | 4 | Add 7.5 µl DNA to sample wells
⃝ | 5 | Vortex BLT and TB1 for 10s (ensure suspension)
⃝ | 6 | Prepare tagmentation master mix: 2.5 µl BLT + 2.5 µl TB1 |  |  |  |  | Volume (µl)
Volume of BLT | [6 empty] | 42
Volume of TB1 | [6 empty] | 42
Total | [6 empty] | 84
⃝ | 7 | Vortex master mix well
⃝ | 8 | Add 5 µl of tagmentation master mix to each sample well
⃝ | 9 | Pipette to mix (12.5 µl total volume)
⃝ | 10 | Seal the plate with Microseal B or equivalent
⃝ | 11 | Incubate the plate at 55°C for 15 minutes, followed by 10°C hold ("Flex Tagment")
Add Indexes and Amplify Tagmented DNA
⃝ | 12 | Thaw EPM on ice
⃝ | 13 | Thaw the Indexes at room temperature (spin briefly before use)
⃝ | 14 | Prepare PCR master mix (5 µl EPM + 5 µl H2O for each sample) |  |  |  |  | Volume (µl)
Volume of EPM | [6 empty] | 72
Volume of H2O | [6 empty] | 72
Total | [6 empty] | 144
⃝ | 15 | Vortex and spin the master mix
⃝ | 16 | Remove plate from thermal cycler and place on magnet for 3 minutes or until clear.
⃝ | 17 | Discard supernatent using a single channel pipette
⃝ | 18 | Remove from magnet and immediately add 10 µl of PCR master mix directly to the pellet
⃝ | 19 | Gently pipet to mix
⃝ | 20 | Add 2.5 µl index adapters to each sample
⃝ | 21 | Pipet to mix a minimum of 10x
⃝ | 22 | Ensure the plate is sealed well with Microseal B to prevent evaporation and run the "RapidAmplify" program on the thermal cycler (appoximately 40 minutes)
May stop here and store at 2-8°C for up to 3 days
Library Preparation Using PulseNet Rapid Protocol (2 of 2)
Pool, Size Select and Clean Up Libraries
⃝ | 23 | Bring RSB to room temperature (from freezer) and vortex to mix
⃝ | 24 | Remove the plate from the thermocycler/fridge and centrifuge for 10 s at 280xg
⃝ | 25 | Place on magnet for 3-5 minutes (or until clear)
⃝ | 26 | Transfer 11 µl of supernatant to new wells, and remove plate from magnet |  |  |  |  | Volume (µl)
⃝ | 27 | Pool 1.5 µl Campy, 2 µl Listeria and 4 µl of 5 MB libraries into a single 1.5 ml microcentrifuge tube |  |  | Total volume of pool (µl): |  | 39
⃝ | 28 | Vortex and invert IPB several times
⃝ | 29 | Prepare IPB master mix (5 µl IPB + 5 µl H2O). The calculated volume is enough for both size selection steps
Volume of IPB (µl): | [6 empty] | 78
Volume of H2O (µl): | [6 empty] | 78
Total: | [6 empty] | 156
⃝ | 30 | Vortex IPB master mix well
⃝ | 31 | Add IPB master mix (volume in cell to the right) to the sample pool (bead mm to DNA pool ratio 2x) |  |  | Volume IPB mm (µl): |  | 78
⃝ | 32 | Pipet or quick vortex to mix (complete mixing is critical)
⃝ | 33 | Incubate at room temperature for 5 minutes
⃝ | 34 | Place the tube on the magnet for minimum of 3-5 minutes (or until clear)
⃝ | 35 | While on the magnet, transfer supernatant volume specified on the right into a new tube |  |  | Volume of supernatent to transfer (µl): |  | 102
⃝ | 36 | Vortex IPB mm again and add 0.33x volume of IPB master mix to the DNA pool: |  |  | Volume of IPB MM (µl): |  | 33.66
⃝ | 37 | Pipet or quick vortex to mix (complete mixing is critical)
⃝ | 38 | Incubate at room temperature for 5 minutes
⃝ | 39 | Dilute fresh 80% EtOH:1ml total: 800 µl EtOH + 200 µl H2O
⃝ | 40 | Place the tube on magnet for a minimum of 3-5 minutes (or until clear)
⃝ | 41 | Remove and discard supernatant
⃝ | 42 | Add 400 µl of 80% EtOH and incubate for 30 seconds
⃝ | 43 | Pipet to remove the EtOH
⃝ | 44 | Add 400 µl of 80% EtOH and incubate for 30 seconds
⃝ | 45 | Pipet to remove the EtOH
⃝ | 46 | Remove excess EtOH with pipet, if present
⃝ | 47 | Allow beads to air dry for 3-5 minutes, ensuring beads do not overdry
⃝ | 48 | Remove from magnet and add 32 µl of RSB
⃝ | 49 | Pipet to mix thoroughly
⃝ | 50 | Incubate at room temperature for 2-5 minutes
⃝ | 51 | Place back on the magnet for a minimum of 3-5 minutes (or until clear)
⃝ | 52 | Transfer 27-30 µl of the supernatant to a new well on the plate or a new microcentrifuge tube, taking care not to disturb pellet
May stop here, store at -25°C to -15°C for up to 30 days
Denaturate, Dilute and Load Libraries
⃝ | 53 | Quantify the pool on Qubit - record value on Workbook
⃝ | 54 | (Optional) Determine the average fragment size of the pool
⃝ | 55 | Remove 100 µl of 1M NaOH from the freezer and add 400 µl molecular grade water to dilute to 0.2N working solution. Invert or vortex to mix.
⃝ | 56 | Remove HT1 from the freezer and thaw on ice
⃝ | 57 | Ensure heat block is at 96°C
⃝ | 58 | Calculate Molarity(nM): (pool concentration x 10^6)/(660 g/mol x 1000 bp) - record on workbook
⃝ | 59 | Calculate volume of pool required for 25 µl of 4nM: (4x25/molarity of pool) (workbook will calculate)
⃝ | 60 | Determine volume of RSB needed (25 µl minus volume above) (workbook will calculate)
⃝ | 61 | Dilute appropriately (now have 25 µl of 4 nM pool)
⃝ | 62 | Add 5 µl of pool to microcentrifuge tube
⃝ | 63 | Add 5 µl of diluted NaOH to the tube, vortex briefly and quick spin (now at 2 nM)
⃝ | 64 | Incubate at room temp for 5 minutes
⃝ | 65 | Add 990 µl of chilled HT1 (now 20 pM)
⃝ | 66 | Dilute library to desired loading concentration:
| Desired Final Loading concentration ( recommended 12 pM): | [5 empty] | 12
| Volume of 20 pM library pool: | [5 empty] | 600
| Volume of HT1 buffer: | [5 empty] | 400
⃝ | 67 | Incubate at 96°C for 2 minutes
⃝ | 68 | Immediately place in ice bath for a minimum of 5 minutes, until ready to load
⃝ | 69 | (Optional) Dilute 10 nM PhiX to 2 nM: 1 µl of 10nM + 4 µl of RSB
⃝ | 70 | (Optional) Combine 5 µl of 2 nM PhiX library and 5 µl of 0.2 N NaOH and incubate for 5 minutes
⃝ | 71 | (Optional) Add 490 µl of pre-chilled HT1 to obtain 20 pM of denatured PhiX library
⃝ | 72 | (Optional) For v2 sequencing reagents, dilute PhiX to 12.5 pM: 62.5 µl of 20 pM denatured PhiX library + 37.5 µl of pre-chilled HT1
⃝ | 73 | (Optional) Spike in PhiX
⃝ | 74 | Load the PR1 buffer, clean and load the flow cell
⃝ | 75 | Invert the thawed cartridge approximately 10x to mix then tap to bring reagents to the bottom of the wells
⃝ | 76 | Use a clean pipet tip to pierce the foil of the "Load Samples" reservoir on the cartridge
⃝ | 77 | Use a new pipet tip to load 600 µl of pooled, denatured libraries into the "Load Sample" reservoir and load onto the MiSeq
| v1 | 2024-01-24