Candida auris Screening/Testing Laboratory Resources:

An overall laboratory fact sheet is available from the Centers for Disease Control and Prevention (CDC) Candida auris: A drug-resistant fungus that spreads in healthcare facilities - A CDC message to laboratory staff

Screening

The CDC website provides molecular and culture-based options for C. auris screening methodologies. Identification of Candida auris | Candida auris | Fungal Diseases | CDC

An important note is that screening only by molecular methods provides a rapid sample to answer mechanism but may fail to provide more detailed information without a follow-up enrichment culture isolation method that would allow further susceptibility testing and whole genome sequencing. This may reduce the ability to fully characterize findings and may have limited utility in certain circumstances.

Culture Identification

Automated identification platforms routinely mis-identify C. auris. The preferred method for      identification is matrix-assisted laser desorption/ionization time of flight (MALDI-TOF). A list of common mis-identifications per platform along with recommended testing algorithms can be found on the CDC website Identification of Candida auris | Candida auris | Fungal Diseases | CDC

The state public health laboratory is validated for isolate identification of C. auris. Any identified or suspected C. auris are required to be submitted to the state public health laboratory. More information can be found on the state public health laboratory website testing menu under Fungal Culture Referred for Identification link.

Antifungal Susceptibility Testing

Currently no established breakpoint interpretation criterion exists for C. auris susceptibility testing. CDC does offer interpretation guidelines based upon susceptibility data of other Candida species. Antifungal Susceptibility Testing and Interpretation | Candida auris | Fungal Diseases | CDC

C. auris susceptibility testing should be conducted following Clinical Laboratory Standards Institute (CLSI) M27Ed4: Broth Dilution Antifungal Susceptibility, Yeasts (clsi.org). Susceptibility testing can have variability, especially with amphotericin B testing AST News Update June 2022: Hot Topic (clsi.org). Isolates submitted to state public health lab are forwarded on to the xxxx Antimicrobial Resistance Laboratory Network Regional Laboratory for further susceptibility testing (link to xxxx ARLN regional lab provided here). CDC is currently performing whole genome sequencing.

Resources for Method Validation and Laboratory Safety

The CDC has provided additional information on PCR https://www.cdc.gov/fungal/candida-    auris/pdf/Real-time-PCR-based-Id-C-auris-508.pdf and culture methods https://www.cdc.gov/fungal/candida-auris/c-auris-guidance.html

Reference isolates for validations are available from American Type Culture Collection https://www.atcc.org/ and AR Isolate Bank Overview | Antimicrobial Resistance Isolate Bank | Antibiotic/Antimicrobial Resistance | CDC

Laboratory safety resources are available through CDC Safety Considerations When Working with Known or Suspected Isolates of Candida auris | Candida auris | Fungal Diseases | CDC

Additional non Antimicrobial Resistance Laboratory Network Laboratories Offering Candida auris Testing Services:

Disclaimer: The provided list is not all inclusive and additional laboratories may be available. The list above is provided for educational purposes and does not reflect preferences or recommendations of State Public Health Department. State public Health Department does not assume liability or responsibility for any representations made by a laboratory regarding capabilities.