## Slide 2: WSLH AST Surveillance Projects and Detection of Emerging Resistance Patterns in the Public Health Laboratory
Tim Monson, M.S.
Dave Warshauer, Ph.D.
Wisconsin State Laboratory of Hygiene
Challenges in Antimicrobial Susceptibility Testing Conference- 2012
May 10,2012 Lake Delton, WI

## Slide 3: Objectives
Discuss emerging antimicrobial resistance and the mechanisms responsible for the resistance
Become aware of AST surveillance activities and target organisms for WSLH and other Public Health Laboratories
Compare and contrast WI resistance data to available national resistance data
Discuss the future of AST testing and the partnering of clinical laboratories and PHL

## Slide 4: http:\www.sodahead.com

## Slide 5: Question
A “Superbug” is defined as:
The ’75 souped-up VW Beetle you cruised around in while in college
The star performer in a flea circus
Pandemic influenza
A strain of bacteria resistant to most available antibiotics for its treatment
All of the above

## Slide 6: Emerging “Superbugs”
Staphylococcus aureus
Streptococcus pneumoniae
Enterococcus species
Acinetobacter baumannii
Klebsiella pneumoniae
Pseudomonas aeruginosa
NDM-1 and ESBL Enterobacteriaceae
MDR- and XDR-TB

## Slide 7: Resistance Mechanisms
Alteration of antibiotic binding site(s)
  Penicillin binding protein (PBP)
Modification/ inactivation of antibiotic
  Production of enzymes
Changes in metabolic pathways
  Ability to utilize alternative synthetic precursors than those affected by antibiotics
Adaptations in bacterial cell surfaces
  Decrease in permeability
  Use of efflux/reflux pumps

## Slide 8: Resistance Mechanisms http://www.estacaobr.net/superbacteria-kpc-veja-quais-sao-os-sintomas.html

## Slide 9: Responses to Emerging Resistance

## Slide 10: WHO- Critical Antibiotics
Evolving Threat of Antimicrobial Resistance- Options for Action, WHO, 2012

## Slide 11: Emerging Resistance
WHO Strategies to combat emerging antimicrobial resistance:
  Antimicrobial resistance surveillance
  Rational antimicrobial use and regulation
  Regulated antimicrobial usage in animal husbandry
  Effective infection control and prevention
  Fostering innovations in antimicrobial development
  Political involvement and commitment

## Slide 12: Burden of Antimicrobial Resistance
Estimated costs of $18,588 to $29,069 per patient, hospital stays extended between 6.4 to 12.7 days, and an attributable mortality of 6.5% in infections caused by resistant organisms (Clin. Infect. Dis. 2009; 49:1175-84)
$20 billion/ yr in excess healthcare costs and an additional 8 million days of hospitalization for those infected by resistant organisms (CDC)

## Slide 13: Question
Which of the following organisms is/are reportable to WI public health officials?
VRE
VISA
VRSA
KPC-positive Enterobacteriaceae
Both B and C

## Slide 14: Staphylococcus aureus
VRSA
  All isolates to date have possessed vanA
  Thought to have been obtained from VRE via plasmid- or transposon-mediated DNA transfer
  When VRSA is suspected, CDC requests retention of all VRSA, MRSA and VRE isolates from that patient
  WDPH and WSLH request submission of all VRSA to WSLH for confirmation (by E Test) and forwarding to CDC

## Slide 15: VRSA- U.S. Historical Cases
Case | State | Year | Age | Source | Diagnosis | Underlying Conditions
1 | MI | 2002 | 40 | Plantar ulcers and Catheter tip | Plantar soft tissue infection | Diabetes, dialysis
2 | PA | 2002 | 70 | Plantar ulcer | Osteomyelitis | Obesity
3 | NY | 2004 | 63 | Urine from a nephrostomy tube | No infection | Multiple sclerosis, Diabetes, kidney stones
4 | MI | 2005 | 78 | Toe wound | Gangrene | Diabetes, vascular disease
5 | MI | 2005 | 58 | Surgical site wound after panniculectomy | Surgical site infection | Obesity
6 | MI | 2005 | 48 | Plantar ulcer | Osteomyelitis | MVA, chronic ulcers
7 | MI | 2006 | 43 | Triceps wound | Necrotizing fasciitis | Diabetes, dialysis, chronic ulcers
8 | MI | 2007 | 48 | Toe wound | Osteomyelitis | Diabetes, obesity, chronic ulcers
9 | MI | 2007 | 54 | Surgical site wound after foot amputation | Osteomyelitis | Diabetes, hepatic encephalopathy
10 | MI | 2009 | 53 | Plantar foot wound | Plantar soft tissue infection | Diabetes, obesity, lupus, rheumatoid arthritis
11 | DE | 2010 | 64 | Wound drainage | Prosthetic joint infection | Diabetes, end-stage renal disease, dialysis
12 | DE | 2010 | 83 | Vaginal swab | Vaginal discharge | Chronic recurrent C. difficile infection, chronic UTIs, vesicoenteric fistula
http://www.cdc.gov/HAI/settings/lab/vrsa_lab_search_containment.html

## Slide 16: Staphylococcus aureus
VISA
  NOT detected by disk diffusion; non-automated MIC methods such as E Test, Agar Dilution and Broth Microdilution are best (CDC)
  Vanco Screen Agar Test adequate for MIC= 8mcg/ml; more data needed to assess ability to adequately detect isolates with MIC= 4 mcg/ml
  WDPH and WSLH request submission of all VISA to WSLH for confirmation (by E Test) and forwarding to CDC

## Slide 17: CDC VISA/VRSA Algorithm

## Slide 18: Staphylococcus aureus
MRSA
  Responsible for >90,000 invasive infections each year in the U.S. (JAMA. 2007 Oct 17;298(15):1763-71)
  Almost 19,000 fatal infections in the U.S., 369,000 total hospitalizations and costs the healthcare system billions of dollars each year (“Superbug: The Fatal Menace of MRSA”, 2011, Maryn McKenna)
  Hospital-acquired (HA-MRSA) or Community-acquired (CA-MRSA)

## Slide 19: Staphylococcus aureus
HA-MRSA
  USA100 most commonly seen among isolates PFGE-subtyped at WSLH
  USA500 a distant second most common PFT
CA-MRSA
  USA300 predominates among CA-MRSA isolates PFGE-subtyped at WSLH and Marshfield Clinic
  USA400 a distant second most common PFT

## Slide 20: USA 300 MRSA Antibiogram 2010-2011 WSLH and Marshfield Clinic Data- WDPH HAI Program
Agent | Number (%) Susceptible | 95% Confidence Interval
Clindamycin | 140 (95%) of 147 | 90-98%
Erythromycin | 8 (5%) of 151 | 2-10%
Tetracycline | 146 (99%) of 147 | 92-100%
TMP/SMX | 150 (99%) of 151 | 96-100%
Rifampin | 151 (100%) of 151 | 97-100%
Vancomycin | 151 (100%) of 151 | 97-100%

## Slide 21: Staphylococcus aureus
WSLH MRSA Studies
  Cefoxitin screen superior to Oxacillin screen-ease of reading and higher sensitivity (JCM, 2009, p. 217–219 Vol. 47, No. 1)
  D Test (Clindamycin Disk Induction Test) used on isolates that test resistant to Erythomycin but susceptible to Clindamycin; detects inducible R
Mechanism | Determinant | Erythro | Clinda
Efflux Pump | msrA | R | S
Ribosome Altered | erm | R | S*
Ribosome Altered | erm | R | R (constitutive)

## Slide 22: Does your laboratory perform AST on S. pneumoniae isolates?
A. YES
B. NO
C. NO, SEND TO REFERENCE LAB
D. DON’T HAVE A CLUE

## Slide 23: DOES YOUR LABORATORY PERFORM…
A. DISK DIFFUSION ONLY
B. DISK DIFFUSION PLUS E-TEST
C. ETEST ONLY
D. AUTOMATED SYSTEM
E. AUTOMATED SYSTEM PLUS ETEST OR DISK DIFFUSION

## Slide 24: Streptococcus pneumoniae Suggested Antimicrobials to Test
Group A
  Penicillin
  Erythromycin
  Trimeth/sulfa
Group B
  Cefotaxime
  Ceftriaxone
  Clindamycin
  Levofloxacin
  Moxifloxacin
  Ofloxacin
  Meropenem
  Tetracycline
  Vancomycin
Group C
  Amoxacillin
  Amox/Clav
  Cefuroxime
  Chloramphenicol
  Linezolid
  Ertapenem
  Imipenem
  Rifampin
CLSI M100-S22, 2012

## Slide 25: S. Pneumoniae Test Methods
Inoculum: Direct colony suspension
Incubation: 35C + 2; 20-24 hours
Disk Diffusion – CO2
Broth Dilution – O2
Media: Disk Diffusion – MHA with 5% sheep blood
Broth Dilution – CAMHB with lysed horse blood

## Slide 26: S. Pneumoniae Oxacillin Disk Test
1 ug Oxacillin disk
Interpretation
  >20 mm---Report “S” to penicillin, cefotaxime/ceftriaxone, other β-lactams
  <19 mm---Perform MICs for penicillin and cefotaxime/ceftriaxone
    Usually “R” or “I”, but some are “S” by MIC
Read the upper surface of the agar with reflected light
and cover removed. Zone margin is visible growth with
unaided eye.

## Slide 27: DOES YOUR LABORATORY USED THE OXACILLIN SCREEN?
A. YES
NO
I DON’T KNOW

## Slide 28: IF OXACILLIN ZONE SIZE IS <19MM, DOES YOUR LABORATORY FOLLOW UP WITH AN MIC METHOD?
A. YES
B. YES, REFER TO REFERENCE LAB
C. NO
D. YOU TELL ME

## Slide 29: S. Pneumoniae Etest
Inoculum: Direct colony suspension
0.5 McFarland
Medium: MHA with 5% sheep blood
Incubation: 35C + 2; 20-24 hours
CO2

## Slide 30: S. Pneumoniae Etest

## Slide 31: S. pneumoniae Meningitis and Non-Meningitis Breakpoints
For CSF isolates, report only meningitis interpretations.
For all isolates other than those from CSF, report interpretations for both meningitis and nonmeningitis.

## Slide 32: S. pneumoniae Meningitis and Non-Meningitis Breakpoints
For CSF isolates, report only meningitis interpretations.
For all isolates other than those from CSF, report interpretations for both meningitis and nonmeningitis.

## Slide 33: DOES YOUR LABORATORY…
A. Report both mening and non- mening interpretations for blood isolates
B. Report only the non-mening interpretations
C. Report only the mening interpretations
D. You’ll have to ask my supervisor

## Slide 34: Antimicrobials NOT to Report for CSF isolates
Agents administered by oral route only
1st- and 2nd-generation cephalosporins
  Except cefuroxime parenteral
Cephamycins
Clinidamycin
Macrolides
Tetracyclines
Fluoroquinolones
CLSI M100-S20. pp. 35.

## Slide 35: CDC Invasive Bacterial Surveillance Program
Streptococcus pneumoniae
Neisseria meningitidis
Haemophilus influenzae
Group A Strep
Group B Strep
MRSA

## Slide 36: DOES YOUR LABORATORY SUBMIT ISOLATES TO WSLH?
A. YES
B. NO
C. DON’T KNOW

## Slide 37: WARN
Wisconsin Antibiotic Resistance Network
  Education to improve antimicrobial prescribing in Wisconsin
    Clinicians
    The general public
    Parents of young children
  Laboratory Surveillance
    Labs submit invasive S. pneumoniae isolates to WSLH for AST

## Slide 38: Demographics of Patients with Invasive Strep. pneumoniae Infections

## Slide 39: Wisconsin Susceptibility Data 2010: β-lactams
Invasive S. pneumoniae (n=399)

## Slide 40: Wisconsin Susceptibility Data 2010
Susceptible
Intermediate
Resistant
Total
Non-Suscept
Invasive S. pneumoniae (n=399)

## Slide 41: Temporal Trends in Invasive S. pneumo. Resistance

## Slide 42: Invasive S. pneumo. Pen Susceptibility by Region, 2010

## Slide 44
Chart: Antibiotic Nonsusceptible Invasive Pneumococcal Disease, Children 0-4 Years Old
Not susceptible to 1 or more antibiotics | 41.2055 | 42.1647 | 33.2878 | 18.2613 | 8.1727 | 7.9998 | 8.5173 | 8.5635 | 8.6942 | 9.3827 | 9.0703 | 10.359
Not susceptible to 3 or more antibiotics | 20.9989 | 24.9352 | 21.0496 | 9.1648 | 3.5206 | 2.8871 | 3.2669 | 3.8821 | 4.8726 | 4.8664 | 5.2084 | 5.824

## Slide 45
Chart: Antibiotic Nonsusceptible Invasive Pneumococcal Disease, Children 0-4 Years Old
| 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
Cotrimoxazole | 38.7292 | 39.221 | 31.4112 | 16.9618 | 6.9783 | 6.7366 | 6.8255 | 7.1362 | 7.5796 | 8.0095 | 7.2468 | 8.9269
Erythromycin | 22.98 | 27.9655 | 22.763 | 10.6695 | 4.9665 | 5.0525 | 5.0754 | 6.1086 | 6.7675 | 7.188 | 7.5665 | 8.3541
Not susceptible to 3 or more antibiotics | 20.9989 | 24.9352 | 21.0496 | 9.1648 | 3.5206 | 2.8871 | 3.2669 | 3.8821 | 4.8726 | 4.8664 | 5.2084 | 5.824
Meropenem | 20.4046 | 24.8486 | 20.4785 | 9.0965 | 2.9548 | 3.3082 | 3.3836 | 3.825 | 4.1688 | 4.5695 | 5.1154 | 5.3943
Penicillin | 10.8957 | 12.9005 | 11.0959 | 5.8135 | 1.9489 | 1.6842 | 2.2752 | 2.8545 | 3.9522 | 4.1074 | 4.3694 | 4.5828
Tetracycline | 9.2118 | 8.9178 | 5.8743 | 4.2405 | 2.3261 | 1.9248 | 2.3335 | 3.0829 | 3.8439 | 4.1074 | 4.5825 | 5.0602
Cefotaxime | 8.4194 | 8.8312 | 8.3219 | 3.5565 | 1.3202 | 1.1428 | 2.0418 | 2.3978 | 3.2484 | 3.44 | 3.7833 | 3.819
Levofloxacin | 0 | 0.086581 | 0 | 0 | 0 | 0.060149 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 46: Neisseria meningitidis- WSLH Resistance Surveillance
WSLH surveillance (E Test)
  Penicillin
  Azythromycin
  Rifampin
  Minocycline
  Ciprofloxacin
  Ceftriaxone

## Slide 47: Routine AST by clinical laboratories is not necessary
WORK SAFELY!

## Slide 48: Antibiotics with CLSI Interpretations
For N. meningitidis treatment:
  Penicillin--------MIC only
  Ampicillin-------MIC only
  Cefotaxime/Ceftriaxone----”S” only
  Meropenem-------------------”S” only
  Choramphenicol---DD or MIC

## Slide 49: Antibiotics with CLSI Interpretations
For Prophylaxis of N. meningitidis contacts
  Rifampin----DD and MIC
  Ciproloxacin---DD and MIC
  Levolfloxacin---MIC only
  Minocycline—”S” only
  Azithromycin---”S” only
  Sulfisoxazole---MIC only
  SXT---Predictive for sulfonamides

## Slide 50: N. meningitidis AST Methods
Broth microdilution
  CAMHB with 2-5% lysed horse blood
  Incubate 35C in 5% CO2 20-24 hr
Agar dilution
Disk diffusion
E-test

## Slide 51: N. meningitidis AST Procedures
Direct colony suspension in saline of overnight growth from Choc agar
CAMHB with 2-5% lysed horse blood for broth dilution
MHA supplemented with 5% sheep blood for agar dilution, DD, and E-test
Incubate 35C in 5% CO2 20-24 hr

## Slide 52
CDC ABC 2010 Data
Antibiotic | Interpretation | N(%) | MIC50 µg/mL | MIC90 µg/mL
Ceftriaxone | Susceptible | 80 (100) | ≤0.015 | ≤0.015
 | Non Susceptible | 0 |  | 
Cefotaxime | Susceptible | 80 (100) | ≤0.015 | ≤0.015
 | Non Susceptible | 0 |  | 
Meropenem | Susceptible | 80 (100) | ≤0.015 | ≤0.015
 | Non Susceptible | 0 |  | 
Ciprofloxacin | Susceptible | 80 (100) | ≤0.008 | ≤0.008
 | Intermediate | 0 |  | 
 | Resistant | 0 |  | 
Penicillin | Susceptible | 66 (82.5) | 0.06 | 0.12
 | Intermediate | 13 (16.25) |  | 
 | Resistant | 1 (1.25) |  | 
Ampicillin | Susceptible | 68 (85) | 0.06 | 0.25
 | Intermediate | 11 (13.75) |  | 
 | Resistant | 1 (1.25) |  | 
Rifampin | Susceptible | 80 (100) | 0.06 | 0.25
 | Intermediate | 0 |  | 
 | Resistant | 0 |  | 
Azithromycin | Susceptible | 80 (10) | 0.25 | 0.5
 | Non Susceptible | 0 |  | 
Minocycline | Susceptible | 80 (100) | 0.25 | 0.25
 | Non Susceptible | 0 |  | 
Chloramphenicol | Susceptible | 79 (98.75) | 1 | 1
 | Intermediate | 1 (1.25) |  | 
 | Resistant | 0 |  | 
Courtesy of
Amanda Cohn
CDC

## Slide 53: Resistance to Ciprofloxacin
2007/2008---4 cases of N. meningitidis R to Cipro
  2 cases of meningitis in MN
  1 case of meningitis in N. Dakota
  1 pt from CA with pneumonia
    Blood isolate R to Cipro
WI has not seen any non-susceptible N. meningitidis isolates other than sporadic Penicillin intermediate/resistance to date

## Slide 54: Question
“NARMS” stands for:
A. National Antimicrobial Resistance Monitoring and Surveillance Network
B. Nuclear ARMS race
C. Not Able to Read any More Slides
D. Not Answering, Really need More Sleep
E. All of the above

## Slide 55: NARMS
National Antimicrobial Resistance Monitoring and Surveillance Network
Annual national surveillance for antimicrobial resistant enteric pathogens
Use Sensititre® broth microdilution method (Trek Diagnostics)
Target enteric bacterial pathogens implicated in foodborne diseases

## Slide 56: NARMS
Standard Antimicrobial Test Panel:
Amikacin
Ampicillin
Amoxicillin-clavulanic acid
Cefoxitin
Ceftiofur
Ceftriaxone
Cephalothin
Chloramphenicol
Ciprofloxacin
Gentamicin
Kanamycin
Nalidixic acid
Streptomycin
Sulfisoxazole
Trimethoprim-Sulfamethoxazole
Tetracycline

## Slide 57: NARMS
Resistance Phenotypes of Interest:
  Pan resistance to NARMS panel
  Elevated MIC for Ceftriaxone or Ceftiofur
  Elevated MIC for Ceftriaxone and/ or Ceftiofur with elevated MIC to Nalidixic Acid and/ or Ciprofloxacin
  Fluoroquinolone resistance
  Amikacin resistance
  Macrolide resistance (Shigella)

## Slide 58: NARMS
Receive every 5th isolate of Salmonella, Shigella and E. coli O157:H7 from participants
Receive every 5th , 2nd or every Campylobacter isolate from FoodNet (enhanced foodborne disease surveillance) sites
Receive every S. Typhi, S. Paratyphi A-C, or Vibrio (cholerae and non-cholerae)

## Slide 59: Question
Which of the following organisms has different reporting criteria depending upon site of infection?
A. Salmonella
B. Shigella
C. E. coli
D. Campylobacter
E. All of the above

## Slide 60: Clinically Relevant Antibiotics-Salmonella
Intestinal infections
  Ciprofloxacin
  Ampicillin
  SXT
Extraintestinal infections
  Ciprofloxacin
  Ampicillin
  SXT
  Ceftriaxone (third generation cephalosporin)
  Chloramphenicol (if requested)

## Slide 61: Salmonella Resistance
Resistance of interest (2002-2010 WI):
  49% S. Typhi resistant to Nalidixic Acid; No Ciprofloxacin resistance detected
  3% non-typhoidal Salmonella resistant to Nalidixic Acid; No Ciprofloxacin resistance detected
  12% non-typhoidal Salmonella resistant to Ampicillin
  8% non-typhoidal Salmonella resistant to Ceftriaxone

## Slide 62: Salmonella Resistance- Amp WI vs NARMS National Data
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
Column1
WSLH | 19 | 4 | 16 | 7 | 12 | 11 | 6
NARMS | 14 | 12 | 11 | 11 | 10 | 10 | 10

## Slide 63: Salmonella Resistance- Cipro WI vs NARMS National Data
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
WSLH | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARMS | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Series 3

## Slide 64: Salmonella Resistance- SXT WI vs NARMS National Data
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
WSLH | 0 | 2 | 3 | 0 | 0 | 0 | 3
NARMS | 15 | 13 | 13 | 12 | 12 | 10 | 10
Series 3

## Slide 65: Salmonella Resistance- Chlor WI vs NARMS National Data
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
WSLH | 13 | 7 | 13 | 7 | 12 | 9 | 3
NARMS | 10 | 8 | 8 | 6 | 7 | 6 | 6
Series 3

## Slide 66: Shigella sp. Resistance
Routinely reportable antimicrobials
  Ampicillin
  Ciprofloxacin (fluoroquinolone)
  SXT
Treatment not normally recommended but may be employed to shorten duration if illness or decrease infectious shedding in daycares or schools
MDR strains of Shigella have been on the rise in the U.S. (Amp + SXT)

## Slide 67: Shigella sp. Resistance
Resistance of interest (2002-2010- WI)
  60% of Shigella sp. resistant to Ampicillin
  30% of Shigella sp. resistant to SXT
  1% of Shigella sp. resistant to Ceftriaxone
  No Ciprofloxacin resistance detected
8% of WI Shigella sp. isolates (2002-2010) were Ampicillin and SXT resistant (MDR)

## Slide 68: Shigella Resistance- Amp WI vs NARMS National Data
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
WSLH | 93 | 78 | 74 | 64 | 78 | 57 | 51
NARMS | 79 | 78 | 71 | 62 | 64 | 62 | 46
Series 3

## Slide 69: Shigella Resistance- Cipro WI vs NARMS National Data
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
WSLH | 0 | 0.7 | 0 | 0.4 | 0.1 | 0.1 | 1
NARMS | 0 | 0 | 0 | 0.2 | 0.2 | 0.7 | 0.6
Series 3

## Slide 70: Shigella Resistance- SXT WI vs NARMS National Data
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
WSLH | 59 | 20 | 29 | 32 | 10 | 23 | 30
NARMS | 39 | 47 | 53 | 46 | 26 | 31 | 40
Series 3

## Slide 71: Campylobacter AST Testing
WSLH tests every 10th Campylobacter isolate received or recovered
E Test method
  Ciprofloxacin
  Erythromycin
  Tetracycline
MHSBA plates; 1.0 McFarland turb. std.
Microaerophilic growth for 24 hr at 42⁰C

## Slide 72: Campylobacter AST- WI
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
Cipro | 39 | 11 | 12 | 16 | 3.5 | 6 | 18
Erythro | 2 | 3 | 4 | 0 | 2 | 3 | 0
Tetra | 57 | 56 | 54 | 33 | 3 | 58 | 59

## Slide 73: Campy Resistance- Cipro WI vs NARMS FoodNet Sites
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
WSLH | 39 | 11 | 12 | 16 | 3.5 | 6 | 18
NARMS | 18 | 19 | 22 | 20 | 26 | 23 | 23
Column1

## Slide 74: Campy Resistance- Erythro WI vs NARMS FoodNet Sites
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
WSLH | 2 | 3 | 4 | 0 | 2 | 3 | 0
NARMS | 1 | 0.5 | 2 | 2 | 2 | 3 | 2

## Slide 75: Campy Resistance- Tetra WI vs NARMS FoodNet Sites
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
WSLH | 57 | 56 | 54 | 33 | 3 | 58 | 59
NARMS | 38 | 46 | 41 | 46 | 44 | 44 | 44
Column1

## Slide 76: Escherichia coli O157:H7 Resistance
Chart: 
| Tetracycline | Sulfisoxazole | Streptomycin
WI NARMS | 3.4 | 1.1 | 1.1
National NARMS | 4.7 | 4 | 2.3

## Slide 77: Escherichia coli

## Slide 78: Does your laboratory perform genital cultures for Neisseria gonorrhoeae?
A. YES
B. YES, but rarely have a positive
C. Refer to a reference lab
D. NO
E. I don’t know…I can’t even spell “gonorrhoeae”

## Slide 79: Antibiotic Resistance in GC
1970s and 80s
  Resistance to penicillin and tetracycline
1999
  Fluoroquinolone resistance
  Asia Hawaii western states rest of the US
  2007 FQs no longer recommended

## Slide 80: Neisseria gonorrhoeae
Chromosomal and/or plasmid-mediated resistance
  Penicillins
  Tetracyclines
Chromosomal- mediated resistance
  Azithromycin (emerging)
  Fluoroquinolones (emerging)
  Spectinomycin

## Slide 81: Current Recommended Therapy for GC Infections
Ceftriaxone (250mg IM) plus azithromycin or doxycycline

## Slide 82: Emergence of Increased Cephalosporin MICs in GC

## Slide 83
Ceftriaxone

## Slide 84
Cefixime

## Slide 85: City of Milwaukee Health Department Laboratory
No resistance seen to ceftriaxone, cefixime, or spectinomycin

## Slide 86: Surveillance for Resistance GISP Laboratories

## Slide 87: Neisseria gonorrhoeae
“Antimicrobial resistance in N. gonorrhoeae is the most significant challenge to controlling gonorrhea.”
“It is of great importance to perform laboratory surveillance of antimicrobial
resistance in N. gonorrhoeae in order to assess the effectiveness of locally recommended therapies.”
Manual for Identification and Antimicrobial Susceptibility Testing, WHO, 2002

## Slide 88: Neisseria gonorrhoeae
Milwaukee Health Department Laboratory (MHDL)
  Voluntary submission of GC susceptibility testing data to CDC for national surveillance
  Follow CLSI guidelines for AST testing
  Culture collected at the Milwaukee Sexually Transmitted Disease Clinic and tested in parallel with a molecular diagnostic assay
Gonorrhea Isolate Surveillance Project
  Resistance monitoring at regional sites in U.S.

## Slide 89: Neisseria gonorrhoeae
Chromosomal and/or plasmid-mediated resistance
  Penicillins
  Tetracyclines
Chromosomal- mediated resistance
  Azithromycin (emerging)
  Fluoroquinolones (emerging)
  Spectinomycin

## Slide 90: Neisseria gonorrhoeae
MHDL

## Slide 91: NDM-1 Metallo-Beta- Lactamases
“Indian Superbug”
Discovered in 2008 in Sweden; patient had traveled to New Dehli, India; developed K. pneumoniae UTI found to be resistant to all carbapenems
“New Dehli Metallo-beta-lactamase” enzyme responsible (blaNDM-1 gene)
Plasmid-mediated transfer

## Slide 92: NDM-1 Metallo-Beta- Lactamases
Discovered in the U.S. in 2010
  IL, MA and CA
  E. coli, E. cloacae and K. pneumoniae
  All three patients had history of travel to South Asia
Confer resistance to all carbapenems except aztreonam (monobactam)
  However all three 2010 isolates had also developed resistance to aztreonam as well

## Slide 93: NDM-1 Metallo-Beta- Lactamases
MMWR; June 25, 2010 / 59(24);750
  Clinicians should be aware of carbapenem- resistant Enterobacteriaceae in patients with history of travel to India or Pakistan
  All carbapenem-resistant Enterobacteriaceae should be forwarded to state public health laboratories for shipment to CDC for further studies
  Infection control measures should be taken to avoid further transmission

## Slide 94: Metallo-Beta-Lactamases
Evolving Threat of Antimicrobial Resistance- Options for Action, WHO, 2012

## Slide 95: ESBL-Producing GNR
Isolated in mid-1980’s in Western Europe
Plasmid-mediated enzymes which hydrolyze third generation cephalosporins and monobactams
Do not affect carbapenems or cephamycins
Found in a variety of Enterobacteriaceae
  K. pneumoniae, K. oxytoca and E. coli commonly implicated

## Slide 96: ESBL-Producing GNR
Three groups of ESBL-producing isolates
  TEM
  SHV
  CTX-M
If found, all cephalosporins, penicilins and aztreonam should be reported as resistant
NCCLS standards only available currently for screening of K. pneumoniae, K. oxytoca, E. coli and P. mirabilis

## Slide 97: Acinetobacter baumannii
Global emerging MDR pathogen
Have developed/obtained numerous antibiotic resistant mechanisms
Increasingly seen in wound infections in U.S. soldiers returning from overseas
May survive up to 5 months on environmental surfaces (BMC Infect. Dis. 6: 130. 2006)

## Slide 98: Summary
Antimicrobial resistance is an emerging global public health threat
Microorganisms are continually evolving to produce new mechanisms of resistance
It is critical that clinicians, infection control practitioners, clinical and public health laboratorians and pubic health officials partner to effectively respond to the growing threat of antibiotic resistance

## Slide 99: Summary
Please continue to submit isolates for the invasive bacterial surveillance program
Clinical laboratories are a vital part of public health
The World Health Organization and the Centers for Disease Control and Prevention recognize the significant threat of resistant microorganisms and are taking the lead in responding to this global threat

## Slide 100: Acknowledgements
City of Milwaukee Health Department Laboratory
  Sanjib Bhattacharyya, Deputy Lab Director
Centers for Disease Control and Surveillance
  Amanda Cohn, MeningNet Program
  Allison O’Donnell, NARMS Surveillance
Wisconsin Division of Public Health
  Gwen Borlaug, HAI Program

## Slide 101: Acknowledgements
WSLH Bacteriology Unit
  Mike Rauch
  Ann Valley
  Jared Shelerud
  Kristin Gundlach
  Holly Oxley
WDPH
  Susann Ahrabi-Fard, Invasive Diseases
  Anna Kocharian, Invasive Diseases

## Slide 102: Questions/ Comments?