Hawaii Department of Health STATE LABORATORIES DIVISION Public Health LABORATORY TRAINING INTERNSHIP

Welcome to the State Laboratories!

Public health laboratories are an interesting and dynamic place to practice all forms of lab science. Your time spent in our lab should be an enjoyable and educational experience.

A primary objective of this training program is to introduce the student to the world of public health laboratories, which is different, but complimentary to clinical laboratories.    During your brief internship you will be exposed to selected aspects of the State Laboratories Division (SLD). You may handle specimen, work with selective media, report results, and assist SLD staff in testing of samples. After completing the internship, you will be able to describe the differences between population-based testing and individual patient testing and list the CLIA requirements for this type of laboratory testing.

Laboratory Information

Hawaii Department of Health, State Laboratories Division

Training Facility

2725 Waimano Home Road

Pearl City, HI

Administration  (808) 453-6652

Regular Lab Hours		Internship Lab Hours

7:45 to 17:15		 	To be arranged with mentor.

Orientation

1. Introduction to Dr. Whelen, Kent Kitagawa, Gail Kunimoto, Rebecca Sciulli, Robert Ueki, Remie Gose, and other SLD staff.

2. Walk through tour of lab:

- where to get clean lab coats, put dirty ones and wash up area

- various benches, incubators, fridges, store room

- bathroom and staff room facilities

- library

- overview of safety rules e.g. no open toe or open heel shoes, fire alarm

pulls, stairway exits, fire extinguishers, eye wash / shower stations.

Competencies and Objectives

Please refer to objectives checklist and insure all tasks initialed.

Education

This is a 14 week training internship in a CLIA licensed public laboratory for undergraduate students. The schedule may change based on testing demands and time limits.

Evaluations

Students will have a learning assessment at the end of the internship.

Each student will be evaluated by a technologist / microbiologist working as their mentor in the area that the student is assigned.

Students will also regularly meet with project managers to discuss ideas for improvement of internship and problem areas.

## Hawaii Department of Health STATE LABORATORIES DIVISION

## Public Health Laboratory Performance Objectives

Upon completion of the Public Health Laboratory Internship at the Hawaii Department of Health State Laboratories Division, the student will be able to:

Instr	  Student         Quality Management and Regulatory Practices

Describe departmental protocol and safe work practices. (10 hours – mostly reading)

Understand the basis of the public health laboratory system (10 hours)

Demonstrate how to wear personal protective equipment (PPE) and list when 				required. (5 hours)

Demonstrate how to dispose of contaminated materials according to standard 				precautions. (10 hours)

Demonstrate how to properly decontaminate a biosafety cabinet (4 hours)

Describe the safety procedures for handling chemicals according to safety 					procedures. (2 hours)

List criteria for evaluating specimens and requisitions for acceptability using 				laboratory protocol. (2 hours)

Describe or list or outline the steps for proper specimen handling to 					microbiological specimens in regard to timeliness, appropriateness of specimen 				submitted for analysis requested, safety and security of collection system, and 				completeness of essential patient information, to the satisfaction of the clinical 				instructor. (5 hours)

Document rejected specimens according to laboratory's procedures for specimen 				rejection. (1 hour)

Explain specimen collection systems, storage conditions, and acceptable lengths of 			storage. (1 hour)

Accurately record temperatures of laboratories, incubators, and water baths. (5 hours)

State the proper incubation temperature and atmosphere conditions for specified 				cultures. (1 hour)

State the purpose of quality systems in the microbiology laboratory. (2 hours)

Describe QC procedures (stains, media, biochemical tests, antisera) (2 hours)

Record any QC results with 100% accuracy. (1 hour)

Identify divergent results to instructor and suggest corrective actions. (2 hours)

Outline the steps in basic laboratory computer operations where relevant. (3 hours)

List patient confidentiality responsibilities, HIPAA requirements, and 					Public Health exclusions. (2 hours)

______  _____            Describe why instrument manuals, procedure standard operating procedures (SOPs), and  protocols should be routinely updated. (4 hours)

______  _____            Explain the purpose of Clinical Laboratory Improvement Amendments (Title 42 Part 493) (5 hours)

______  _____            Describe of categories of tests by complexity (1 hour)

______  _____            List the categories of laboratories performing CLIA regulated tests (1 hour)

______  _____            Describe proficiency testing purpose and requirements (1 hour)

______  _____            List the principles of pre-analytic, analytic, and post-analytic quality management (1 			hour)

______  _____            List the personnel categories and requirements for non-waived testing (1 hour)

______  _____            List the personnel competency assessment theory and practice (1 hour)

______  _____            List the requirements under Hawaii State Law and Administrative Rules 110.1 (2 				hours)

Instr	  Student         [mentor specific checklist]

______  _____	Demonstrate proper disinfection procedures for work tables and carts (5 hours)

______  _____           	Demonstrate proper procedures for autoclave PPE, operation, sterility checks, records, cleaning, and maintenance (20 hours)

______  _____            Demonstrate proper use of a balance (2 hours)

______  _____            Demonstrate proper procedures for hand washing glassware (10 hours)

______  _____            Demonstrate proper procedures for washing glassware with Scientek Dishwasher (10 hours)

______  _____        	Explain requirements for record-keeping (3 hours)

______  _____        	Explain quality control requirements for preparing media (3 hours)

______  _____       	Demonstrate proper preparation of media (10 hours)

______ _____	Explain security features of building (5 hours)

Complete 10 of the following areas

Instr	  Student

Demonstrate the ability to select isolated colonies from a culture plate, streak for 				isolation, and obtain isolated colonies. (5 hours)

Explain requirements for shellfish pond testing in the state of Hawaii. (5 hours)

Demonstrate the proper use of: (10 hours)

BioSign incubator

Dispenser (Filamatic or Omnispense)

Drying oven

Freezer

Fume hood

Labeler

pH meter (Orion 520A+ or Accumet)

Pipet Aid

Refrigerator

Stove

Water bath

Demonstrate performance checks for HVAC equipment and electrical meters (5 hours)

Perform DI water system readings (5 hours)

Perform vacuum/air compressor checks (5 hours)

Hawaii Department of Health STATE LABORATORIES DIVISION

Public Health Laboratory Training Intern Evaluation

Lab area:

Dates of Rotation:

Length of Rotation adequate________ inadequate _________

Were the objectives covered?

Was the staff courteous and knowledgeable?

Were you allowed to actively participate on the bench?

Were questions welcomed and answered?

Areas for improvement:

Areas or staff that exceeded your expectations:

General Comments:

Hawaii Department of Health STATE LABORATORIES DIVISION

Trainee Evaluation Form For Technologist

Name of the Trainee:

Dates of training:

Training Section: 		 Supervising Microbiologist:

Scale:		Unacceptable  	Superior

[1   ---	2   ---	3   --- 	4   ---	5]

Circle one:

1. Skill and competence in performance:

a. Manual dexterity 							1 2 3 4 5

b. Accuracy 								1 2 3 4 5

2. Knowledge base:

a. Demonstrates relationship between principles & procedures 	1 2 3 4 5

b. Interpretation of test results 					1 2 3 4 5

c. Recognition of errors 						1 2 3 4 5

3. Care and concern for order and clarity:

a. Attention to detail 							1 2 3 4 5

b. Neatness in maintenance of work area 				1 2 3 4 5

c. Accuracy and legibility in reporting results 			1 2 3 4 5

4. Efficiency and organization:

a. Ability to sequence task (priority setting) 				1 2 3 4 5

b. Adherence to established protocol s				1 2 3 4 5

5. Dependability and commitment:

a. Carries out duties promptly with enthusiasm 			1 2 3 4 5

b. Able to work independently 					1 2 3 4 5

c. Shows initiative (ideas for improvement) 				1 2 3 4 5

d. Responsible 							1 2 3 4 5

e. Demonstrates emotional stability in stressful situation 		1 2 3 4 5

6. Interpersonal relation:

a. Cooperates with others 						1 2 3 4 5

b. Ability to accept constructive criticism 				1 2 3 4 5

c. Tactful in dealing with colleagues and personnel 			1 2 3 4 5

7. Communication:

a. Clear and precise in instructions and / or explanations 		1 2 3 4 5

b. Good communication 						1 2 3 4 5

c. Asks smart questions when in doubt 				1 2 3 4 5

Comments: