What is the problem or event? Describe what happened: What is the significance? Is it: Major, Minor, Needs Immediate Action, QC failure, system-wide?

Background & Supporting Data (share facts & figures, charts, graphs, raw data, etc.) Is there a written process? Yes/No What is the sequence of events that was expected to take place? Describe: Root cause analysis (5 Whys or other practical problem solving method). Root cause should lead to action. Ask Why 5 times: 1. 2. 3. 4. 5. What is the cause that, if corrected, would prevent reoccurrences and has a generic influence to a broad group of possible occurrences. Describe:

What is the Action Plan with Action(s)? Describe: Who is responsible for the action? Name: When will it be done? Timeline:

Verify results of actions. What is the follow-up? Describe: When will it be done? Date: Evaluate: Do SOPs need to be updated? Yes/No Perform Internal Audit to confirm actions are still in place. Schedule for ____________________ Were client samples affected and client contacted? Yes/No.

Correction—Action to eliminate a detected nonconformity; the immediate action taken to correct a problem, usually to allow data to be reported to a customer. Example include: making an adjustment; fixing a mistake; repeating analysis.

Corrective action—Action to eliminate the cause of a detected nonconformity; must establish a root cause; must address the root cause (prevents recurrence)