## Slide 1: Agents of Bioterrorism
Using Commercial Identification Systems

## Slide 2: Using Commercial Identification Systems
In general, commercial systems are not suitable for reliable identification of organisms that are:
  Slow growing
  Nutritionally fastidious
  Represented in system database by limited number of isolates
  Highly infectious in an aerosol

## Slide 3: Select Agents In Commercial ID Systems Databases
 | Biolog | Micro Scan | MIDI | Vitek |  | API
 |  |  |  | 1 | 2 | 
B. anthracis | Yes | No | Yes | No | Yes | Yes
Brucella spp. | Yes | Yes | Yes | No | Yes | No
F. tularensis | Yes | No | Yes | No | Yes | No
Y. pestis | Yes | Yes | Yes | Yes | Yes | Yes
B. pseudomallei | Yes | Yes | Yes | Yes | Yes | Yes
1When using appropriate kit
Maldi-TOF – reliable identification is dependent on the library – there are known misidentifications with all 3 libraries: clinical applications (CA), research only use (ROU), and Security (BT agents).
Notes: These commercial systems will identify the agents of bioterrorism with varied reliability. In general, only a limited number of isolates have been tested. Most commonly used systems are least likely to produce and result with high confidence and considering the danger presented by aerosols generated during test preparations, they should not be used.

## Slide 4: Common Commercial ID System Misidentifications
Brucella spp. may identify as:
  Moraxella spp.
  Micrococcus spp.
  Haemophilus spp.
  Ochrobactrum anthropi
  Acinetobacter spp.
  Chryseobacterium indologenes
F. tularensis may identify as:
  P. multocida

## Slide 5: Common Commercial ID System Misidentifications
Burkholderia pseudomallei may identify as:
  B. cepacia
  Chromobacterium violaceum
  Pseudomonas spp.
  Stenotrophomonas maltophilia
  Other non-fermenters
Y. pestis may identify as:
  Y. pseudotuberculosis
  Shigella boydii
  Pantoea agglomerans
  Acinetobacter lwoffi