## Slide 1: Laboratory Preparedness
All-Hazards Response Plan
Sentinel Laboratory Guidelines for Suspected Agents of Bioterrorism: Clinical Laboratory Bioterrorism Readiness Plan
ASM (Revised 05/2013)

## Slide 2: Laboratory Preparedness: All-Hazards Response Plan
Develop and implement an all-hazards emergency response plan
Train your staff and test your plan
Review and update as needed
Incorporate Sentinel protocols into your routine SOPs
Know whom to call, how and where to refer suspect isolates
Provide a chain of custody
Be ready to help assess the threat:
  Number of patients with suspicious infections
  If endemic, does it fit seasonal patterns
Notes: Although our focus is terrorism, every laboratory should consider emergency response to all hazards, internal and external, that might require emergency response.
Once you have developed your plan, let your staff know that there is a plan, how the plan works, and especially the role of each staff member in the plan.
Review the plan at least annually and update as needed.

## Slide 3
Table of Contents: {NAME OF FACILITY} Clinical Laboratory Bioterrorism Preparedness Plan: a Template
I. Purpose
II. Laboratory BT Contact Protocol: When to Implement
III. The Laboratory Response Network (LRN)
IV. The Clinical Laboratory’s Responsibilities
V. Sentinel Level Clinical Microbiology Laboratory Guidelines
VI. Shipping and Handling of Infectious Materials
VII. Information Checklist
VIII. Handling of Possible BT Agents
IX. BT Policy Review Documentation
X. BT Laboratory Training Documentation
XI. Therapy of BT Agents
XII. Appendix
A. CDC Biosafety Level (BSL) Designations for Laboratories
B. Recommended BSL for BT agents
C. Specimen collection/handling for suspected BT agents
C1 - Tier I agents
C2 - Non-Tier 1 agents
D. BT Agent characteristics summary
E. BT Agent clinical summary
F: Fever watch and post-exposure measures
G. Alternative names for BT agents
H. BT Readiness Checklist
Notes: Here is the table of contents of the ASM document. As you can see, it is actually a template that you can edit to match the needs of your laboratory.

## Slide 4: Laboratory Preparedness: All-Hazards Response Plan
Biosecurity
  Access by public
  Effective lock-out system (keys, key cards)
  Control of material and people entering the laboratory
  Specimen control
  Secure storage of micro-organisms
  Practice and enforce all security policies
Notes: Sentinel laboratories should review policies and facility features that contribute to the security of the staff.

## Slide 5: Laboratory Preparedness: All-Hazards Response Plan
The Role of the Sentinel Laboratory
  Be vigilant
  Have a response plan in place and practice it
  Be able to rule out threat agents OR
  Contact your LRN reference laboratory
Notes: Sentinel laboratories should review policies and facility features that contribute to the security of the staff.

## Slide 6
Case Study
A hospital lab has an isolate with the following characteristics:
  Morphology: tiny (0.4 X 0.8 um), faintly stained, Gram negative coccobacilli.
  Colonies are non-pigmented and non-hemolytic: appear punctate after 48 hrs incubation.
Additional tests performed:
  Oxidase test: Positive
  Urease test: Positive
  Satellite test (only if Haemophilus is suspected): Negative
  After approximately 20 days of performing tests to characterize the isolate (on the bench top), the laboratory forwards the isolate to a molecular laboratory for nucleic acid extraction and PCR analysis.
  PCR analysis shows 100% similarity to the genus Brucella, but the sequence analysis could not speciate the isolate.
The isolate was then forwarded to the State Public Health Lab for speciation.
Is there a problem?
Role of the Sentinel Laboratory: All-Hazards Response Plan
Notes: Yes. They did not follow the rule out/rule in protocol and continued to “play” with it. Plus, they were exposed since they worked on it on the open bench.

## Slide 7
Questions?