Request for Proposals (RFP):

Laboratory Information System (LIS)

Responses to Questions Received on RFP

- How many instruments (counts) and types of instruments must be interfaced?

  - TBD. We are waiting for Georgia to confirm the number and types of instruments.

- Can you share the list of instruments that need to be interfaced?

  - See above response

- Can you share the list of external systems to be integrated (like HIS)?

  - The top priority is to integrate with the electronic integrated disease surveillance system (EIDSS) and health management information system (HMIS). Secondarily, the LIMS would need to integrate with the hospital, veterinary, food safety and other NCDC laboratories.

- Do external systems support REST API or HL7 for integration?

  - Yes, external systems support either REST API or HL7 for integration.

- If you want to install the software centrally does all labs have proper internet connectivity to the central location (or WAN)?

  - Yes, The LIMS Should be installed centrally at the Lugar Center with each of the other 7 laboratories having access to it. This can be done using wide area network (WAN) or with your software connections. All laboratories will have proper internet connectivity.

- On page 51 can you let us know the number of existing patient and aggregate reports that exists and would it be possible to provide an examples?

  - Currently they have an estimated 25 existing patient and aggregate reports that exist. I will need to confirm that I am able to share an example of a blank patient report before sending it to you.

- From the excel sheet line 53, requirement 54 there is mention of scanning in documents.  We were hoping for some clarification here as well.  Is the intention to scan in a document and associate it with a test or sample or is the hope to parse an instrument file into the LIMS or other?

  - Yes, the intention is to be able to upload scanned documents to associate with a test/sample or with a test code (i.e. SOP associated with the influenza test code).

- For Validation, in the US we usually provide test scripts and executables to comply with HIPAA/CLIA/21CFRPart11  is this sufficient validation for the lab in Georgia or do they have more stringent requirements.  If so what is their expectation and would they like the vendor to perform validation or would they perform this themselves?

  - The Georgia NCDC national reference laboratory would need to comply with ISO 15189.

- For the Duration of the award there is an end date of September 29, 2024.  Is this due to funds expiring at that date.  If so what are the chances the funds could be extended if almost exhausted at that point in time.  i.e. Is this project expected to be completed by this date?

  - This is due to the current duration of the cooperative agreement award. It is best to plan on completing the implementation be this end date as there is no guarantee that funds could be extended beyond this date.