Request for Proposals (RFP):

Laboratory Information System (LIS)

  - Responses to Questions Received on RFP

- Can you better elaborate in your initial web page “Full legal name and if LIS provider has a “doing business name” the d/b/a as well.”

  - This refers to the full legal name of the company headquarters (e.g., XYZ LIMS) as well as if there is another name for the offices in Georgia or other locations (e.g., ABC XYZ LIMS Georgia)

- Can you better elaborate in your initial web page “Authorized representative of the Contractor for the proposal.”

  - This refers to who is the point of contact for the proposal

- Is it a total budget of $1.65 M covering all 3 phases?

  - This refers to what was awarded to APHL for the entire project, not for the LIS only.

- Excel appendix file is only provided for reference, or should it be edited and answered? It is also not mentioned in the RFP document.

  - The Excel file is for reference only.  Please answer questions in the main RFP.  If you are selected for the demo, please be prepared to answer questions based on the Excel file

- Application screens, documentation and training materials must be presented in Georgian and English. If not met, is this subject to disqualification?

  - The LIS vendor must provide evidence that their LIS user interface and their maintenance and support can be available in Georgian and English. If the LIS vendor is unable to do this their proposal may be disqualified.

- The number of total users or concurrent users going to use the software is not specified, can you clarify that for all phases and what expected in the current estimation?

  - Phase 1: Approx 40-50 users at Lugar center/NCDC (about 50% estimated concurrent)

  - Phase 2: Approx 5-10 per zonal lab and 2 per LSS.

- Travel: “...does not have to include travel in the costing estimate as APHL will be responsible for arranging the travel”. Is APHL expecting only people from Georgia to travel to the sites? Are also admitted other people travelling from abroad?

  - Travel can be negotiated and, depending on the LIS vendor selected, may be a combination of travel within the region and outside the region.

- Section 19 – number of tests by lab and staffing- table is not filled in.

  - Apologies for this – please refer to section 26 – Tests. For test volume, we have updated that information in this presentation

- Section 27 – states there should be a list of tables of instrumentation to be connected for phase 1, we cannot find these lists in the document.  Can it be provided?

  - Updated in earlier slide

- Is there an expectation for a portal for submitters to submit samples and retrieve results.  If so, how many total providers would need access to this capability?

  - Yes, NCDC Georgia and US CDC are very interested in electronic lab reporting which may involve use of a web portal.  At this time the total number of providers is not known.  NCDC serves the entire country as a reference lab

- Are there any external integrations expected to other systems or government entities such as CDC or Epidemiology?

  - Yes, in Phase 1 the priority is integration with the EIDSS surveillance system https://test.ncdc.ge/Pages/User/LetterContent.aspx?ID=4b7761f5-6f58-4796-b4ad-69b3ce158f1b

- Your eligibility criteria states that the vendor must have offices and operations in Georgia, Central Asia and/or European region. Is that eligibility 'hard and fast' and if not, could we get a letter of relaxation of this requirement

  - This requirement is not “hard and fast”. The vendor must be available to provide support during the working hours in Georgia and in the Georgian language. If the vendor can provide this from other locations, then they do not have to have an office in Georgia, Central Asia and/or Europe.

- Your eligibility criteria states that the LIS user interface must be in Georgian and English. 1) Will you provide translation services.

  - APHL may be able to assist with translation services depending on cost.  However, trainings, and end user support need to be available in Georgian/Russian

- Regarding the requirement for LIS to be browser/web-based: would Citrix or RDS based access to the applications be accepted (no local deployment of the applications)?

  - Yes.  Please note the RFP states “Central database deployment hosted by a private cloud or at primary Georgia NCDC location”

- Can you please provide the RFP in MS Word format or editable PDF, so we can answer the form fields?

  - Yes, please see our RFP site. The response section of the RFP should be available in Word

- In the Background (p. 3) it is mentioned that “the Phase 1 will provide objective information for development of a national plan for LIS implementation…”, while later in the document Phase 1 includes LIS installation at NCDC Georgia. Will the development of the national plan still be part of phase 1?

  - We are not requiring the vendor to develop a national plan.  However, it will be helpful to have information on the plan to roll out the LIS to the 7 additional sites and allowing for electronic specimen referral and electronic laboratory reporting to the original submitters and disease surveillance systems.

- Currently, our product is available in English, but it allows easy translation of the interface into Georgian. Will it be acceptable if the translation is done if our organization is selected to implement the project?

  - Please see response to question 13 above

- Re. Georgian language: shall we assume that the content of the database (names, textual results, etc) would have to support Georgian also?

  - Test names and test results on the end user interface for reporting and analysis will need to be in Georgian. The backend database names, and textual results can be in English.

- Can you provide a range or estimate of number if providers needing access to web portal (100/1,000 more?)

  - See response to question 10.

- Are Russian speaking consultants good for onsite discussions and trainings

  - Yes most staff speak Russian and Georgian.

- Will you get back to us on the number of instruments, type of instruments to be integrated?

  - The number and type of instruments to be integrated will occur in phases. Phase 1 will start with automated instruments such as the GeneXpert. If you need to know the exact number and type of instruments, please contact us directly.