Request for Proposals (RFP):

Laboratory Information System (LIS) for Indonesia’s Balai/Balai Besar Teknik Kesehatan Lingkungan dan Pengendalian Penyakit (“B/BTKL-PP”) Laboratories

  - RFP Issued: April 21, 2021

  - Technical Assistance Webinar: May 5, 2021

  - Application Due Date: May 21, 2021

  - Submit questions and responses to:

  - Reshma Kakkar 
Informatics Manager, Global Health
reshma.kakkar@aphl.org

This project is supported by the Centers for Disease Control and Prevention (CDC) of the U.S. Department of Health and Human Services (HHS) as part of an award totaling $6.8 million dollars (COAG #NU2HGH000080, CFDA #93.318). The contents are those of the author(s) and do not necessarily represent the official views of, nor an endorsement, by CDC, HHS, or the U.S. Government. For more information, please visit https://www.aphl.org/programs/global_health/Pages/default.aspx.

RFP Appendices Only

Contents

Appendix A: Overall Response Requirements	2

Appendix B: Technical Response Requirements	4

Appendix C: Training requirements	10

Appendix D: Gap analysis, Support and Maintenance requirements	11

Appendix E: Laboratory Business Requirements	13

Appendix F: Tests and Equipment	23

Appendix G: Implementation Plan	29

Appendix H : Cost Proposal and System Acceptance	30

# Appendix A: Overall Response Requirements

Respondents must provide a point-by-point response to each General Requirement specified in this RFP.  For each requirement, respondents should provide documentation as requested. The documentation demonstrates they understand the requirement and agree to the requirement.  Responses to general requirements must be in the same sequence and numbered as they appear in this RFP.

- Executive Summary

Provide a narrative summary of the proposal being submitted. The summary should identify all product(s) and / or service(s) that are being offered in the proposal.  This section is not to exceed 400 words.

- Organization / Management Capabilities and Financial Stability

Describe the respondent’s organization, management, experience with developing and implementing LIS, and financial stability.  This section is not to exceed 1000 words.

- References

Respondents should include a list of clients, organizations or institutions that can be used as references. Selected references may be contacted to determine the quality of work performed, competency of personnel assigned to the project, vendor responsiveness, etc. The results of the reference checks will be provided to the evaluation team and may be used in scoring the written proposal.  References should be limited to three (3) references maximum.

These references should be capable of verifying information supplied by the respondent in their proposal i.e. features or functions called out in this RFP.  The data required for each reference includes:

•	Company Name

•	Address

•	Contact person name, e-mail, address, phone number

•	LIS Products being used

•	Date of Implementation

•	LIS Version Installed

- Examples of implementations within a laboratory setting

Respondents should include a description of their relevant experience implementing and supporting LIS or working in a laboratory setting. Be specific and identify products and dates implemented. Also include information regarding laboratory departments using the vendors LIS, number of staff using the LIS, and the test types managed by the system.  This section is not to exceed 1000 words.

- Staff Qualifications

The respondent must provide a project team organizational chart, followed by CVs of key personnel that will be assigned to the system implementation and training effort for the Indonesia Phase 1 implementation. Each key personnel must be an employee of the respondent or be identified as a subcontractor. Include roles, responsibilities and estimated time allocated for each key personnel.   This section is not to exceed 3 pages.

- Optimal Infrastructure

Please describe in detail the following in relation to the proposed LIS:

- Minimum facility infrastructure requirements needed to support proposed LIS (from a physical as well as technical perspective)

- Description of all additional software components (3rd party) needed in order to get a complete system as described in the technical and laboratory requirement sections of this RFP.

- Cost for purchase, support and maintenance of these 3rd party items must be included in the cost breakdown sheet.

- Description/specifications of all recommended hardware i.e. workstations, printers, barcode printers, barcode readers, data backup devices needed in order to implement a complete system, as described in the technical and laboratory requirement sections of this RFP.

- Description of minimum and optimum requirements for internet connectivity.  It can be assumed that Phase 1 labs will be wired for connectivity. But as the internet access may not always be reliable, proposals must address how the LIS would be serviced, supported and maintained if internet access is not available/lab is not online.

this section is not exceed 4 pages, images/tables can be inserted as needed)

# Appendix B: Technical Response Requirements

Instructions: Respondents must provide a point-by-point response to requirements specified in this section of the RFP.  This will require responding to more “general” and “open-ended” questions and requests for information as well as the more specific requirements found in the tables. Responses to these Technical Requirements must be in the same sequence and numbered as they appear in this RFP.

Tables in Sections 8-17 are divided into CORE REQUIREMENTS and SECONDARY REQUIREMENTS. Core requirements are absolute requirements for a LIS selected for the Indonesia Phase 1 laboratories.  The secondary requirements represent preferences for a LIS system.

For CORE REQUIREMENTS and SECONDARY REQUIREMENTS; indicate if your LIS “Meets”, “Does Not Meet”, “Requires Modification” or an “Alternative is Suggested” by selecting the appropriate response from the drop down menu in the table.  If the LIS “requires modification” or “alternative suggested” is selected; please add notes and further information into the table.

Note: As an option, you may respond by using the form fields built into this document (you must protect the form in the form toolbar to activate/inactivate fields)

- System Requirements

Web systems are preferred over client server.  Systems should be written in current programming languages screens with the flexibility for expansion and updating. Flexibility for updating and expansion are extremely important and will be a major consideration in choice of the system.

- What programming language(s) is the system software written in?  If multiple languages are utilized, please describe the functions written in each.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or “Alternative suggested”. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
|  | The official language in use in the Indonesia B/BTKL-PP laboratories is Bahasa Indonesia. Therefore, system screens, documentation and training materials must be presented in Bahasa | Choose an item. |  |
| b) | This LIS system should be considered a laboratory-oriented, sample-centric system as opposed to a patient-centric, patient management system | Choose an item. |  |
|  | Secondary Requirements |  |  |
| c) | System should be designed to run in a Windows-based environment on PC’s running MS Windows | Choose an item. |  |

- System Database

The LIS system database will reside centrally in a private cloud or at the Indonesia MoH and possibly with local server in the laboratory for backup or continuation of operations.  In response to this RFP, the respondent should recommend specifications for the database servers to handle the expected workload and throughput noted in Section 6.1. These specifications should include the number of processors, speed, storage size and method, and backup recommendations.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
|  | The type of database employed by the system needs to be a modern, relational database, widely supported by current technology | Choose an item. |  |
|  | If a commercial database is required, MS-SQL Server is preferable | Choose an item. |  |
|  | Secondary Requirements |  |  |
|  | System to retain 7 years of records without performance degradation. | Choose an item. |  |

- System Logs

The System should contain logging capabilities as described below.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
|  | System audit functionality should be maintainable (data points to capture) by the Lab system administrator or a supervisor via the system. | Choose an item. |  |
|  | System to allow authorized users to view or print audit logs using role based security. | Choose an item. |  |

- System Security, Data Backup and Confidentiality of Data

- The LIS must provide role-based data security.  Access to data for all purposes must be controlled by roles.  Please describe the different levels of role based access in the proposed system.

- The LIS should have the capability to perform routine backups of the data in the system.  The LIS must have the ability to do both manual and scheduled data backups.  The data backups must be done to a storage media that can be stored off-site and should also provide for the ability to do backups to remote connected devices as well, for example a Network Attached Storage (NAS) architecture in the future.  The system must provide for data restore and recovery capabilities as well.  Describe your plans for backing up data.

- Describe the access your company and each of your partner companies will have to patient information stored in the LIS database and any controls that are available to limit access to patient data.

- Describe any software that will be utilized, that provides access to patient data.

- Does your company typically sign non-disclosure or confidentiality agreements with your clients?

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
|  | Unique ID and password sign-in for user authentication. | Choose an item. |  |
|  | Role-based security, providing appropriate user access to system functions and data. | Choose an item. |  |
|  | System data backup and recovery processes should have minimal impact on system availability. | Choose an item. |  |
|  | Secondary Requirements |  |  |
|  | Ability to add new, modify and delete roles to the security model by laboratory’s LIS system administrator. | Choose an item. |  |
|  | System security levels to provide the ability to allow/disallow access to specific areas such as screens, windows, or logical data groupings by user role. | Choose an item. |  |

- Data Exchange / System Interface

A number of  information systems and databases operating or under development exist in Indonesia. Proposed systems must be able to interoperate with other MoH systems in the future, and although not a phase one requirement, the successful respondent’s LIS will be able to capture and transmit data to a myriad of different systems and databases.  Some systems currently in place in Indonesia include:

- All New Record

- SITB

- Health services software

- ESIMDADU

Proposed

- Sharing of laboratory data with a central laboratory data repository location at MoH

- Data visualization/dashboards to enable viewing of laboratory data

- Electronic test order from remote clinic or other facility and result reported transmitted back from B/BTKL-PP LIS (eTOR)

Respondents should outline their proposed method of bi-directional data transmission and interoperability.

One of the major purposes of this project is to collect laboratory data in a timely fashion to facilitate allocation of resources, thus, data produced in the laboratory must be made available to the Indonesia MoH  or other organizations as may be required.  The LIS should, at a minimum, be able to store this information and easily export the data in a standardized electronic format for use.  The format will be defined at a later date by the Indonesia MoH.  The primary data to be monitored and aggregated are:

- Summary workload and findings (by test)

- De-identified laboratory test results data

- Inventory (commodities)

Respondents should identify the capability and process of their system to store, collate and transmit summary management report data to the Indonesia MoH.  If the vendor currently has tools to perform this analysis without having all of the line item test data in one database they should describe the functionality.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | Secondary Requirements |  |  |
| a) | System provides authorized users ability to extract data in a form that is used by a variety of commonly available analysis tools. | Choose an item. |  |
| b) | The system to handle batch imports or data loads from XML or other standard data formats. | Choose an item. |  |
| c) | System to utilize HL7 standard messages for interfacing to other systems. | Choose an item. |  |
|  | System to utilize web service components for data interfaces. |  |  |

- System documentation

The system needs to be appropriately documented, come with a full set of documentation, and include any specifications pertinent to the installation of the system.

Include any costs associated with providing this documentation in the LIS System Cost Sheet found in Section 8.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
|  | Vendor to deliver system documentation at the conclusion of initial installation and deployment of the system, including any specifications pertinent to the Indonesia LIS. The documentation should be presented as hard copy reference materials, and/or electronic format and include the following: | Choose an item. |  |
|  | Installation and administration guide: The installation guide shall be detailed enough to provide system administrators with information necessary to install and bring the system live in a production environment. The documentation shall list all utilities and tools necessary for the proper administration of the LIS. These tools shall cover management and administration of the LIS database, the user interface, and any auxiliary programs integrated into the delivered LIS. | Choose an item. |  |
|  | End user guide: Laboratory User documentation shall be sufficient and detailed enough to allow different levels of lab users to perform their functions without having to rely on external support. | Choose an item. |  |
|  | Super User guide: an overview of system and complete user documentation regarding Use of all systems, adding or modifying test procedures, adding or modifying testing controls, adding or modifying new data elements to the database for collection at test order entry, result data entry and for reporting, adding or modifying testing alerts and result calculations, adding or modifying reflex testing rules, adding or modifying report formats, adding or modifying a system rule, and developing electronic file formats for import or export. | Choose an item. |  |
|  | Secondary Requirements |  |  |
|  | Operations and troubleshooting guide: this documentation shall include information on troubleshooting and support escalation procedures and response times. Ideally, the respondent would be able to provide a centrally managed, web based knowledge database that users can access to get the latest information on troubleshooting, support, bugs, updates, etc. | Choose an item. |  |
|  | Contractor to provide system data dictionary and data model. To include hard copy reference materials and/or other electronic format. | Choose an item. |  |

# Appendix C: Training requirements

Two levels of training are anticipated, one geared towards LIS Administrators and Super Users, and one geared towards end users.  Respondents should propose a training program necessary to provide these trainings as part of this RFP and respond to the following specific requirements:

- Two or more individuals per site selected as “Super Users” will be trained on the technical aspects of the software and the overall laboratory hardware and software configuration, so that typical or simple technical problems can be managed on-site without having to call the vendors customer support group.  These super users should also be trained to perform simple changes to the software such as adding a new test, assigning passwords, etc.  Describe how this training would be conducted; include number and length of training sessions, number of people in each session, and description of materials provided and at what point during the installation this will be done.

- Respondent must provide initial training and post-live supportive supervision for end users on-site in conjunction with system installations.  The basic end user training for each site should be a minimum of one week and supportive supervision two weeks.  Describe how this training would be conducted; include number and length of training sessions, number of people in each session, description of materials provided and at what point phase during the installation this will be done.

- Respondents should propose how additional or new users of the system can be trained on the system software (Post Installation) and cost.  Costs associated with each type of training should be shown on the LIS cost sheet.  Proposals that identify a local partner to provide aspects of support are preferred.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
|  | Two or more individuals per site selected as “Super Users” who must be trained on the technical and administrative aspects of the software as well as the laboratory hardware and software configuration | Choose an item. |  |
|  | Minimum one week basic end user training must be provided for each site | Choose an item. |  |
|  | Minimum two weeks post-live supportive supervision must be provided for each site | Choose an item. |  |

# Appendix D: Gap analysis, Support and Maintenance requirements

- GAP Analysis, Software Template, and Customization/Configuration

- The respondent may perform a GAP analysis prior to implementation to clearly identify changes to the core system (data elements, and reporting requirements). Describe your process and explain if this is part of your normal implementation or is provided at additional cost.  If an additional cost, please provide details in Section 8.

- Does your company expect to utilize a template or specific version of the LIS software for this project?  If yes, describe in detail the information and screens available in this template.

- To what level can the LIS be customized by trained laboratory administrators and super users? At what point must the customization be done by LIS programmers?

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | Secondary Requirements |  |  |
|  | A GAP analysis of the LIS software will be performed prior to implementation | Choose an item. |  |
|  | Will utilize a template or specific version of the LIS software for this project | Choose an item. |  |
|  | System allows users to customize and maintain (add, modify, delete) forms, screens and system components used for test order entry, result entry and result reporting. | Choose an item. |  |

- Software Support

For the purposes of the RFP, software support will refer to the helpdesk services supplied by the respondent for users of the software following initial training and installation of the software in the Indonesia laboratories.  Computer and network hardware maintenance and support will be provided by a local company or companies selected by APHL, Indonesia MoH, and CDC-Indonesia.  The selected vendor will be expected to work closely with this local hardware provider to support the operation of the LIS.

- Provide specific details about system support.

- The respondent must define the type and level of technical support and maintenance performed by:

  - personnel on-site

  - local support or partner company

  - remotely/via web

  - staff travel from an office outside of Indonesia.

- Specific costs associated with this support must be supplied and if several alternative types of support are bid, specific costs associated with each type of support must be supplied in Section 8. Descriptions of any alternative types of support can be described here:

- Does your technical support and maintenance plan include remote access, so that changes or fixes can be made to the system? Describe any software to be utilized for these purposes.

- Expected response times, resolution times, priority levels and a description of how the respondent ensures timely and competent support must be described.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
|  | Vendor to provide ongoing technical support for system administrators and super users. | Choose an item. |  |
|  | Vendor to provide technical support Monday thru Friday, 8:00 to 18:00 Indonesia time. | Choose an item. |  |
|  | Vendor to prioritize technical support calls and address them in priority order. Minimal response and resolution times should be associated with type of priority. | Choose an item. |  |

- System maintenance/updates

For the purposes of the RFP, software maintenance will refer to system updates and patches to the software following official installation in the Indonesia laboratories.

- Provide specific details of how software will be maintained in Indonesia throughout its lifetime; how patches, updates or enhancements will be installed.

- Specific costs associated with maintenance and support of the software after year one.  These costs should be shown separately in annual amounts on the LIS System Cost Sheet.

- Explain software maintenance and support cost i.e. what is included in the yearly software maintenance and support cost and what is not included and requires additional cost.  Identify the additional items and cost for each.

- Describe your historical release cycle and plans for the future and how system updates are performed.

- Describe how system updates are performed, by whom.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
|  | System upgrade procedures should have minimal impact on system availability. | Choose an item. |  |
|  | Vendor to provide version control of the system and periodic system updates and maintenance releases to update technology. | Choose an item. |  |

# Appendix E: Laboratory Business Requirements

Instructions: Respondents must provide a point-by-point response to requirements specified in this section of the RFP.  This will require responding to more “general” and “open-ended” questions and requests for information as well as the more specific requirements found in the tables. Responses to these Business Requirements must be in the same sequence and numbered as they appear in this RFP.

Tables are divided into CORE REQUIREMENTS and SECONDARY REQUIREMENTS. Core requirements are absolute requirements for a LIS system selected for the Indonesia laboratories.  The secondary requirements represent preferences for a LIS system.

For CORE REQUIREMENTS and SECONDARY REQUIREMENTS found in the tables; please indicate if your LIS “Meets”, “Does Not Meet”, “Requires Modification” or an “Alternative is Suggested”.  If the LIS “Requires Modification” or “Alternative Suggested” is selected; please add notes and further information into the table.

Note: As an option, you may respond by using the form fields built into this document (you must protect the form in the form toolbar to activate/inactivate fields)

The laboratory requirements in this section are meant to be a guide for respondents in responding to this RFP and to ensure that respondents understand the data that needs to be collected and communicated within the Indonesia laboratories.  Once an system has been selected, specific data, specific screen design and modification of the software to meet logistical laboratory requirements will be negotiated.

Laboratory throughput and hours of operation

Phase 1 Following are the expected number of tests performed on an annual basis by each laboratory

| LABORATORY | STATISTICS | STAFFING |
| --- | --- | --- |
| BBTKL-PP Yogyakarta | ± 10,000 per month COVID-19 ± 100 per month Virology ± 300 per month Microbiology ± 50 per month Water Coliform ± 200 per month Parasitology | 25-50 |
| BBTKL-PP Surabaya | ± 6,500 per month COVID-19 ± 50 per month Virology ± 60 per month Microbiology ± 1000 per month Water Coliform ± 100 per month Parasitology | 25-50 |
| BBTKL-PP Banjarbaru | ± 3,000 per month COVID-19 ± 200 per month Virology ± 65 per month Microbiology ± 60 per month Water Coliform ± 20 per month Parasitology | 25-50 |
| BTKL-PP Batam | ± 5,000 per month COVID-19 ± 20 per month Virology ± 250 per month Microbiology ± 250 per month Water Coliform ± 60 per month Parasitology | 25-50 |

Note: While the labs do provide some test services on a 24/7 schedule, most services are provided within a regular working day from 8:00am – 5:00pm.

- Specimen Registration and Processing

The description of the system which follows is a general example of the sample flow and the requirements of a LIS in a typical laboratory registration.  It is provided, to help you complete the table of requirements in this section.

Patients who require laboratory services must be referred for those services by a doctor, nurse or regional or provincial health service.  Consequently, patients must see one of these individuals before laboratory services can be performed and the specimen sent to the B/BTKL-PP.  These clinicians see patients in a variety of places including at separate clinics or wards within hospitals and at standalone clinics or health stations. Typically, laboratory test request orders are initiated by a clinician who fills out a test request.  While the data required in the form is usually the same, the format of request forms used within the health care system may vary from place to place.  Samples are then transferred/referred to the B/BTKL-PP. B/BTKL-PPs also have sample collection areas for patients that arrive at the facility for out-patient services.  The physical orientation of the facility and the logistics of the laboratory often determine where the sample collection takes place.  In addition, some samples are taken external to the B/BTKL-PP (for example, at home for stool samples, or other samples collected at extraordinary event investigation) and brought to the laboratory.  Regardless of where the sample is taken, the sample request information must be logged into the LIS, along with required demographic information, and matched with the patient sample.

A unique specimen identifier for each sample (or sample number) that can be placed on the sample and the sample request form should be generated through the LIS.  Whether aliquots from the same sample have their own additional unique identifier is open to negotiation. The form and type of identifier is open to negotiation, the use of bar code printers and scanners to produce and read sample data is the preferred method of utilizing these data.   You are welcome to provide any comments to this information:

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
| a) | System should allow for rejection of specimen right at specimen receipt. This will complete the testing cycle for this specimen. | Choose an item. |  |
| b) | System supports the ability to perform a quick entry (not all patient demographics are entered) so that a specimen ID is assigned, tests are assigned, barcode labels printed and testing can begin. Full demographics can be entered at any time before reporting is done | Choose an item. |  |
|  | System supports complete order entry and assigns a unique specimen identifier with a bar coded label to each sample | Choose an item. |  |
|  | The system should maintain a complete audit trail of order process. This audit trail MUST be visibly accessible to an authorized LIS user. Auditing information should include: - Status of each change that an order undergoes - Date and time of event change - ID of person who changed the order | Choose an item. |  |
|  | The system should have the ability to search for previous patient information to link current request with previous demographics; when a returning patient is found, system must be able to pre-populate demographic information with the ability to edit and save. | Choose an item. |  |
|  | There are sample submission or requisition forms used by hospitals and health services clinicians to request laboratory analysis in the Indonesia public health laboratories. The following patient and specimen data fields should be expected in this standardized form and required in a LIS: - Specimen Identification Number – a unique sample identifier which should be generated in the laboratory at the time of sample receipt and used to identify a specific sample. LIS should be able to capture all identifier used by B/BTKL-PPs and generate/assign a new identifier if needed. - Date Received/Time Received – Date and time the sample was received by the laboratory - Patient Name/ID Number – Name of patient or patient identifier if the sample is collected without name. - Patient Sex – gender of the patient. - Patient’s Date of Birth (Age) – Patients birth date should also show calculation of age. If a birth date is supplied the age should be calculated. Also, if DOB is not known, the age of the patient is used to calculate the DOB. It is logged with the sample and with the patient information. - Patient address 1: street address, house number, RT/RW, village - Patient address 2: city and district - Patient address 3: province - Phone number – reachable home phone number - Mobile number - Postal code: postal code of patient - Ward – Ward (if sample was collected in a hospital) - Medical Registration Number – Chart number of hospital patient - National ID Number/NIK – National Identifier - District – Name of district where the sample was collected - Region – Name of region where the sample was collected - Name of Hospital – Hospital or clinic where the sample was collected - External Lab Number – If the sample is received from another location there is the need to track the ID supplied by the external source. - Collection Date – Date sample was collected - Collection Time – Time sample was collected - Sample Type – Type of sample presented for analysis - Receipt Number – Receipt number for patients who have paid for the analysis - Amount Paid or Receipt Number – The amount paid by the patient for the test - Investigation Required – Tests requested - Requested by – Name of person requesting test - Date requested – Date the test was requested - Comments about sample(s) - Clinical history and provisional diagnosis - Priority—Routine or Urgent | Choose an item. |  |
|  | The capability for the electronic referral of specimens to external laboratories if the testing is not performed at their laboratory and the capability for electronic receipt of reported data. The system must be able to maintain the record of this referral and allow for the entering of result data when received from referral laboratory. | Choose an item. |  |
|  | LIS systems installed in laboratories which receive referrals from other laboratories should have the capability of the electronic receipt of referred specimens and the capability of electronic reporting of sample results along with the requisite tracking mechanisms to ensure that both the samples and the results get to the appropriate locations efficiently. | Choose an item. |  |
|  | The ability for an authorized submitter to look up patient results through a mobile device or PC | Choose an item. |  |
|  | The ability for the LIS to remotely order tests and report results electronically. The system should either have or be extensible enough to accommodate this feature. | Choose an item. |  |
|  | Secondary Requirements |  |  |
|  | System to allow the ability to prioritize testing of a specimen. Priorities should be user definable and modifiable | Choose an item. |  |
|  | The system should support duplicate order checking during order processing that: - Detects duplicates of currently active orders - Detects duplicates of inactive or already performed orders | Choose an item. |  |

- Specimen Inventory or Storage Tracking

The System should provide for specimen inventory or storage tracking.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | Secondary Requirements |  |  |
| a) | System to provide the ability to track samples: - Within a laboratory, i.e. workstations, refrigerators, incubators, etc. - Between labs or lab sections and into specimen racks or storage containers - To storage locations via rack or container ID. - Track when a specimen is removed from storage. - Track specimen to destruction. | Choose an item. |  |
| b) | System to provide the ability to create user-definable bar code labels and parameters for storage locations, storage containers and specimen racks. | Choose an item. |  |

- Testing and Result Entry

Every effort should be made to decrease the amount of data entry required for analysts.  Data that have been previously entered into the LIS should not have to be re-keyed for any reason.  Data required by analytical instrumentation to ensure sample identification and to meet QA/QC requirements should be uploaded from the instrument if the instrumentation supports electronic transfer of data.  In addition, results of analyses should be subsequently downloaded into the LIS along with identifying information to link test results with the correct sample.  When automatic uploading and/or downloading of data are not possible, steps should be introduced to simplify and automate the transmission of data into or from the LIS system.  The laboratory instrumentation to be interfaced (if possible) is provided in Section 6.9.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
|  | System should allow for rejection at any time during the testing process | Choose an item. |  |
|  | The ability to cancel specific tests and reject specimens must be allowed. A reason for a canceled test or rejected specimen should be able to be entered and the reason reported back to the submitter. | Choose an item. |  |
|  | The ability to repeat a test on a specimen and have it appear on the next work list | Choose an item. |  |
|  | Access to results data shall be based on user roles and privileges | Choose an item. |  |
|  | System should Automatically capture workload and test statistics | Choose an item. |  |
|  | The system should provide for a supervisor verification step prior to releasing patient results. | Choose an item. |  |
|  | System must also provide for manual result entry. This will accept an accession (manually or via bar code) and allow the analyst to enter results. | Choose an item. |  |
|  | System should provide user-defined reflex testing protocols, test calculations and interpretive reporting. | Choose an item. |  |
|  | System should be able to produce a printable “work list” for each test area. This will identify the specimens ordered and ready for testing in this area (including any repeat samples) | Choose an item. |  |
|  | System must be able to allow for specimens to be referred to a secondary laboratory for further testing if initial test results (or testing algorithm) require further confirmation or follow up testing. The system must be able to maintain the record of this referral and allow for the entering of result data when received from referral laboratory. Examples of referred testing is Mycobacterium Tuberculosis (TB) as B/BTKL-PPs refer specimens from laboratories for confirmation/diagnostic testing. | Choose an item. |  |

- Reports

- There are existing patient result report formats and summary or aggregate reports utilized by the B/BTKL-PPs at the Phase 1 sites.  These reports must be generated by the LIS, so should be included in the costs submitted.

- List the reports that can be generated by the LIS with the initial system and detail the mechanism for creating the existing B/BTKL-PP patient and aggregate reports.

- Will future reports be created by the LIS provider or laboratory personnel? If both options available, please explain the difference in reports.

- Provide the costs associated with creating new reports and note any third party software that is utilized for the generation of reports.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
|  | Once the requested test has been completed and result data entered into the LIS, a printed report of analysis should be produced for delivery to the clinician and client. In addition, data required to reproduce the report in the future must be stored within the system. | Choose an item. |  |
|  | The system must produce pending result reports, which include: - If the results have not been verified and accepted - If the tests have been ordered but not performed - If a test procedure has gone beyond the normal turnaround time | Choose an item. |  |
|  | The system must produce reports for positive test results and de-identified aggregate health data for any given time period | Choose an item. |  |
|  | The system must produce workload statistics reports. This should be a summary list for selected time periods (days, hours, etc.), submitters, tests, laboratory sections and instruments. This includes, but is not limited to the following reports: - Tests performed - Rejected test results - QC samples tested - Turnaround time reports | Choose an item. |  |
|  | The ability to print interim reports that contain preliminary result findings. | Choose an item. |  |
|  | System should have the ability to produce reports in either an on-going, real-time process or printed on-demand in batches. | Choose an item. |  |
|  | Secondary Requirements |  |  |
|  | When multiple tests are ordered on the same specimen, the LIS should support the option to do the following: - Issue an interim report with available results and an indication that a test is pending and will follow - Interim reports would be issued until all tests are complete for that specimen and each interim report will contain all completed test results to date, along with indication of any tests that are pending - When all tests are completed, a final report will be issued which contains all completed test results - Hold all test results for a specimen until all work is complete and a final report issued | Choose an item. |  |
|  | System should support transmitting reports and results to other systems. | Choose an item. |  |
|  | The system should provide data mining techniques and reports selected by: - Date range - Test procedure - Submitter - Other criteria identified by the laboratories | Choose an item. |  |

- Quality Assurance/Quality Control

The LIS software bid must have a method for the implementation of a comprehensive laboratory quality assurance program utilizing standard quality control measures and proficiency samples.  Describe the QA/QC capabilities and functions included in the LIS and how QC parameters and features are defined.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | CORE Requirements |  |  |
|  | System must maintain quality control checking for instruments and manual input. | Choose an item. |  |
|  | The QC parameters and features must be user definable by laboratory, and test type/method. | Choose an item. |  |
|  | QC methodology must be capable of linking any specific sample with the quality control measures employed by the analysis and recording within the software all aspects of the analytical process, including analysts. | Choose an item. |  |
|  | System must maintain a complete audit trail of the result process including: - Date and time of event change and initial result entry - Record each step that occurred in the processing of a test procedure - User who performed the step - Quality control | Choose an item. |  |
|  | System should produce cumulative weekly and monthly quality control reports. | Choose an item. |  |
|  | System must have ability to flag samples as external quality control samples or proficiency samples; these results should not be included in aggregate reports (should not skew test statistics) | Choose an item. |  |

- Laboratory Equipment and Personnel Data Inventory

The LIS should support the management of laboratory supplies inventory, equipment inventory, and personnel data.  Possible data elements to be captured in these areas are provided in the table below.  These data elements may change and the LIS must be flexible enough to allow for changes.  Describe the capability of your LIS to handle these data and the steps to be taken to meet these requirements.

| Select “Meets”, “Does Not Meet”, “Requires Modification” or Alternative suggested. If the latter two are selected, please provide notes and/or further information. |  |  | Notes and further Information |
| --- | --- | --- | --- |
|  | Secondary Requirements |  |  |
|  | System should have ability to manage laboratory inventory. Below are data elements that may be tracked as part of the inventory management at the laboratories. - Date - Shift - Commodity - Unit of issue - Beginning Balance - Quantity Received - Origin - Batch No. - Expiration Date - No. of Tests Done - Quantity used - Losses/Adjustments - Ending Balance - Remarks - Name of person making entry | Choose an item. |  |
|  | System should have ability to manage equipment inventory. Below are possible data elements that may be tracked for equipment. - Equipment Name - Department - Manufacturer - Model - Serial number - Date Received - Date Inspected - Calibration Date - Dates or interval of required calibration or maintenance - Date of Next Inspection - Date of Next Calibration - Warranty End Date - Status | Choose an item. |  |
|  | System should have ability to manage personnel inventory. The following are the initial data elements maintained for personnel: - Name - Location/Facility - Education Level - Specialty - Department - General Notes and Training record - Start Date - End Date | Choose an item. |  |

# Appendix F: Tests and Equipment

While the purpose and objective of this LIS implementation within the Indonesia B/BTKL-PPS is to ensure that the laboratories can provide timely and accurate services and information to support public health infectious disease testing, it is recognized that these same laboratories must also respond to service and information requests for other testing services.  Consequently, the proposed LIS should have the capability of capturing and reporting data for the range of clinical diagnostic tests associated with diseases of public health and the possibility to include water and environmental testing.  The following list represents potential tests that could be analyzed in the Phase 1 laboratories and should be included in any LIS.  Not all laboratories will have the capability of performing all these tests and there may be other tests performed that are not on this list.  This list, however, represents the majority of tests performed in the Indonesia laboratories.  Describe the capability of your LIS to handle these tests and your plan for implementation.

| Test name/method | Tests in LIS (check Yes if system meets) |  |
| --- | --- | --- |
| Virology |  |  |
| Hep A Antigen | ☐ Yes | ☐ No |
| Anti HAV – IgM | ☐ Yes | ☐ No |
| Anti HAV – IgG | ☐ Yes | ☐ No |
| Anti HAV Total | ☐ Yes | ☐ No |
| HBsAg | ☐ Yes | ☐ No |
| Anti HBs ELISA | ☐ Yes | ☐ No |
| Anti HBc | ☐ Yes | ☐ No |
| Anti-HBe | ☐ Yes | ☐ No |
| Hep C Antigen | ☐ Yes | ☐ No |
| Anti HCV ELISA | ☐ Yes | ☐ No |
| Extended Widal | ☐ Yes | ☐ No |
| Salmonella Typhi O | ☐ Yes | ☐ No |
| Salmonella Typhi H | ☐ Yes | ☐ No |
| Proteus OX 19 | ☐ Yes | ☐ No |
| Dengue ELISA IgM | ☐ Yes | ☐ No |
| Dengue ELISA IgG | ☐ Yes | ☐ No |
| Dengue Rapid Test NS1Ag | ☐ Yes | ☐ No |
| Polio AFP | ☐ Yes | ☐ No |
| Polio CSF | ☐ Yes | ☐ No |
| Measles | ☐ Yes | ☐ No |
| Rubella | ☐ Yes | ☐ No |
| Rotavirus | ☐ Yes | ☐ No |
| Rabies | ☐ Yes | ☐ No |
| Chikungunya | ☐ Yes | ☐ No |
| Japanese Encephalitis | ☐ Yes | ☐ No |
| Zika | ☐ Yes | ☐ No |
| Hantavirus | ☐ Yes | ☐ No |

| Test name/method | Tests in LIS (check Yes if system meets) |  |
| --- | --- | --- |
| Microbiology |  |  |
| TB AFB Smear | ☐ Yes | ☐ No |
| TB Culture | ☐ Yes | ☐ No |
| General Bacteriology | ☐ Yes | ☐ No |
| Gram stain | ☐ Yes | ☐ No |
| India ink | ☐ Yes | ☐ No |
| Biochemistry testing (Micro) | ☐ Yes | ☐ No |
| Drug susceptibility testing | ☐ Yes | ☐ No |
| Meningococcus | ☐ Yes | ☐ No |
| Bordetella Pertussis | ☐ Yes | ☐ No |
| Pneumococcus | ☐ Yes | ☐ No |
| Enterobacteria | ☐ Yes | ☐ No |
| Diphtheria | ☐ Yes | ☐ No |
| Salmonella | ☐ Yes | ☐ No |
| Shigella | ☐ Yes | ☐ No |
| Cholera | ☐ Yes | ☐ No |
| Water Coliform Testing | ☐ Yes | ☐ No |
| Food e-coli | ☐ Yes | ☐ No |
| Leprosy | ☐ Yes | ☐ No |
| Rickettsia | ☐ Yes | ☐ No |
| Other: | ☐ Yes | ☐ No |

| Test name/method | Tests in LIS (check Yes if system meets) |  |
| --- | --- | --- |
| Parasitology |  |  |
| Blood Parasites | ☐ Yes | ☐ No |
| Malaria | ☐ Yes | ☐ No |
| Microfilariae | ☐ Yes | ☐ No |
| Borrelia | ☐ Yes | ☐ No |
| Trypanosoma | ☐ Yes | ☐ No |
| Stool Analysis | ☐ Yes | ☐ No |
| Urine Analysis | ☐ Yes | ☐ No |
| Dirofilariasis | ☐ Yes | ☐ No |
| Entomology | ☐ Yes | ☐ No |

| Test name/method | Tests in LIS (check Yes if system meets) |  |
| --- | --- | --- |
| PCR |  |  |
| Influenza | ☐ Yes | ☐ No |
| COVID-19 | ☐ Yes | ☐ No |
| Hepatitis B | ☐ Yes | ☐ No |
| Chikungunya | ☐ Yes | ☐ No |
| Dengue | ☐ Yes | ☐ No |

| Test name/method | Tests in LIS (check Yes if system meets) |  |
| --- | --- | --- |
| Hematology |  |  |
| Hemoglobin | ☐ Yes | ☐ No |
| PCV | ☐ Yes | ☐ No |
| MCV | ☐ Yes | ☐ No |
| MCH | ☐ Yes | ☐ No |
| MCHC | ☐ Yes | ☐ No |
| RBC Total | ☐ Yes | ☐ No |
| WBC Total | ☐ Yes | ☐ No |
| ESR | ☐ Yes | ☐ No |
| HB Electrophoresis | ☐ Yes | ☐ No |
| Sickle Cell Test | ☐ Yes | ☐ No |
| Reticulocytes | ☐ Yes | ☐ No |
| Platelets | ☐ Yes | ☐ No |
| Differential Ct | ☐ Yes | ☐ No |
| Prothrombin time | ☐ Yes | ☐ No |
| Partial thromboplastin time | ☐ Yes | ☐ No |
| Clotting time | ☐ Yes | ☐ No |
| Bleeding time | ☐ Yes | ☐ No |
| BMA | ☐ Yes | ☐ No |
| Fasting blood sugar | ☐ Yes | ☐ No |
| Random blood sugar | ☐ Yes | ☐ No |
| Glucose tolerance test | ☐ Yes | ☐ No |

- Equipment/instrumentation interfaces

The tables below provide the instrumentation available in each of the four Phase 1 laboratories.  Each instrument listed should be interfaced to the LIS directly for uploading and downloading of data if possible. For LIS that are capable of interfacing with laboratory instrumentation, respondents should indicate the type and cost of interface devices that are required for the proposed LIS.  Explain the cost for each new instrument interface and the cost for an instrument you have already interfaced.

- Describe how you will interface each instrument and accept data (i.e. uni-directional, bi-directional).

- List the instruments your system has been interfaced with.

- Do you charge for support on each interface?

Table 27.1. Automated instrumentation at BBTKL-PP Yogyakarta

| Laboratory Section | Instrumentation |
| --- | --- |
| Virology | Biorad IQTM5 Optical Modul / iCyclerTM Thermal cycler Biorad CFX-96 (2) Spectrophotometer Thermo Scientific Nanodrop Biomerieux Reader 250 Asys Expert Plus |
| Bacteriology | Becton Dickinson PX 0803 BD Phonix 100 GenXpert 4 modules (2) |

Table 27.2 Automated instrumentation at BBTKL-PP Surabaya

| Laboratory Section | Instrumentation |
| --- | --- |
| Virology | ABI 7500 FAST BioRad CFX-96 |
| Bacteriology | GenXpert 4 modules (2) |

Table 27.3 Automated instrumentation at BBTKL-PP Banjarbaru

| Laboratory Section | Instrumentation |
| --- | --- |
| Virology | Qiagen RotorGene Q5Plex 1 HRM Biorad CFX-96 Qiagen Qiacube Spectrophotometer Implen Thermo Multiskango Reader |
| Bacteriology | Qiagen RotorGene Q5Plex 1 HRM Thermo Aris 2x GenXpert 4 modules (2) |

Table 27.4 Automated instrumentation at BTKL Batam

| Laboratory Section | Instrumentation |
| --- | --- |
| Virology | Bioneer Exycycler 96 Bioneer Exiprep 16 Dx (3) Spectrophotometer Nanovue Plus |
| Bacteriology | DIPA Sensititre Aries 2x GenXpert 4 modules (2) |
| PCR | Biorad CFX-96 (3) Spectrophotometer Nanovue |

# Appendix G: Implementation Plan

Outline your implementation plan or project plan for the LIS installation, providing a list of activities, the roles and responsibilities of key individuals for each activity and a tentative timeline for the project.

# Appendix H : Cost Proposal and System Acceptance

This section includes details on cost information that must be submitted as part of this RFP.

- Submitting Quotes

The LIS Cost Sheet is to be used by the respondents to provide details of all costs with submitted proposal. We request a detailed budget for Phase 1 and high level estimation for Phase 2 deployment. Vendors can assume that the 6 additional BBTKLs in Phase 2 are similar to the 4 BBTKLs in Phase 1. The summary cost sheet must be completed and signed by the authorized company representative in addition to any detailed price and descriptive information provided in the response.  All costs of complying with the terms and conditions of this RFP must be shown on the LIS Cost Sheet. Any reductions to the costs which the respondent is offering as a part of its total proposal should be listed on LIS Cost Sheet, clearly labeled as reductions.

Options listed below are provided to vendors with the capability of supplying other hardware and software outside the scope of the LIS software.  A vendor may or may not choose to bid these items.  APHL, in consultation with the Indonesia MoH and CDC-Indonesia, has the option of choosing or not choosing any or all of the options.

- Barcode printers and scanners:  A vendor may choose to supply bar code printers and scanners required to support the LIS application bid.  Specific requirements and costs associated with this option will be negotiated as part of the contract negotiation with the selected vendor and do not need to be listed on the initial proposal cost LIS Cost Sheet

Respondent Name:

Name of LIS Suggested:

| ITEM | TOTAL COST (in USD) |
| --- | --- |
| Purchase |  |
| Price – LIS License, Software Maintenance & Support for Year 1: List modules included in the LIS product license. Indicate whether the licensing of the software is by workstation (or concurrent user) or by installation. APHL prefers to receive bids on a fixed price cost per installation. If the licensing is by workstation or concurrent user, please include the cost of licensure by individual workstation or concurrent user and the expected number of workstations or concurrent users. |  |
| BBTKL-PP Yogyakarta |  |
| By Workstation or Concurrent User Number: Cost per: |  |
| By Installation |  |
| Software Maintenance (First year) |  |
| Software Support (First year) |  |
| BBTKL-PP Surabaya |  |
| By Workstation or Concurrent User Number: Cost per: |  |
| By Installation |  |
| Software Maintenance (First year) |  |
| Software Support (First year) |  |
| BBTKL-PP Banjarbaru |  |
| By Workstation or Concurrent User Number: Cost per: |  |
| By Installation |  |
| Software Maintenance (First year) |  |
| Software Support (First year) |  |
| BTKL-PP Batam |  |
| By Workstation or Concurrent User Number: Cost per: |  |
| By Installation |  |
| Software Maintenance (First year) |  |
| Software Support (First year) |  |
| Optimal Software Components / 3rd Party Tools: List any additional software components included in the core System and what they are used for as described in 5.1. Only 3rd party items we are required to buy together with the System. |  |
| Specify: |  |
| Initial Instrument Interfaces listed in RFP |  |
| Number of instruments to be interfaced: Cost per instrument: |  |
| Software Customization and Configuration Costs |  |
| Initial customization and configuration of the software Expected number of days: Cost per day: |  |
| Testing of software |  |
| Cost of Report Design Expected number of days: Cost per day: |  |
| Expected travel costs for customization and configuration, Number of trips planned to or within Indonesia |  |
| Other (specify) |  |
| Other (specify) |  |
| Network Administrator and Super User Training Costs |  |
| Super User and Network Administrator Training |  |
| Training materials for above Training(s) |  |
| Other (specify) |  |
| Other (specify) |  |
| Installation and End User Training Costs: List costs for training as described in 5.8. |  |
| BBTKL-PP Yogyakarta |  |
| Installation of software and configuration of server |  |
| End User Trainer (minimum one week per site) |  |
| Training materials for above Training |  |
| Supportive Supervision (minimum two weeks per site) |  |
| Other (specify) |  |
| Other (specify) |  |
| BBTKL-PP Surabaya |  |
| Installation of software and configuration of server |  |
| End User Trainer (minimum one week per site) |  |
| Training materials for above Training |  |
| Supportive Supervision (minimum two weeks per site) |  |
| Other (specify) |  |
| Other (specify) |  |
| BBTKL-PP Banjarbaru |  |
| Installation of software and configuration of server |  |
| End User Trainer (minimum one week per site) |  |
| Training materials for above Training |  |
| Supportive Supervision (minimum two weeks per site) |  |
| Other (specify) |  |
| Other (specify) |  |
| BTKL-PP Batam |  |
| Installation of software and configuration of server |  |
| End User Trainer (minimum one week per site) |  |
| Training materials for above Training |  |
| Supportive Supervision (minimum two weeks per site) |  |
| Other (specify) |  |
| Other (specify) |  |
| GAP Analysis: Specify costs if any for a GAP Analysis described in 5.9. |  |
| Cost per day: Expected number of days: |  |
| Other Costs |  |
| Other (specify) |  |
| Other (specify) |  |
| Other (specify) |  |
| TOTAL COST FOR ITEMS ABOVE |  |
| OPTIONS (Not Required) |  |
| Supply All Bar Code Printers and Scanners (Optional) |  |
| Cost per Printer: |  |
| Cost per Scanner: |  |
| Post-installation Costs |  |
| Technical Support: |  |
| On-site (Cost per day) |  |
| Remote support |  |
| Travel costs and expenses included (Y/N), if not provide specifics |  |
| Other (specify) |  |
| Additional Instrument Interfaces |  |
| Cost per Additional Instrument Interface |  |
| Post-Installation Software Customization and Configuration |  |
| Options: |  |
| Post-Installation User Training |  |
| Options: |  |
| TOTAL COST FOR ITEMS ABOVE |  |
| After Year 1 |  |
| Software Product License / Maintenance / System Updates |  |
| Software Product License |  |
| Software Maintenance |  |
| System Updates |  |
| Software Support |  |
| Additional Software Components / 3rd Party Tools Fees |  |
| Specify: |  |
| TOTAL COST FOR ITEMS ABOVE |  |
| Optional information: |  |
| Phase 2 Installation: Provide a cost of licensing and deployment of the system at Phase 2 sites showing the cost for additional number of sites irrespective of the number of concurrent users. Indicate cost as of the date of proposal, for example, for Phase 2 including the 6 additional B/BTKL-PP sites (Reception, Virology, Parasitology and Bacteriology Laboratory sections), the estimated licensing cost per site is “the amount” as of the date submitted. |  |
| TOTAL COST FOR ITEMS ABOVE |  |