Method Verification/Validation Plan Approval Form

1. 	Name of person submitting verification/validation plan

_____________________________________

2.	Test or test modification to be verified or validated

- Reason for study

☐ Validation of new laboratory-developed test method

☐ Modification of laboratory-developed test method

☐ Verification of FDA-cleared or approved test

☐ Modification of FDA-cleared test

☐ Other (please describe) _______________________________________________

- Will IRB approval be required/requested for this study? Please explain.

- Is there a current signed SOP for this method?

☐ Yes

☐ No

- Is this a quantitative test?

☐ Yes

☐ No

- Which performance characteristics will be evaluated? Check all that apply.

☐ Analytical Sensitivity

☐ Analytical Specificity

☐ Accuracy

☐ Precision

☐ Reference Range

☐ Reportable Range

- Will this test be run on multiple instruments? Verification or validation must be done on every instrument used for testing. Identify the instruments used for this study.

☐ Yes 	Instruments:

☐ No 	Instrument:

- What specimen types will be included?

☐ Serum

☐ Plasma (list acceptable types. Lithium heparin, EDTA, etc.):

☐ Whole blood

☐ Urine

☐ Isolate

☐ Blood Spots

☐ Other (list):

3.	Determination of Analytical Sensitivity (Limit of detection)

    - What sample type(s) will be tested?

    - How many samples will be tested?

    - How many replicates will be tested?

    - Unit of Quantitation

☐ Colony forming units

☐ TCID50

☐ DNA copies

☐ RNA copies

☐ Other (please describe) _______________________________________________

    - Additional experimental details and special considerations.

    - Data evaluation and acceptance criteria (How will the data be evaluated? What statistical methods will be used? What are the acceptance criteria?)

4.	Analytical Specificity (Interfering substances)

- What interfering substances/organisms will be analyzed?

- Experimental details and special considerations

- Data evaluation and acceptance criteria (How will the data be evaluated? What statistical methods will be used? What are the acceptance criteria?

5.	Accuracy (Test reliability)

- What will be used as the “gold standard” for comparison?

- How will discrepant results be resolved?

- Number and type of positive and negative samples to be tested

- Experimental details and special considerations

- Data evaluation and acceptance criteria (How will the data be evaluated? What statistical methods will be used? What are the acceptance criteria?)

6.	Precision (Test reproducibility)

- Intra-Run

- Number of samples

- Number of replicates

- Experimental details and special considerations

- Data evaluation and acceptance criteria (How will the data be evaluated? What statistical methods will be used? What are the acceptance criteria?)

- Inter-Run

- Number of samples

- Number of replicates

- Experimental details and special considerations

- Data evaluation and acceptance criteria (How will the data be evaluated? What statistical methods will be used? What are the acceptance criteria?)

7.	Reportable Range (for quantitative test only)

- Number of samples

- Number of replicates

- Experimental details and special considerations

- Data evaluation and acceptance criteria (How will the data be evaluated? What statistical methods will be used? What are the acceptance criteria?)

8.	Reference Range (for quantitative test only)

- Number of samples

- Number of replicates

- Experimental details and special considerations

- Data evaluation and acceptance criteria (How will the data be evaluated? What statistical methods will be used? What are the acceptance criteria?)

I hereby approve of the validation plan as outlined.

Unit Supervisor: ______________________________________	Date: ___________________

Section Manager: ____________________________________ 	Date: ___________________

Quality Assurance Officer: _____________________________ 	Date: ___________________

Laboratory Director: __________________________________ 	Date: ___________________