| Verification Plan Title |  |
| --- | --- |
| Qualitative or Quantitative Assay |  |
| Written By |  |
| Date |  |
| Proposed Test Implementation Date |  |

This verification plan describes the test system that will be verified, and how the laboratory will determine that an unmodified FDA-cleared or approved test system performs according to the manufacturer’s specifications found in the package insert.  This plan must be approved before performing the actual verification.

Introduction and Reason for the Study

- Purpose

Describe the reason for implementing this test and its intended use. Include all acceptable specimen types, and how test results will be used (screening, diagnostic, confirmatory or monitoring).

- IRB Review

Describe if internal review board (IRB) approval is required, and if a request is needed

- Established SOP or Job Aids

Describe whether an SOP and/or job aids will need to be created or modified

- Package Inserts/Literature References

Include any technical and/or literature used in the verification planning process

Safety Considerations

Describe any safety concerns with the implementation of this test system.  Include a biorisk assessment or chemical risk assessment, as appropriate.  See toolkit for guidance.

Methodology for Each Performance Characteristic Being Evaluated

- Test Principle

Describe the scientific basis of the test

- Instrumentation and Reagents

Describe the reagents/ kit and instrumentation that will be used in the verification. Add rows below as needed.

| Instrument | Serial Number | Manufacturer |
| --- | --- | --- |

| Reagent | Lot Number | Expiration Date |
| --- | --- | --- |

- Quality Control and Calibrators

Describe what controls are performed with each run and required calibrators (if applicable).  Determine if an IQCP would be appropriate.  See toolkit for guidance.

- Number and Type of Samples

Describe the samples that will be evaluated in the verification plan, including each acceptable specimen type.  See toolkit for guidance.

List the samples that will be analyzed below, including the appropriate data.  Rows may be adjusted for the number of samples.  For large validations, the well- characterized samples may be summarized, and this table can be deleted.

| Sample # | Source | Sample ID | Target | Expected Result | Other |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
| 11 |  |  |  |  |  |
| 12 |  |  |  |  |  |
| 13 |  |  |  |  |  |
| 14 |  |  |  |  |  |
| 15 |  |  |  |  |  |
| 16 |  |  |  |  |  |
| 17 |  |  |  |  |  |
| 18 |  |  |  |  |  |
| 19 |  |  |  |  |  |
| 20 |  |  |  |  |  |
| 21 |  |  |  |  |  |
| 22 |  |  |  |  |  |
| 23 |  |  |  |  |  |
| 24 |  |  |  |  |  |
| 25 |  |  |  |  |  |
| 26 |  |  |  |  |  |
| 27 |  |  |  |  |  |
| 28 |  |  |  |  |  |
| 29 |  |  |  |  |  |
| 30 |  |  |  |  |  |
| 31 |  |  |  |  |  |
| 32 |  |  |  |  |  |
| 33 |  |  |  |  |  |
| 34 |  |  |  |  |  |
| 35 |  |  |  |  |  |
| 36 |  |  |  |  |  |
| 37 |  |  |  |  |  |
| 38 |  |  |  |  |  |
| 39 |  |  |  |  |  |
| 40 |  |  |  |  |  |

- Performance Characteristics

- Accuracy

Describe how testing will be performed to evaluate accuracy.  See toolkit for guidance.

- Precision

Describe how testing will be performed to determine the precision or reproducibility of the test system.  See toolkit for guidance.

- Reportable Range

Describe how the reportable range will be established.  See toolkit for guidance.

- Reference Ranges (normal values)

Describe how the reference range will be determined.  See toolkit for guidance.

- Analytical Measurement Range (quantitative only)

For quantitative tests only, describe how the AMR will be verified.

- Gold Standard Comparator

Describe what will be used as the comparator in determining performance characteristics.

- Environmental and Storage Conditions

Describe sample and reagent environmental and storage conditions

- Limiting Factors

Indicate any known limitations or unusual characteristics of the test system.

Acceptance Criteria

- Accuracy

Determine your acceptance criteria for accuracy.  Calculate the estimated sensitivity, specificity, total accuracy, positive predictive value (PPV), and negative predictive value (NPV).  Results should correlate with an expected total accuracy of ≥95% agreement with the reference method.  See toolkit for guidance.

- Precision

Determine your acceptance criteria for precision/reproducibility.  Calculate the intra-run and inter-run precision.  The ideal Coefficient of Variation is <15%, and generally should not exceed 20%. See toolkit for guidance.

Data Analysis and Evaluation Plan

Describe how the data will be analyzed and evaluated for acceptability of performance characteristics.

Approvals

| Statement | This verification plan has been reviewed and has been considered acceptable for initiation of verifying performance of the proposed test. |
| --- | --- |
| Lead Signature and Date |  |
| Supervisor Signature and Date |  |
| Quality Assurance Officer Signature and Date |  |
| Laboratory Director Signature and Date |  |